Manuscript 62519: Screenshot Summary

- 62519_screenshot_1

- 4.4.1 (Launch HeartWare bioprinter software) 00:00-00:05

- 4.4.2 (Click the CONNECT button in the HeartWare bioprinter software to connect and sync the PC to the 3D bioprinter) 00:06-00:11

- 62519_screenshot_2

- 4.6.1 (Click the LOAD button in the HeartWare software, then select and open the provided 24-well geometric code, Supplemental File 1) 00:00-00:07

- 4.6.2 (In the right-hand control panel, select the ‘G-code editor’ tab, and update the X and Y coordinates on line 1 of the geometric code to “G0 X-46.5 Y-27.5”) 00:08-00:20
(Then save the updated geometric code file under a new name) 00:21-00:35

- 62519_screenshot_3

- 4.8.2 (Click the LOAD button in the bioprinter software, and select the updated 24-well plate G-code file saved in step 4.6.2) 00:00-00:08

- 4.8.3 (In the right-hand control panel, select the ‘Print Preview’ tab, and click the PRINT button to commence bioprinting in well D1) 00:09-00:15