Supplemental File 3

Lactate Dehydrogenase (LDH) Assay

| Reagent | Cat# (Sigma Aldrich) |
| --- | --- |
| Acetic acid (glacial) | AX0074-6 |
| 1-Methoxy-5-methylphenazinium methyl sulfate (MPMS) | M8640 |
| Iodonitrotetrazolium chloride (INT) | I10406-5G |
| -Nicotinamide adenine dinucleotide sodium salt (NAD) | N0632-5G |
| Lithium L-Lactate | L2250-100G |
| Tris Base (2-amino-2(hydroxymethyl)-1,3-propanediol) | 252859 |

Using the above reagents, prepare the following stocks for the LDH microplate assay:

Stop Reagent: 1 M Acetic Acid (1 L)

| Acetic acid (glacial) | 57.5 mL |
| --- | --- |
| MilliQ ultrapure water | 942.5 mL |

0.2 M Tris-HCl, pH 8.2 (1L)

| Tris Base | 24.2 g |
| --- | --- |
| MilliQ ultrapure water | 800 mL |

Adjust pH to 8.2  with HCl and then adjust the volume to 1 L with MilliQ water. Filter sterilize with a bottle-top filter (0.2 m pore size) and store at 4 °C.

Buffer A: 4 mM INT in 0.2 M Tris-HCl, pH 8.2 (250 mL)

| INT | 0.51 g |
| --- | --- |
| 0.2 M Tris-HCl, pH 8.2 | 250 mL |

Mix thoroughly and filter sterilize to remove any undissolved particles. Solution should be clear to slightly yellow. Do not over-mix or heat. Store as 3 mL aliquots in 15 mL Falcon tubes at -20 °C.

Buffer B: 6.4 mM NAD, 320 mM Lithium L-lactate in 0.2 M Tris-HCl, pH 8.2 (250 mL)

| NAD | 1.1 g |
| --- | --- |
| Lithium L-Lactate | 7.7 g |
| 0.2 M Tris-HCl, pH 8.2 | 250 mL |

Mix thoroughly and filter sterilize. Store as 3 mL aliquots in 15 mL Falcon tubes at -20 °C.

MPMS Supplement: 150 mM MPMS in 0.2 M Tris-HCl, pH 8.2

| MPMS | 100 mg |
| --- | --- |
| 0.2 M Tris-HCl, pH 8.2 | 1.98 mL |

Dissolve MPMS in Tris-HCl buffer, but DO NOT filter. Store as 5 L aliquots in 1.5 mL microfuge tubes and store at -20 °C.

Immediately prior to performing the LDH assay, thaw out one aliquot each of Buffer A, Buffer B and MPMS Supplement, and combine in the ratio as indicated below.

LDH Assay Reagent (sufficient for one 96-well microtiter plate)

| Buffer A | 2.5 mL |
| --- | --- |
| Buffer B | 2.5 mL |
| MPMS Supplement | 0.5 L |

- Pipette 50 L of the LDH assay reagent into each well containing cell culture supernatant.

- Incubate the microtiter plate for 60 min at room temperature in the dark.

- Pipette 50 L of 1 M acetic acid (stop solution) into each well containing cell culture supernatant and LDH assay reagent.

- Record absorbance values using a microplate spectrophotometer at 490 nm with background subtraction at 680 nm.