# Submission ID #:  62532

# Scriptwriter Name: Madhulika Pathak

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19072308

# Title:   Imaging and quantification of intact neuronal dendrites via clarity tissue clearing

# Authors and Affiliations:

Brandon T. Pekarek1, Patrick J. Hunt1,2, Benjamin D. W. Belfort1,2, Gary Liu2, Benjamin R. Arenkiel1,3

1Department of Genetics and Genomics, Baylor College of Medicine, Houston, TX, US.

2Medical Scientist Training Program, Baylor College of Medicine, Houston, TX, US.

3Department of Neuroscience, Baylor College of Medicine, Houston, TX, US.

# Corresponding Authors:

Brandon T. Pekarek		(Brandon.Pekarek@bcm.edu)

# Email Addresses for All Authors:

Brandon.Pekarek@bcm.edu

PJHunt@bcm.edu

Benjamin.Belfort@bcm.edu

garyliu87@gmail.com

Arenkiel@bcm.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  23

Number of Shots:  36

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Brandon Pekarek: This protocol will allow researchers to answer important questions about neuronal patterns of connectivity and spatial organization that underlie their own function and their role within a circuit.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested b-roll: LAB MEDIA: Figure 6

  - Brandon Pekarek: The main advantage of this technique is that it enables the visualization of neuronal morphologies located deep within intact 3-dimensional tissue.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested b-roll: 4.8.1

OPTIONAL:

  - Patrick Hunt: This method is straightforward and thus easily reproducible. First-time experimenters should be comfortable performing this technique.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Brandon Pekarek: It is imperative to have a clear tissue sample in order to obtain high quality data. The visual demonstration of appropriate tissue clarity and clearing techniques will enable easy reproducibility of the results.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested b-roll: 3.1.1, 3.2.2

# Introduction of Demonstrator on Camera

  - Brandon Pekarek: Demonstrating the procedure will be Patrick Hunt and Benjamin Belfort, graduate students from my laboratory.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

- Tissue Clearing

  - To begin, place the hydrogel submerged brain tissue in a vacuum incubator for 3 hours at 37 degrees Celsius with a minus 90 kilopascal-vacuum [1]. Leave the tube top unscrewed to allow the vacuum to form properly [2].

    - WIDE: Establish the shot of talent placing the brain tissue in incubator

    - Talent unscrewing tube top

  - Wash the tissue with PBS for 10 minutes at room temperature with gentle shaking [1].

    - Talent washing the tissue with gentle shaking

  - Place the polymerized tissue sample in the electrophoresis chamber, keeping track of the orientation of the tissue within the chamber [1].

    - Talent placing the tissue sample in the electrophoresis chamber

  - Fill the chamber and reservoir with the supplied electrophoresis SDS buffer [1].

    - Talent filling the chamber with SDS buffer

  - Run the sample at 70 Volts, 1 Ampere, and 35 degrees Celsius, with constant current for about 2 hours per millimeter of tissue [1]. Check the sample periodically for sufficient clearing of brain tissue by removing it from the chamber and replacing it in the same orientation [2]. Videographer: These steps are important!

    - Talent running the sample in electrophoresis

    - Talent checking the sample by removing and keeping it back in chamber

- Preparing and Mounting the Cleared Tissue

  - After the sample has finished clearing [1], wash it in PBS overnight at room temperature [2], replacing the PBS with fresh PBS as often as possible [3].

    - Cleared brain tissue sample

    - Talent washing the tissue in PBS

    - Talent replacing the PBS with fresh PBS

  - Following the final wash in PBS, wash the tissue for 5 minutes in deionized water at room temperature three times [1]. The tissue will become opaque and may expand [2].

    - Talent washing the tissue in de-ionized water

    - Opaque tissue

  - Incubate the tissue in the refractive index matching solution for at least 4 hours at room temperature [1].

    - Talent incubating the tissue in refractive index matching solution

  - During the incubation, construct a suitable housing chamber to image the sample. Start by using a glass slide as a base for mounting, then lay down either rubber or plastic spacers and secure them with super glue [1], making sure that there aren’t any holes [2].

    - Talent using a glass slide as base and gluing a rubber or plastic spacer to it Videographer: These steps are important!

    - Talent ensuring the absence of any holes

  - Place the cleared tissue into the mounting chamber prefilled with refractive index matching solution [1]. Securely mount the tissue by placing a glass coverslip on top and sealing it with nail polish [2].

    - Talent placing the tissue into the mounting chamber pre-filled with refractive index matching solution Videographer: These steps are important!

    - Talent placing the coverslip on top of the slide and sealing it with nail polish Videographer: These steps are important!

  - Image this tissue by adding a drop of refractive index matching mounting solution directly on top of the glass [1].

    - Talent adding the drop of refractive index matching solution

  - To construct a large tissue imaging chamber for tissues with more than a 5-millimeter thickness, use a 10-centimeter glass dish with a high wall [1], place a 50-milliliter conical tube in the center, making sure that the diameter of the tube is large enough to accept the barrel of the objective lens used [2].

    - Talent pacing a glass dish with high wall

    - Talent placing conical tube in the center of the glass dish

  - Make 3 percent agarose in water and pour it in the space between the glass dish and the conical tube, then allow it to cool for 1 hour [1]. This will form a ring of solid agarose [2].

    - Talent pouring agarose in the space between glass dish

    - Solidified agarose ring

  - Securely adhere the tissue to the bottom of the chamber using super glue [1] and fill the chamber with refractive index matching solution, which may start to polymerize unless preserved from air and stored at 4 degrees Celsius [2].

    - Talent adhering the tissue to the bottom of the chamber Videographer: These steps are important!

    - Talent filling the chamber with solution Videographer: These steps are important!

- Imaging Cleared Tissue Samples

  - Acquire the image using a confocal microscope [1-TXT].

    - WIDE: Establish the shot of talent working on confocal microscope. TEXT: Objective: 25x/0.95 NA, Working distance: 4 mm

  - Turn on all the relevant imaging equipment [1]. Place the sample on the stage [2].  Carefully approach the immersion media with the objective and form a continuous column of media [3].

    - Talent turning on all the relevant equipment

    - Talent placing the sample on the stage

    - Talent submerging the objective in the mounting media to form a continuous column

  - Using epifluorescence, find an appropriate imaging field [1].

    - SCREEN:  BP JoVE scanning through z-stack edited.mp4.0:00-0:11

  - Start by setting the resolution and scan speed settings. If imaging using a confocal microscope, fully close the pinhole to obtain the smallest optical section and thus the best z-resolution [1].

    - SCREEN:  BP JoVE 4-5-1 edited.mp4.0:00-0:12

  - Gradually increase the laser power or sensor gain until a suitable image is obtained with a high signal-to-noise ratio [1].

    - SCREEN:  BP JoVE 4-6-1 edited.mp4.0:00-0:24

  - If utilizing standard EGFP or tdTomato two-color imaging, set the light collection settings [1].

    - SCREEN:  BP JoVE 4-7-1 edited.mp4.0:00-0:43

  - Set the z-stack parameters based on the observed start and end points of the tissue. Set the step size based on the desired z-resolution. Smaller step sizes will yield a greater z-resolution but may lead to sample bleaching [1].

    - SCREEN:  BP JoVE 4-8-1 edited.mp4.0:00-0:25

  - When satisfied with the image acquisition settings, acquire the image. Ensure that the image has a high signal-to-noise ratio and shows distinct boundaries of structures [1].

    - SCREEN: BP JoVE 4-9-1 edited.mp4.0:00-0:04

# Results

- Results: Imaging and Quantification of Neuronal Dendrites

  - After image acquisition, the representative cell morphology was analyzed using embedded statistics and classifying scripts within the analysis software. The collected data reflects that neuron 2 has a larger dendritic structure with a higher density of spines compared to neuron 1 [1].

    - LAB MEDIA: Figure 6A

  - To substantiate this result, standard Sholl analysis was performed, which affirms that neuron 2 is more dendritically complex than neuron 1 as denoted by the increased number of Sholl intersections at 50 to 100 micrometers from the soma [1].

    - LAB MEDIA: Figure 6B

  - Neuron 1 contains a larger proportion of spines with more filopodia-like shapes are immature spine subtypes [1]. Spines with defined heads, called mushroom spines, likely contain more developed and mature synapses. Thus, neuron 2 is more mature because it is highly branched, with a higher density of mature spines [2].

    - LAB MEDIA: Figure 6C Video editor: Please highlight Neuron 1 figure

    - LAB MEDIA: Figure 6C Video editor: Please highlight Neuron 2 figure

# Conclusion

- Conclusion Interview Statements

  - Patrick Hunt: It is imperative to thoroughly wash out any remaining SDS after electrophoresis as it may precipitate in the mounting media and scatter light, yielding poor image quality.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested b-roll: 3.1.2, 3.1.3

  - Brandon Pekarek: After clearing, the tissue chunks can be stained using traditional IHC.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.  Suggested b-roll: 3.1.2, 3.1.3