# Submission ID #:  62533

# Scriptwriter Name: Madhulika Pathak

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19072613

# Title:   An Adjustable High-definition Imaging System for Behavioral Studies of Drosophila Adults

# Authors and Affiliations:

Tong Li*1,2, Yujia Weng*1,2, Daxiang Yang1

1Department of Zoology and Animal Physiology, College of Biological Sciences, China Agricultural University, Beijing, China

2College of life sciences, Capital Normal University, Beijing, China

☐   All author names and affiliations are correct.

# Corresponding Authors:

Daxiang Yang	(dxyoung@cau.edu.cn)

# Email Addresses for All Authors:

dxyoung@cau.edu.cn

Litong_CNU@163.com

yjiaweng@163.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  17

Number of Shots:  40

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Construction of the Observing/Documenting System

  - To begin, make a 15 by 20-millimeter fly behavior observation chamber, or FBOC, using a small, translucent container [1].

    - WIDE: Establish the shot of talent working in the lab to prepare FBOC

  - Use a translucent plastic bottle cap of about 17 by 22 millimeters or cut a section of 17 millimeters from the thick end of a 5-millimeter pipette tip for the FBOC [1].

    - Translucent plastic bottle cap or thick end of a 5-millimeter tip

  - Pour 1% agar into the FBOC to adjust its depth [1]. If food needs to be placed in the FBOC pour the agar to obtain a depth of 12 millimeters. If food does not need to be placed in the FBOC, pour the agar to a depth of 5 millimeters to track the whereabouts of fruit flies more easily [2].

    - Talent pouring agar into FBOC

    - Agar up to the depth of 12 millimeters and agar up to the depth of 5 millimeters

  - If using a pipette tip to make an FBOC, place the cut-off pipette tip section in a 35-millimeter or a 60-millimeter Petri dish [1]. Pour the 1% agar gel into the Petri dish to a thickness of about 5 millimeter [2] and wait for the agar to solidify and seal the bottom of the FBOC [3]. Then, pour the agar gel into the FBOC to the desired thickness [4].

    - Talent placing the tip section in Petri Dish

    - Talent pouring the agar in the Petri dish

    - Talent sealing the bottom of the Petri dish with solidified agar

    - Talent pouring the agar gel in Petri dish

  - Make an FBOC base by boring a 10-centimeter-deep hole in the center of a piece of ethylamine foam sheet with the same diameter as the FBOC [1-TXT]. Insert the FBOC into the hole [2].

    - Talent boring a hole in foam sheet TEXT: Ethylamine foam sheet: 60 mm x 60 mm x 15 mm

    - Talent inserting FBOC into the hole

  - Make fly food, if necessary, with yeast medium, artificial diet, or pure sucrose or glucose, depending on the purpose of the observation [1]. To visually determine whether flies are feeding, add food dyes to the food to a final concentration of 12.5 milligrams per 100 milliliters [2].

    - Talent preparing fly food

    - Talent adding food dye

  - Pour the prepared food into a Petri dish to a height of 8 millimeters [1]. After solidification, use a razor blade to cut out a piece of food [2-TXT], and place it on a piece of plastic [3].

    - Talent pouring prepared food into Petri dish

    - Talent cutting the solidified food TEXT: Food size: 15 mm x 15 mm x 8 mm

    - Talent placing it on a piece of plastic

  - Cut the food into a quadrangular pyramid or quadrangular frustum pyramid to allow observation and recording of fly behavior from different angles as the flies land on the food randomly [1]. Use tweezers to place the food in the center of the FBOC [2].

    - Flies landing on the pyramid food randomly

    - Talent using tweezers to place the food in the center of the FBOC

  - Pour 1% agar gel into a clean empty bottle to a thickness of 1 to 2 centimeters and place it at room temperature for 1 to 2 hours [1-TXT]. Transfer flies to the bottle and place it at 25 degrees Celsius for 36 hours or more [2].

    - Talent pouring agar gel into empty bottle TEXT: 1 g agar/100 mL water, 600 μL of propionic acid

    - Talent transferring flies to the bottle

  - Transfer one or more flies into the FBOC using an aspirator [1]. If using an aspirator is difficult, chill and inactivate the flies in crushed ice [2], sort them on an ice pack [3], and transfer them to the FBOC as previously described [4].

    - Talent using aspirator to transfer the flies

    - Talent inactivating the flies on dry ice

    - Talent sorting the flies on ice pack

    - Talent transferring the sorted flies to FBOC

  - After transferring the flies to the FBOC, cover it with a 30 to 40 millimeters of UV or clear filter for the camera to form an FBOC complex [1]. Place the FBOC complex under the stereomicroscope for observation [2].

    - Talent covering the FBOC with camera filter

    - Talent placing FBOC complex under stereomicroscope

  - Illuminate the FBOC by mounting mini-LED video lights [1] to flash hot shoe mount stands on the left and right sides of the FBOC [2]. Turn on the lights, and set the brightness to 100% and the color temperature to 5000 to 5600 Kelvin [2].

    - Talent mounting mini-LED video lights

    - Flashed hot shoe mount stands on FBOC

    - Talent setting the brightness and color temperature

- Observation and Videography of Fly Behavior

  - Turn on the LED video lights, and adjust the stereo zoom microscope until the edge of the FBOC can be clearly seen with the naked eye [1]. Move the FBOC to the center of the field of view [2].

    - Talent turning the LED lights on and adjusting the stereo zoom microscope

    - Talent moving the FBOC to the center of the field of view

  - Attach the clamp of the universal telescope digital camera adapter to an eyepiece of the stereo microscope [1], then attach a compact digital camera to the adapter securely by alternately turning the camera mounting screw and camera fixing screw [2].

    - Talent attaching the clamp of camera to the eyepiece of microscope

    - Talent attaching a compact digital camera to the adapter

  - Turn on the digital camera, and turn the horizontal/vertical fine-tuning knobs [1] until the FBOC edge clearly appears in the center of the bright circular field of view on the camera's LCD screen [2].

    - Talent turning on the digital camera and turning the fine-tuning knobs

    - Clear FBOC edges on camera’s LCD screen

  - Rotate the mode dial to Auto Mode [1]. Move the zoom switch from the wide-angle end to the telephoto end [2] and zoom into the circular image until its central portion fills the full LCD screen [3]. Press the Movie-record button to start recording [4].

    - Talent rotating the mode dial to auto mode

    - Talent moving the zoom switch from Wide angle to telephoto end

    - Talent zooming into the circular image and central image filling the LCD screen

    - Movie record button pressed

  - Turn the focus knob of the microscope until the flies in the FBOC are clearly visible [1]. Choose the fly behavior of interest for observation or video recording. Turn the zoom knob to zoom in and out to achieve the desired magnification for observation or video recording [2].

    - Focusing the flies in FBOC

    - Talent zooming in and zooming out and finally selecting the desired magnification for recording

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 201. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Imaging System for Behavioral Studies of Drosophila

  - The photograph taken through the UV filter is clear and sharp [1], very similar to the photograph taken when the culture vial is not covered [2]. The quality of the photo taken through the glass of the Petri dish is very poor and partly blurred [3].

    - LAB MEDIA: Figure 5 Video editor: Please highlight the second/middle image of the figure

    - LAB MEDIA: Figure 5 Video editor: Please highlight the first/leftmost image of the figure

    - LAB MEDIA: Figure 5 Video editor: Please highlight the third/rightmost image of the figure

  - The photograph taken from the video recording showing the details of each part of the fly's body is shown here. Because the camera is connected to a zoom stereo microscope, it is very easy to shoot from panoramic to close-up shots using the zoom system [1].

    - LAB MEDIA: Figure 6

  - Using this protocol, fly behavior can be observed and documented from multiple viewing angles [1]. For example, it is clearly shown that the female fly is constantly rubbing the ovipositor with her hind legs during the process of laying eggs. This detail of egg-laying behavior cannot be seen clearly from the side [2].

    - LAB MEDIA: Figure 7

    - LAB MEDIA: Figure 7 Video editor: Please highlight portion with white egg in between the legs of the fly in the figure

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.