Video Summary

- Morphometric assessment of lipid contents

  - Randomly select and capture photographs of 10 optical fields from the complete area of the well. Repeat the imaging for every well [1].

    - Talent imaging the cells at the microscope.

  - Assess the percentage of red stained area using the Color Threshold tool in the ImageJ software [1]. Please create screen capture videos for the shots labeled SCREEN and upload them to your project page: https://www.jove.com/account/file-uploader?src=19075663

    - SCREEN: To be provided by the authors: Talent using color threshold tool in Image J software.

- (Open ImageJ) 00:00-00:03

- (Click File| Click open and import data as JPG or TIFF files) 00:04-00:12

- (Click Image | Click Adjust | Click Color Threshold) 00:13-00:20

- (Define Hue parameter, considerate 0-45 for red color detection) 00:26-00:34

- (Define Saturation parameter) It depends on imagen illumination and its exposure. 00:35-00:40

- (Define Brightness parameter) It depends on imagen illumination and its exposure. 00:35-00:47

  - Compare the stained area with the complete area of the optical field using the Analyze Particles tool and calculate the average percentage of every well [1].

    - SCREEN: To be provided by the authors: Talent comparing the stained area with complete area of field using Analyze particles in software.

- (Click Analyze | Click Analyze Particles) 00:48-01:01

In addition to the default parameters in the menu, select the option: ☒ Summarize.