# Submission ID #:  62547

# Scriptwriter Name: Domnic Colvin

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19076883

# Title:   Capturing Actively Produced Microbial Volatile Organic Compounds from Human-associated Samples With Vacuum-assisted Sorbent Extraction

# Authors and Affiliations:

☒   All author names and affiliations are correct.

# Corresponding Authors:

Katrine Whiteson	(katrine@uci.edu)

# Email Addresses for All Authors:

joannlp@uci.edu

jkapcia@uci.edu

cirodri1@uci.edu

dancardin@entechinst.com

vvogel@wildsideofwater.com

sage.dunham@gmail.com

katrine@uci.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

If Yes, can you record movies/images using your own microscope camera?

N/A

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

N/A

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   No

If Yes, how far apart are the locations? N/A

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  21

Number of Shots:  49

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Joann Phan: This protocol allows us to easily concentrate and identify volatile metabolites and actively produced volatiles from microbial organisms in a variety of biological samples.

REQUIRED: What is the main advantage of this technique?

  - Joseph Kapcia III: VASE is a more user-friendly way of concentrating low abundance volatiles. All you need is a sample under near vacuum, and let physics do the rest.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Katrine Whiteson : The implications of this technique include the possibility of identifying metabolic biomarkers that may have importance in different diseases or phenotypes of interest. The pathogen driving an airway infection or successful antibacterial treatment could be detected from sputum, saliva or breath, for example.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Joann Phan: VASE can be used to quickly concentrate volatiles in any system, simple or complex, biological or not. Heavy isotope labeling is not a requirement for detecting molecules.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

1.5: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Katrine Whiteson: Demonstrating the procedure will be Dr. Joann Phan and Joe Kapcia III, recent graduates with a PhD and BA, respectively, from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Stable Isotope Probing in Biological Samples Preparation

  - To prepare fecal samples, add 1 milliliter of deionized water to 100 milligram of feces in a 1.5 milliliter microcentrifuge tube [1] and vortex for 3 minutes. Keep the samples on ice when not in use [2].

    - Talent adding deionized water to the feces sample in a microcentrifuge tube.

    - Talent vortexing the tube.

  - Add 485 microliters of BHI medium with 20 millimolar 13C (13-C) glucose or BHI (B-H-I) with 30% deuterium to 15 microliters of fecal and water mixture, ensuring that the final volume of the sample is 500 microliters [1-TXT]. Prepare samples in technical triplicates [2].

    - Talent adding BHI medium with 13C glucose or 30% deuterium to the sample. TEXT: BHI-Brain Heart Infusion

    - Talent preparing samples in triplicates.

    - Samples on ice.

  - To prepare sewage samples, add 500 microliters of sewage to 500 microliters of BHI medium with 13C glucose or 30% deuterium for a total volume of 1 milliliter [1]. Prepare samples in triplicates and keep them on ice [2].

    - Talent adding BHI to sewage sample.

    - Talent preparing samples in triplicates.

    - Samples on ice.

  - To prepare saliva samples, add 50 microliters of saliva to 500 microliters of BHI medium with 13C glucose or 30% deuterium for a total volume of 550 microliters [1]. Prepare samples in triplicates and keep them on ice [2].

    - Talent adding BHI medium to saliva sample.

    - Samples on ice.

  - To prepare sputum samples, add 15 microliters of sputum to vial [1]. Prepare samples in triplicates and keep them on ice [2].

    - Talent adding sputum sample to vial.

    - Talent preparing samples in triplicates.

    - Samples on ice.

- Sample Extraction

  - Place empty VOA (V-O-A) vials on the cold plate [1-TXT], and place the cold plate on ice in the biosafety hood [2]

    - Talent placing the empty VOA vials on the cold plate. TEXT: VOA-volatile organic analysis

    - Talent placing the cold plate on ice in biosafety hood.

  - Turn on the 5600 SPEU (S-P-E-U) [1-TXT] and adjust it to the required temperature [2].

    - Talent turning on the SPEU. TEXT: SPEU- sorbent pen extraction unit

    - Talent adjusting the temperature.

  - Label 20 milliliter VOA vials according to samples, replicates, and HSP IDs (H-S-P-eye-dees) using a water-resistant marker that resists water in case condensation forms on the outside of the vial while on ice [1-TXT].

    - Talent labelling the VOA vials. TEXT: HSP-Headspace sorbent pen

  - Inside the biosafety hood, unscrew the white cap on the vial [1], quickly pipette sample into the vial [2], and assemble the lid liner [3], black cap [4], and HSP [5].

    - Talent unscrewing the white cap of the vial.

    - Talent pipetting the sample to the vial.

    - Talent assembling the lid liner.

    - Talent assembling the black cap.

    - Talent assembling the HSP.

  - Place the vial containing the sample and HSP back on the cold plate [1]. Once all samples have been prepared in the glass vials, turn on the vacuum pump [2], place the vials under vacuum [3-TXT] and remove the vacuum source [4].

    - Talent placing the vial containing sample on the cold plate.

    - Talent turning on the vacuum pump.

    - Talent placing the vials under vacuum. TEXT: 30 mmHg

    - Talent removing the vacuum source.

  - Double-check the pressure after placing all samples under vacuum using the pressure gauge [1]. If a vial has a leak, ensure that the cap is screwed on tightly [2], and that the white O-rings of the HSP and lid liners are properly in place [3].

    - Talent checking the pressure of all samples using pressure gauge.

    - Talent screwing the cap tightly.

    - Talent placing the HSP and lid liners properly.

  - Place vials in the SPEU for the optimized time and temperature with agitation at 200 rpm [1]. Extract cultures for 1 hour at 70 degrees Celsius [2], and extract stable isotope probing experiments with fecal, sewage, saliva, and sputum samples for 18 hours at 37 degrees Celsius [3].

    - Talent placing the vials in the SPEU with agitation for extracting the culture and samples.

  - Place the cold plate at minus 80 degrees Celsius for use after the extraction period is complete [1].

    - Talent placing the cold plate at minus 80 degrees.

  - When extraction is complete, place samples on the cold plate for 15 minutes to draw out water vapor from the HSP and vial headspace [1], then transfer the HSPs (H-S-Pees) to their sleeves [2].

    - Talent placing the samples on cold plate.

    - Talent transferring the HSPs to their sleeves.

- Analyze Samples on the Gas Chromatography–mass Spectrometer (GC-MS)

  - Set up the sequence of samples on the Entech Software. Open the program [1] and select 5800 and Sequence in the options to the right of the instrument dropdown menu [2].

    - SCREEN: Opening of the Entech Software. Videographer: Obtain a few shots of talent clicking the mouse and typing on the keyboard to use as b-roll throughout the video.

    - SCREEN: Selecting the sequence.

Authors: Please create screen capture videos of the shots labeled SCREEN and upload them to your project page: https://www.jove.com/account/file-uploader?src=19076883

  - Save the sequence table [1], select Run on the left-hand side, then Start with blank in desorber if the blank HSP is in the desorber [2].

    - SCREEN: Saving the sequence table.

    - SCREEN: Running the instrument with blank.

  - Note that HSPs will be handled by the SPR for each sample in the sequence [1-TXT]. Let the SPR warm up [2].

    - SCREEN: Observing the SPR. TEXT: SPR-Sample Preparation Rail.

  - Allow the SPR to run all samples automatically. The sequence on the GC-MS (Spell out) side will automatically record the data in separate files [1].

    - SCREEN:  Running of the sample and recording of the data.

- Data Analysis

  - Add a peak to the processing method by selecting Calibrate, followed by Edit Compound, Name, and insert compound under External Standard Compound. Add the name of the compounds, retention time, and Quant Signal Target Ion [1].

    - SCREEN:  Adding name of the compounds.

  - Add the three largest peaks, which include compounds with a greater than 75% probability, ensuring that the alignment of each identifying ion of the compound lies within the center of the peak [1]. Save it by selecting ok followed by Method and Save [2].

    - SCREEN: Adding selected peaks.

    - SCREEN:  Saving the peaks.

  - Once the process method is set up, proceed to Quantitate and Calculate, then View, QEdit Quant Result to quantitate the data [1]. Inspect each compound to ensure that the peaks align with their expected retention times and are above background noise [2].

    - SCREEN: Quantification of the data.

    - Talent at the computer, looking at the data.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

3.5 for how to place vial + HSP under vacuum, the important step for VASE

3.6 for double checking vial pressure

3.9 to reiterate placing vials on cold plate, otherwise a lot of water gets into the GCMS

4.4 to show how SPR will grab the pens/record data

5.3 Determination of a good peak or spectrum for an analyte

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 101. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Percent Conversion and Heat Map Analysis of 13C-labeled Volatiles in Fecal, Saliva, Sewage, Cultured and Uncultured Sputum Samples

  - 43 annotated volatile molecules were detected from the mono- and co-cultures at 24- and 48-hours timepoints [1].

    - LAB MEDIA: Figure 2.

  - There was more incorporation of the 13C into fully labeled volatile molecules [1] compared to incorporation with deuterium [2]. The 13C was incorporated into 2-butanone, 3-hydroxy; 2,3-butanedione; acetic acid; and phenol for all fecal, sewage, and saliva samples [3].

    - LAB MEDIA: Figure 3A-3D.

    - LAB MEDIA: Figure 3E.

    - LAB MEDIA: Figure 3A.

  - Acetone, butanoic acid, and propanoic acid were detected as labeled in saliva and sewage [1] whereas dimethyl trisulfide and disulfide dimethyl were enriched in both fecal and saliva samples [2].

    - LAB MEDIA: Figure 3B.

    - LAB MEDIA: Figure 3C.

  - Volatiles 1-propanol, 2-butanone, benzophenone, ethanol, and methyl thiolacetate, were enriched only in sewage [1] and 2,3-pentanedoine in saliva [2].

    - LAB MEDIA: Figure 3D. Video editor: focus on all the graphs with green points.

    - LAB MEDIA: Figure 3D. Video editor: focus on the 2,3-pentanedoine graph with blue points.

  - Deuterium was incorporated into the volatiles, acetic acid; benzaldehyde, 4-methyl; dimethyl trisulfide; and phenol, from either saliva or sewage samples [1].

    - LAB MEDIA: Figure 3E.

  - Acetic acid, dimethyl trisulfide, acetone, and propanal, 2-methyl were more abundant in the cultured sputum samples compared to the uncultured sputum samples [1].

    - LAB MEDIA: Figure 4.

  - 51% variation in 13C-labeled cultured sputum from an individual with Cystic Fibrosis, and 33% variation in uncultured sputum was explained by the subject [1].

    - LAB MEDIA: Table 1.

  - The 13C-labeled volatiles detected in the sputum samples from 7 people with Cystic Fibrosis at higher [1] and lower percent conversion in the majority of sputum sample [2] and at a lower percent conversion in a minority of the sputum samples are shown here [3].

    - LAB MEDIA: Figure 5A.

    - LAB MEDIA: Figure 5B.

    - LAB MEDIA: Figure 5C.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Joseph Kapcia III: (3.6) Always double check your vial pressures after about a minute. A broken vacuum defeats the sensitivity and speed of the VASE method.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Joann Phan: Following this procedure if stable isotope probing was performed, DNA can be extracted from the remaining material to identify the microbial community or species that may have contributed to the production of the volatile molecules.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Joann Phan: Although stable isotope probing has been around for a long time, this volatile extraction method has made it easier for researchers to probe volatile molecule production with limited quantities of precious materials and samples. This method also applies to detecting volatiles from any sample type without isotope labeling. With the advantages of sensitivity and low sample volume, many applications can benefit with this technique.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.