Capturing actively produced microbial volatile organic compounds from human associated samples with vacuum assisted sorbent extraction

AUTHORS AND AFFILIATIONS

Joann Phan1, Joseph Kapcia III1, Cynthia I. Rodriguez2, Victoria L. Vogel3, Sage J. B. Dunham3, Katrine Whiteson1

1Department of Molecular Biology and Biochemistry, University of California, Irvine, CA, USA

2Department of Ecology and Evolutionary Biology, University of California, Irvine, CA, USA

3Entech Instruments Inc., Simi Valley, CA, USA

Email addresses of co-authors:

Joann Phan 		(joannlp@uci.edu)

Joseph Kapcia III 	(jkapcia@uci.edu)

Cynthia I. Rodriguez 	(cirodri1@uci.edu)

Victoria L. Vogel	(vvogel@wildsideofwater.com)

Sage J. B. Dunham	(sage.dunham@gmail.com)

Daniel B. Cardin	(dancardin@entechinst.com)

Email address of corresponding author:

Katrine Whiteson	(katrine@uci.edu) (949) 241 – 7347

KEYWORDS

Volatile organic compounds, GC-MS, vacuum assisted sorbent extraction, headspace extraction, clinical samples, stable isotope probing

SUMMARY

From this protocol, readers will be able to extract volatile organic compounds from a biological sample with the vacuum assisted sorbent extraction method, run samples on a GC-MS with the use of the Entech Sample Preparation Rail, and analyze data. Readers will also be able to culture biological samples and perform stable isotope probing with this protocol.

ABSTRACT

Volatile organic compounds (VOC) from biological samples have unknown origins. VOCs may originate from the host or different organisms from within the host’s microbial community. In order to disentangle the origin of microbial VOCs, we performed volatile headspace analysis of bacterial mono- and co-cultures of Staphylococcus aureus, Pseudomonas aeruginosa, and Acinetobacter baumannii, and stable isotope probing in biological samples of feces, saliva, sewage, and sputum. We utilized mono- and co-cultures to identify volatile production from individual bacterial species or in combination with stable isotope probing to identify the active metabolism of microbes from the biological samples. To extract the VOCs, we employed vacuum assisted sorbent extraction (VASE). VASE is an easy-to-use commercialized solvent-free headspace extraction method for semi-volatile and volatile compounds. The lack of solvents and the near vacuum conditions used during extraction make developing a method relatively easy and fast when compared to other extraction options like tert-butylation and solid phase microextraction. Using the workflow described here, we identified specific volatile signatures from mono- and co-cultures. Furthermore, analysis of the stable isotope probing of human derived biological samples identified VOCs that were either commonly or uniquely produced. Here we present the general workflow and experimental considerations of VASE in conjunction with stable isotope probing of live microbial cultures.

INTRODUCTION

Volatile organic compounds (VOCs) have great promise for bacterial detection and identification because they are emitted from all organisms and different microbes have unique VOC signatures. Volatile molecules have been utilized as a non-invasive measurement for detecting various respiratory infections including chronic obstructive pulmonary disease 1, tuberculosis2 in urine3, and ventilator associated pneumonia 4, in addition to distinguishing subjects with cystic fibrosis (CF) from healthy control subjects5, 6. Volatile signatures have even been used to distinguish specific pathogen infections in CF (Staphylococcus aureus 7, Pseudomonas aeruginosa, 8, 9, and S. aureus vs. P. aeruginosa, 10). However, with the complexity of such biological samples, it is often difficult to pinpoint the source of specific VOCs.

One strategy for disentangling the volatile profiles from multiple infecting microbes is to perform headspace analysis of microorganisms in both mono- and co-culture 11. Headspace analysis examines the analytes emitted into the “headspace” above a sample rather than  those embedded in the sample itself. Microbial metabolites have often been characterized in mono-cultures because of the difficulty in determining the origin of microbial metabolites in complex clinical samples. By profiling volatiles from bacterial mono-cultures, the types of volatiles a microbe produces in vitro may represent a baseline of its volatile repertoire. Combining bacterial cultures, e.g., creating co-cultures, and profiling the volatile molecules produced may reveal the interactions or cross-feeding between the bacteria12.

Another strategy for identifying the microbial origin of volatile molecules is to provide a nutrient source that is labeled with a stable isotope. Stable isotopes are naturally occurring non-radioactive forms of atoms with a different number of neutrons. In a strategy that has been utilized since the early 1930s to trace active metabolism in animals 13, the microorganism feeds off of the labeled nutrient source and incorporates the stable isotope into its metabolic pathways. More recently, a stable isotope in the form of heavy water (D2O) has been used to identify metabolically active S. aureus in a clinical CF sputum sample 14. In another example, 13C labeled glucose has been used to demonstrate the cross-feeding of metabolites between CF clinical isolates of P. aeruginosa and Rothia mucilaginosa12 .

With the advancement of mass spectrometry techniques, methods of detecting volatile cues have moved from qualitative observations to more quantitative measurements. By using gas chromatography mass spectrometry (GC-MS), processing of biological samples has become within reach for most laboratory or clinical settings. Many methods to survey volatile molecules have been used to profile samples such as food, bacterial cultures and other biological samples, and air and water to detect contamination. However, several common methods of volatile sampling with high throughput require solvent and are not performed with the advantages provided by vacuum extraction. In addition, larger volumes or quantities (greater than 0.5 mL) of sampled materials are often required for analysis15–19, although this is substrate specific and requires optimization for each sample type and method.

Here, we employed vacuum assisted sorbent extraction (VASE) followed by thermal desorption on a GC-MS to survey the volatile profiles of bacterial mono- and co-cultures and identify actively produced volatiles with stable isotope probing from human feces, saliva, sewage and sputum samples (Figure 1). With limited sample quantities, we were able to extract VOCs from as little as 15 μl of sputum. Isotope probing experiments with human samples required adding a stable isotope source, such as 13C glucose, and media to cultivate the growth of the microbial community. The active production of volatiles was identified as a heavier molecule by GC-MS. Extraction of volatile molecules under a static vacuum enabled the detection of volatile molecules with increased sensitivity20–22.

PROCEDURE

- Headspace sorbent pen (HSP) and sample analysis considerations

  - The HSP containing the sorbent Tenax TA was selected in order to capture a broad range of volatiles. Tenax has a lower affinity for water compared to other sorbents, which enables it to trap more VOCs from higher moisture samples. Tenax also has a low level of impurities and can be conditioned for re-use. Sorbent selection was also made in consideration with the DB-624 column installed in the GC-MS.

  - Generate negative controls by extracting media and/or sample blanks with the same conditions used for sample extraction.

  - Analyze a blank HSP (previously confirmed to be clean and free of significant background) on the GC-MS before analyzing extracted samples. Blanks should also be run between sample types (e.g., three replicates of bacteria mono-culture, blank, three replicates of bacteria co-culture, blank, etc.).

  - Limit use of fragrant personal care items or consumption of smelly foods prior to sample extraction and analysis. Ideally, samples will be prepared in a biosafety hood that has not been cleansed by alcohol or other volatile cleaners for at least 30 minutes. Turn on airflow in the biosafety hood for 30 – 60 minutes prior to sample preparation.

  - Keep samples on ice to limit volatile release during sample preparation.

2. Mono- and co-culture preparation

2.1 In the biosafety hood, inoculate cultures of A. baumannii, S. aureus, and P. aeruginosa in Todd Hewitt growth media. Incubate overnight at 37 ℃ with 200 rpm agitation.

2.2 After the overnight incubation, perform culture handling in the biosafety hood. Dilute each culture to optical density 0.05 at 500 nm.

2.3 Mix co-cultures in equal parts and pipet 200 μl of control media, mono-, or co-culture into each well of a 96-well plate and place in 37 ℃ incubator for 24 hours. Prepare a second plate for a 48-hour incubation.

2.4 At the end of the incubation period, prepare samples for extraction in Step 4. Note: at this point, samples can be stored at -80 ℃ to extract later if needed. Pipette liquid cultures into Eppendorf tubes and store at -80 ℃.

3. Stable isotope probing in biological samples preparation

Note: The feces and saliva samples were donated from anonymous donors with approval from the University of California Irvine Institutional Review Board (HS# 2017-3867). The sewage came from San Diego, CA. The sputum samples were collected from subjects with cystic fibrosis as part of a larger study approved by the University of Michigan Medical School Institutional Review Board (HUM00037056).

3.1.1 Perform all biological sample preparations in the biosafety hood. To prepare fecal samples, add one mL DI water to 100 mg of feces in a 1.5 mL microcentrifuge tube and vortex for three minutes. Place on ice when not in use.

3.1.2 To 15 μl of fecal and water mixture, add 485 μl Brain Heart Infusion (BHI) medium with 20 mM 13C glucose, or BHI with 30% deuterium (D2O). The final volume of the sample should be 500 μl. Prepare samples in technical triplicates.

3.2 To prepare sewage samples, add 500 μl of sewage to 500 μl BHI and 20 mM 13C glucose or BHI with 30% D2O for a total volume of one mL. Prepare samples in triplicate. Place on ice when not in use.

3.3 To prepare saliva samples, add 50 μl of saliva to 500 μl BHI and 20 mM 13C glucose or BHI with 30% D2O for a total volume of 550 μl. Prepare samples in triplicate. Place on ice when not in use.

3.5.1 To prepare sputum samples to compare the volatiles present in the sample prior to and after culturing, perform a first extraction with 15 μl of sputum. Prepare samples in triplicate. Place on ice when not in use. Proceed to step 4 for sample extraction and extract for 18 hours at 37 ℃ with 200 rpm agitation.

3.5.2 After the completion of the first extraction of the uncultured sputum samples, save the vials with sputum. Add 500 μl BHI with 20 mM 13C glucose to the vials with sputum from 3.5.1. Place on ice when not in use.

3.6 Proceed to Step 4 for sample extraction.

4. Sample Extraction

  - Place empty volatile organic analysis (VOA) vials (20 mL) on the cold plate and place the cold plate on ice in the biosafety hood.

  - Turn on the 5600 sorbent pen extraction unit (SPEU) and adjust to the desired temperature as required for each method. For stable isotope probing experiments at 37 ℃, reaching the setpoint can take up to 15 minutes. For mono- and co-culture experiments at 70 ℃, reaching the setpoint can take up to 60 minutes.

  - Collect clean HSPs that are equal to the number of samples prepared, including HSPs for media or sample controls.

  - Label 20 mL VOA vials according to samples, replicates, and HSP IDs as needed. It is recommended to use a marker that resists water in case condensation forms on the outside of the vial while on ice.

  - Inside of the biosafety hood, unscrew the white cap on the vial, quickly pipet sample into the vial, and assemble the black cap, lid liner, and HSP. NOTE: Samples should not come into contact with the HSP and sample volume will depend on sample type.

  - Place the vial containing the sample and HSP back on the cold plate.

  - Repeat steps 4.5 and 4.6 for each sample. These steps are done per sample instead of all at once to prevent sample warming and thus premature volatile release.

  - Once all samples have been prepared in the glass vials, perform the following steps outside of the biosafety hood on the bench. Turn on the vacuum pump, place the vials under vacuum to 30 mmHg, and remove the vacuum source. The vials do not need to be on the cold tray after vacuum application has been completed.

  - Double check the pressure after placing all samples under vacuum using the pressure gauge. If a vial has a leak, ensure that the cap is screwed on tightly and that the white O-rings of the HSP and lid liners are properly in place. A compromised seal can result in decreased volatile detection compared to a vial under vacuum.

  - Place vials in the 5600 SPEU for the optimized time and temperature with agitation at 200 rpm. Cultures were extracted for one hour at 70 ℃, and stable isotope probing experiments with fecal, sewage, saliva, and sputum samples were extracted for 18 hours at 37 ℃.

  - Place cold plate at -80 ℃ for use after the extraction period is complete.

  - When extraction is complete, place samples on cold plate for 15 minutes to draw out water vapor from the HSP and vial headspace.

  - Transfer the HSPs to their sleeves. Note: The experiment can be paused here for up to ~1 week at room temperature before losing volatiles out of the HSPs.

5. Analyze samples on the gas chromatography – mass spectrometer (GC-MS).

5.1 GC-MS (7890A GC and 5975C inert XL MSD with Triple-Axis Detector) with a DB-624 column are set as follows: 35 ℃ with a 5 minute hold, 10 ℃/min ramp to 170 ℃, and a 15 ℃/min ramp to 230 ℃ with a total runtime of 38 minutes.

5.2 Set the desorption method as follows: 2 minute, 70 ℃ preheat; 2 minute 260 ℃ desorption; 34 minute, 260 ℃ bakeout; and 2 minute, 70 ℃ post bake.

5.3.1 Set up sequence of samples and start the run according to instrumentation.

5.3.2 To set up sequence on the Entech Software, open the program. In the options to the right of the instrument dropdown menu, select “5800” ->  “Sequence”.

5.3.3 The Entech software contains a sequence table similar to that in the GC-MS software. The “Sample ID” column is named according to “Current date_vial number”, “Name” is analogous to “Name” in the GC-MS sequence table, and “5800 Method” determines the rate of temperature ramp, holding times, etc. (opens a menu to select the method generated in step 5.2).

5.3.4 The “Tray” and “Position” columns determine where the Sample Preparation Rail (SPR)  will go to pick up the HSPs. To the immediate left are two trays with 30 spots each, laid out as six columns with five spots each. The spot furthest and leftmost on each tray is spot 1, while the closest and rightmost spot is spot 30. These trays are “HSP A or B”, where HSP B is the tray closer to the SPR (innermost tray). Directly behind HSP B is HSP Blank. Place extracted samples into the trays and select the spot on the sequence accordingly.

5.3.5 Save sequence table, select “Run” on the left-hand side, then “Start with blank in desorber” if the blank HSP is in the desorber (denoted by a HSP marked by yellow label).

5.4 HSPs will be handled by the SPR for each sample in the sequence. The SPR will warm up, then a message will appear at the top of the screen to confirm if the blank is in the desorber. Click on “Skip” to confirm that the pen is there. The SPR will now run all samples automatically, and the sequence on the GC-MS side will automatically record the data in separate files.

6. Data analysis

6.1.1 Quality filter data on GC-MS ChemStation software.

6.1.2 Review each peak on the chromatogram and annotate peaks that match the National Institute of Standards & Technology (NIST) library (or with another available library).

6.1.3 Add annotated chromatogram peaks to the processing method. The criteria for selecting peaks is to include compounds with a greater than 75% probability and the alignment of each identifying ion of the compound must lie within the center of the peak. To add a peak to the processing method select “Calibrate” -> “Edit Compound” -> “Name” -> insert compound under “External Standard Compound”. Add the name of the compound, retention time, Quant Signal “Target Ion”. Add the three largest peaks. To save, select “ok” -> “Method” -> “Save.”

6.1.4 Once the process method is set up, proceed to “Quantitate” -> “Calculate”, and “View” -> “QEdit Quant Result.”

6.1.5 Inspect each compound to ensure that the peaks align with their expected retention times and are above background noise.

6.1.6 Once QEdit has been completed, select “Exit” -> “Yes” to save the QEdits and return to the main chromatogram. Export the area integrations by opening the file on the left-hand side. Select “Quantitate” -> “Generate Report.”

6.1.7 To export files for use in DExSI, select “File” -> “Export Data to AIA format” -> “Create New Directory” and select a location for the file or “Use Existing Directory.”

6.1.8 Another new window will open up to select files for export. Move the files to the right side of the window and click “Process.” This conversion may take a few seconds to a few minutes depending on the number of files being converted.

6.2 Correct for isotope abundance in DExSI according to instructions for the DExSI software (https://github.com/DExSI/DExSI) and perform analysis with a favorite software or program (e.g., R).

REPRESENTATIVE RESULTS

Mono- and co-cultures of S. aureus, P. aeruginosa, and A. baumannii

The mono- and co-cultures consisted of the bacterial species S. aureus, P. aeruginosa, and Acinetobacter baumannii. These are common opportunistic pathogens found in human wounds and chronic infections. To identify the volatile molecules present in the mono- and co-cultures, we performed a short 1-hour extraction at 70 ℃ with 200 rpm agitation. From the mono- and co-cultures at 24- and 48-hour timepoints, we detected 43 annotated volatile molecules (Figure 2). Among the volatile molecules detected were aldehydes, ketones, alcohols, sulfuric compounds, hydrocarbons, carboxylic acids or esters, and aromatics. There were a small number of volatile molecules that were only detected in certain mono- or co-cultures at certain timepoints. For example, acetoin and 3-hydroxy-2-butanone acetate were only detected in the S. aureus cultures at the 48-hour timepoint (Figure 2). Volatile 1-propanol 2-methyl was detected only in the P. aeruginosa and A. baumannii co-culture at 48 hours (Figure 2). Ethyl acetate was present in A. baumannii co-cultures with either S. aureus or P. aeruginosa at 48 hours (Figure 2). The metabolites heptane, 2,3-dimethyl and pentane, 2-methyl were only detected in the A. baumannii culture at 24 hours (Figure 2). Acetaldehyde and ethanol had higher relative abundances in the A. baumannii and S. aureus co-culture at the 24-hour timepoint compared to 48 hours and either of the strains in culture alone (Figure 2). Some of the volatiles were more abundant in cultures at either the 24- or 48-hour timepoint. Short chain fatty acids, including acetic acid, butanoic acid, and propanoic acid, were at high relative abundances in cultures at 48 hours but were not detected in the 24-hour cultures (Figure 2). Hexane was more abundant in the TH control at 24 hours compared to 48 hours (Figure 2).

Stable isotope labeling of fecal, sewage, and saliva samples

To identify active production of volatile molecules from a biological sample, we added a labeled nutrient source, 13C glucose or D2O, and media to support the growth of the microbial community. We analyzed one unique sample from each of the different sample types of fecal, sewage, and saliva samples in triplicate. There was more incorporation of the 13C into fully labeled volatile molecules (Figure 3A-D) compared to incorporation with deuterium (Figure 3E). The 13C was incorporated into 2-butanone, 3-hydroxy; 2,3-butanedione; acetic acid; and phenol for all fecal, sewage, and saliva samples (Figure 3A). The other labeled volatiles were detected in either two or one sample types. For example, acetone, butanoic acid, and propanoic acid were detected as labeled in saliva and sewage (Figure 3B). The labeled volatiles dimethyl trisulfide and disulfide dimethyl were enriched in both fecal and saliva samples (Figure 3C). Volatiles 1-propanol, 2-butanone, benzophenone, ethanol, and methyl thiolacetate were enriched only in sewage (Figure 3D). The labeled volatile 2,3-pentanedoine was enriched in saliva (Figure 3D). Deuterium was incorporated into the volatiles acetic acid; benzaldehyde, 4-methyl; dimethyl trisulfide; and phenol from either saliva or sewage samples (Figure 3E). In addition to the isotope enriched volatiles, there were volatiles detected that did not contain incorporated stable isotopes. For example, pyrazine compounds, except for pyrazine, 2,5-dimethyl, were detected in fecal, sewage, and saliva samples but were not fully enriched with 13C (Figure S1).

Stable isotope labeling of sputum samples

We implemented the stable isotope labeling strategy for identifying actively produced volatiles with sputum samples from seven human subjects with cystic fibrosis. We compared the volatiles in the sample with those that emerged from samples cultured with a stable isotope label. Each volatile components of each sample were analyzed twice: before and after stable isotope probing with 13C glucose and media. The samples collected from the subjects spanned three different timepoints or clinical states, baseline, exacerbation, and treatment23. The volatiles detected as labeled in the cultured sputum samples had different relative abundances compared to the unlabeled volatiles from the uncultured sputum samples. Culturing conditions in the stable isotope probing experiments with sputum may favor the growth of certain microbes, leading to differences in relative abundances of volatiles compared to the uncultured sputum samples. For example, acetic acid, dimethyl trisulfide, acetone, and propanal, 2-methyl were more abundant in the cultured sputum samples compared to the uncultured sputum samples (Figure 4). Detecting 13C labelled ethanol, which can be present in variable amounts in the background room air, provides evidence that the ethanol was actively produced by microbial metabolism from 13C glucose. The amount of variation explained by subject as assessed by Permutational Multivariate Analysis of Variance (PERMANOVA) and was also different for the two different volatile datasets (Table 1, Figure S2). For the 13C labeled cultured sputum, 51% of the variation was explained by the subject, while 33% of the variation was explained by subject from the volatiles in the uncultured sputum samples (Table 1). The microbiome community composition as determined by 16S rRNA amplicon sequencing from the seven subjects were unique to each subject (Fig S3), and the individual signatures were also reflected in both the cultured and uncultured sputum volatile molecules detected.

In cultured sputum, we detected 23 volatiles that were fully labeled with 13carbon. The isotope enriched (active) volatiles detected from the sputum samples were different for each subject. The volatiles with isotope enrichment detected in the sputum samples from all seven subjects were 2,3-butanedione; acetic acid; acetone; dimethyl trisulfide; disulfide, dimethyl; and pyrazine, 2,5-dimethyl (Figure 5). Although those volatiles were detected in all subjects, the isotope enrichment for each subject varied. Samples from subject 7 had higher isotope enrichment of disulfide dimethyl compared to the other six subjects (Figure 5B). Acetone was higher in subjects 4 and 6 (Figure 5). Some volatiles were enriched with 13C only in certain subjects. For example, 1-butanol, 3-methyl and propanoic acid, 2-methyl were only enriched in a subset of samples from subject 2 (Figure 5). In addition to the isotope enriched volatiles, there were volatiles also detected as unlabeled from the same cultured sputum (Figure S4). Volatiles 2-piperidinone; benzaldehyde, 4-methyl; benzothiazole; butanoic acid, 3-methyl; hexanal; hexane; isopropyl alcohol; phenol; propanoic acid, 2-methyl; and pyrrolo 1,2-apyrazine-1,4-dione, hexahydro were detected in the sputum samples, but were not isotope enriched (Figure S4).

DISCUSSION

To identify volatile production in in vitro cultures and human associated samples, we performed volatile analysis of mono- and co-cultures of P. aeruginosa, S. aureus, and A. baumanii and stable isotope probing of different biological samples. In the analysis for the mono- and co-cultures, we detected volatiles by performing a short extraction for 1 hour at 70 ℃. The volatile analysis of mono- and co-cultures allowed us to survey the compounds produced both by individual species and during their interactions with other species. There were differences in relative abundances across the different culture types and time points. In the stable isotope probing experiments, the biological samples included feces and saliva from healthy subjects, sewage, and sputum from subjects with cystic fibrosis. Stable isotope profiling enabled us to identify actively produced volatile molecules by extracting for 18 hours at 37 ℃. The long extraction time with a lower temperature enabled growth and metabolism of microbes present in the biological samples. Comparing the 13C glucose and D2O enrichments showed that there was more extensive isotope enrichment with labeled 13C.

When extracting different sample types, there were initial optimizing steps taken prior to starting a full run. First, test different volumes of a sample as a trial run. For some sample types, sputum for example, only small sample volumes were available. It is recommended to start with a lower volume or smaller amount of sample first, depending on sample type and available sample quantities. Do not extract a large volume or too much of the sample because it could overwhelm the column and contaminate the HSP. Column overload can be evident when peaks in the chromatogram are saturated or appear in subsequent runs. HSP contamination has occurred if carryover is present when the HSP is re-run on the GC-MS. In the mono- and co-culture experiments, 200 μl of culture was sufficient to detect a variety of volatiles. In the stable isotope probing experiments, depending on the sample type, the volume for each experiment ranged from 500 μl to 1 ml. Second, depending on the sample type and compounds of interest, the extraction time and temperature and the GC-MS and thermal desorption methods will need to be adjusted to optimize volatile detection. We determined our methods appropriate for our analytes of interest and column type.

After optimizing the method, the critical steps in the protocol pertained to the steps prior to and following extraction. During sample preparation, samples were placed on ice so that the volatiles present in the sample did not escape. It was also important to make sure the vacuum seal was tight and lid was securely closed. Otherwise, there would be an inefficient extraction and decreased detection of the volatiles from the sample. Leaks can arise from the O-rings around the lid liner or the HSP. To ensure that the vial was under vacuum, a gauge was used prior to extraction to make sure the O-rings were still functional. In addition, after the extraction, samples were placed on the ice block so that water was drawn out of the headspace for a determined time period. Water in the column could lead to changes in retention times and abundances of the volatiles.

There are both limitations and advantages to these methods with respect to alternative methods. Evaluating the mono- and co-culture experiments, there were volatile signatures detected that were specific to a particular microbe or co-culture. There were also changes in volatile abundances across time. As for the stable isotope probing experiments in the different types of biological samples, deuterium labeling did not result in as many isotope enriched volatiles as 13C glucose. The metabolisms required to produce isotope enriched volatiles with deuterium may be more limited. In addition, media was added to the biological samples to enhance microbial growth, which may lead to changes in the microbial community composition. Culture conditions of stable isotope probing experiments may be selecting for the favored growth of certain microbes in a biological sample. This was opposed to the short extraction for one hour at 70 ℃ designed to detect the volatiles in the community sample before one or few of the microbes begin taking over the community. The complexity of the microbial and chemical compositions of the fecal, sewage, saliva, and sputum sample types make it difficult in assigning specific chemical signatures to any given microbial or human origin without additional analyses such as sequencing. This method provided a high-throughput solvent-free and vacuum extraction that led to more sensitive detection of low volume samples. The volumes used for these experiments ranged from 200 μl to 1 mL of cultured biological samples. In other cases (data not shown), we have extracted biological samples (e.g, sputum and fecal samples) as low as 15 μl or 10 μg.

For future applications of the method, a wide range of sample types could be analyzed with small or limited volumes. Dozens of samples could be extracted simultaneously and the run time would depend on the parameters of the specific GC-MS instrument. In the case of stable isotope probing, when coupled with metagenomic sequencing, there is the possibility of identifying the microbes responsible for the production of the volatile molecules. The metagenome of the biological sample could be sequenced prior to and after extraction with stable isotope probing to identify changes in microbial community composition. Metagenomic sequencing would allow identification of genes responsible for the production of the isotope enriched volatile molecules. Here, we highlighted a few examples of the sample types and approaches that could be used as input for the presented protocol, which has already been established in different industries. Because volatile molecules are important diagnostic indicators, the use of this protocol could be expanded to biological laboratories and clinical healthcare settings.

ACKNOWLEDGMENTS

We thank Heather Maughan and Linda M. Kalikin for careful editing of this manuscript. This work was supported by NIH NHLBI (grant 5R01HL136647-04).

DISCLOSURES

V. L. V and S.  J. B. D. were former employees of Entech Instruments Inc., and K. W. is a member of Entech’s University Program. J. P., J. K., and C. I. R. have no conflicts of interest to declare.

REFERENCES

1.	Van Berkel, J.J.B.N. et al. A profile of volatile organic compounds in breath discriminates COPD patients from controls. Respiratory Medicine. 104 (4), 557–563, doi: 10.1016/j.rmed.2009.10.018 (2010).

2.	Nakhleh, M.K. et al. Detecting active pulmonary tuberculosis with a breath test using nanomaterial-based sensors. European Respiratory Journal. 43 (5), 1522–1525, doi: 10.1183/09031936.00019114 (2014).

3.	Lim, S.H. et al. Rapid Diagnosis of Tuberculosis from Analysis of Urine Volatile Organic Compounds. ACS sensors. 1 (7), 852–856, doi: 10.1021/acssensors.6b00309 (2016).

4.	Schnabel, R. et al. Analysis of volatile organic compounds in exhaled breath to diagnose ventilator-associated pneumonia. Scientific Reports. 5, 17179, doi: 10.1038/srep17179 (2015).

5.	Paff, T. et al. Exhaled molecular profiles in the assessment of cystic fibrosis and primary ciliary dyskinesia. Journal of Cystic Fibrosis: Official Journal of the European Cystic Fibrosis Society. 12 (5), 454–460, doi: 10.1016/j.jcf.2012.12.010 (2013).

6.	Robroeks, C.M.H.H.T. et al. Metabolomics of volatile organic compounds in cystic fibrosis patients and controls. Pediatric Research. 68 (1), 75–80, doi: 10.1203/PDR.0b013e3181df4ea0 (2010).

7.	Neerincx, A.H. et al. Hydrogen cyanide emission in the lung by Staphylococcus aureus. European Respiratory Journal. 48 (2), 577–579, doi: 10.1183/13993003.02093-2015 (2016).

8.	Goeminne, P.C., Vandendriessche, T., Van Eldere, J., Nicolai, B.M., Hertog, M.L.A.T.M., Dupont, L.J. Detection of Pseudomonas aeruginosa in sputum headspace through volatile organic compound analysis. Respiratory Research. 13, 87, doi: 10.1186/1465-9921-13-87 (2012).

9.	Joensen, O. et al. Exhaled Breath Analysis Using Electronic Nose in Cystic Fibrosis and Primary Ciliary Dyskinesia Patients with Chronic Pulmonary Infections. PLOS ONE. 9 (12), e115584, doi: 10.1371/journal.pone.0115584 (2014).

10.	Nasir, M., Bean, H.D., Smolinska, A., Rees, C.A., Zemanick, E.T., Hill, J.E. Volatile molecules from bronchoalveolar lavage fluid can ‘rule-in’ Pseudomonas aeruginosa and ‘rule-out’ Staphylococcus aureus infections in cystic fibrosis patients. Scientific Reports. 8 (1), 826, doi: 10.1038/s41598-017-18491-8 (2018).

11.	Tyc, O., Zweers, H., de Boer, W., Garbeva, P. Volatiles in Inter-Specific Bacterial Interactions. Frontiers in Microbiology. 6, doi: 10.3389/fmicb.2015.01412 (2015).

12.	Gao, B. et al. Tracking Polymicrobial Metabolism in Cystic Fibrosis Airways: Pseudomonas aeruginosa Metabolism and Physiology Are Influenced by Rothia mucilaginosa-Derived Metabolites. mSphere. 3 (2), doi: 10.1128/mSphere.00151-18 (2018).

13.	Schoenheimer, R., Rittenberg, D. DEUTERIUM AS AN INDICATOR IN THE STUDY OF INTERMEDIARY METABOLISM. Science (New York, N.Y.). 82 (2120), 156–157, doi: 10.1126/science.82.2120.156 (1935).

14.	Neubauer, C. et al. Refining the Application of Microbial Lipids as Tracers of Staphylococcus aureus Growth Rates in Cystic Fibrosis Sputum. Journal of Bacteriology. 200 (24), e00365-18, doi: 10.1128/JB.00365-18 (2018).

15.	Cordell, R.L., Pandya, H., Hubbard, M., Turner, M.A., Monks, P.S. GC-MS analysis of ethanol and other volatile compounds in micro-volume blood samples—quantifying neonatal exposure. Analytical and Bioanalytical Chemistry. 405 (12), 4139–4147, doi: 10.1007/s00216-013-6809-1 (2013).

16.	Mayor A, R.S. Optimisation of Sample Preparation for Direct SPME-GC-MS Analysis of Murine and Human Faecal Volatile Organic Compounds for Metabolomic Studies. Journal of Analytical & Bioanalytical Techniques. 5 (2), doi: 10.4172/2155-9872.1000184 (2014).

17.	Camarasu, C.C. Headspace SPME method development for the analysis of volatile polar residual solvents by GC-MS. Journal of Pharmaceutical and Biomedical Analysis. 23 (1), 197–210, doi: 10.1016/S0731-7085(00)00270-3 (2000).

18.	Charry‐Parra, G., DeJesus‐Echevarria, M., Perez, F.J. Beer Volatile Analysis: Optimization of HS/SPME Coupled to GC/MS/FID. Journal of Food Science. 76 (2), C205–C211, doi: https://doi.org/10.1111/j.1750-3841.2010.01979.x (2011).

19.	Bicchi, C., Cordero, C., Liberto, E., Rubiolo, P., Sgorbini, B. Automated headspace solid-phase dynamic extraction to analyse the volatile fraction of food matrices. Journal of Chromatography A. 1024 (1), 217–226, doi: 10.1016/j.chroma.2003.10.009 (2004).

20.	Trujillo-Rodríguez, M.J., Anderson, J.L., Dunham, S.J.B., Noad, V.L., Cardin, D.B. Vacuum-assisted sorbent extraction: An analytical methodology for the determination of ultraviolet filters in environmental samples. Talanta. 208, 120390, doi: 10.1016/j.talanta.2019.120390 (2020).

21.	Mollamohammada, S., Hassan, A.A., Dahab, M. Immobilized algae-based treatment of herbicide-contaminated groundwater. Water Environment Research. n/a (n/a), doi: https://doi.org/10.1002/wer.1405.

22.	Psillakis, E. The effect of vacuum: an emerging experimental parameter to consider during headspace microextraction sampling. Analytical and Bioanalytical Chemistry. 412 (24), 5989–5997, doi: 10.1007/s00216-020-02738-x (2020).

23.	Carmody, L.A. et al. The daily dynamics of cystic fibrosis airway microbiota during clinical stability and at exacerbation. Microbiome. 3, 12, doi: 10.1186/s40168-015-0074-9 (2015).

24.	Carmody, L.A. et al. Fluctuations in airway bacterial communities associated with clinical states and disease stages in cystic fibrosis. PLOS ONE. 13 (3), e0194060, doi: 10.1371/journal.pone.0194060 (2018).

25.	Mahboubi, M.A., Carmody, L.A., Foster, B.K., Kalikin, L.M., VanDevanter, D.R., LiPuma, J.J. Culture-Based and Culture-Independent Bacteriologic Analysis of Cystic Fibrosis Respiratory Specimens. Journal of Clinical Microbiology. 54 (3), 613–619, doi: 10.1128/JCM.02299-15 (2016).

FIGURE AND TABLE LEGENDS

Figure 1. Protocol schematic. A biological sample is placed into a glass vial and assembled with the lid liner and headspace sorbent pen (HSP). A vacuum is applied to the vial until a pressure of approximately 30 mmHg is reached. The vacuum source is removed, and the vials are placed in the sorbent pen extraction unit (SPEU) where a static extraction is performed with the aid of heat, agitation, and time. After extraction, vials are placed on a cold metal block to remove water from the headspace and HSP. The HSPs are collected and run via thermal desorption on the GC-MS. The data are analyzed with ChemStation, DExSI, and R.

Figure 2. Heatmap of mono- and co-cultures. VOCs detected from mono- and co-cultures at 24- and 48-hour timepoints. The bacterial species are A = A. baumanii, P = P. aeruginosa, and S = S. aureus. The co-cultures are the combinations of the letters representing each strain. The media control is TH = Todd Hewitt media. All samples were extracted for 1 hour at 70 ℃ with 200 rpm agitation. Heatmap intensity values are column Z-scores, normalized by metabolite. The Z-score was calculated by the difference of value from the mean of values, divided by the standard deviation of values. The dendrogram was generated with the “cluster_cols” option in the “pheatmap” function R. The dendrogram represents hierarchical clustering in which metabolites that cluster together have more similar Z-scores across samples.

Figure 3. Percent conversion of 13C into volatile molecule mass in fecal, saliva, and sewage samples during 18 hours of simultaneous incubation and extraction. The % conversion was calculated for fully labeled compounds by taking the mass of the fully labeled compound (M+N) and dividing it by (M+N) + the mass of the unlabeled volatile mass (M), where N is the maximum number of possible carbons (in A-D) or hydrogens (in E) that can be labeled in each volatile molecule. Compounds are considered to be fully labeled when all carbons of the volatile are replaced by 13C. Where data are missing, the volatile was not detected. For example in panel (D), 1-propanol was not detected in fecal or saliva samples. Number of replicates per sample = 3. (A) The 13C labeled volatiles detected in all sample types (feces, saliva, and sewage). (B) The 13C labeled volatiles only detected in saliva and sewage samples. (C) The 13C labeled volatiles detected in feces and saliva samples. (D) The 13C labeled volatiles detected in one of the three different sample types. (E) The deuterium labeled volatile molecules.

Figure 4. Heatmap of 13C labeled volatiles from cultured sputum and volatile molecules detected from uncultured sputum. The labeled volatiles come from the stable isotope probing experiments where 13C glucose and BHI were added to sputum during the extraction step to cultivate microbial growth and capture active volatile production. The unlabeled volatile molecules were detected directly from sputum samples. The heatmap intensities are Z-scores as described in the caption of Figure 2. However, the Z-scores were calculated within each experiment for the cultured and uncultured sputum experiments. The dendrogram was generated as described in Figure 2.

Figure 5. Percent conversion of 13C into volatile molecule mass in sputum samples from seven subjects with cystic fibrosis during 18 hours of simultaneous incubation and extraction. The % conversion was calculated as described in the caption of Figure 3. Volatiles not detected in samples are indicated by the absence of data. N = 1-3. (A) The 13C labeled volatiles detected at a higher percent conversion in the majority of sputum samples. (B) The 13C labeled volatiles detected at a lower percent conversion in the majority of sputum samples. (C). The 13C labeled volatiles detected at a lower percent conversion in a minority of the sputum samples.

Table 1. Permutated multivariate analysis of variance (PERMANOVA) of sputum samples. The PERMANOVA was generated using the “adonis” function from the “vegan” package in R.

Figure S1. The relative abundances of labeled (M+N(max)) and unlabeled (M+0) volatiles across fecal, saliva, and sewage samples.

Figure S2. Non-metric multidimensional scaling of cultured sputum with stable isotope probing and uncultured sputum. (A) The NMDS of cultured sputum with 13C glucose and media was generated with k = 3 dimensions. The stress value was 0.07. (B) The NMDS of uncultured sputum was generated with k = 3 dimensions. The stress value was 0.13.

Figure S3. Microbial community composition of sputum samples from subjects with cystic fibrosis, as assessed by 16S rRNA amplicon sequencing as part of a larger study, further information about approach found in Carmody et al 202019. from subjects with cystic fibrosis. B = baseline, E = exacerbation, T = treatment. Each stacked bar is a different timepoint.

Figure S4. The relative abundances of labeled (M+N(max)) and unlabeled (M+0) volatiles across sputum samples from seven subjects with cystic fibrosis.