## Materials
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
1 mL polypropylene pipette tips | NA | NA | Used to retrieve specimens
1.5 mL polypropylene centrifuge tubes | NA | NA
10 mL Erlenmeyer flask | VWR | 89091-116 | Used for tube and tissue weighing
AB Sciex Analyst 1.6.2 | Sciex | NA | Software to analyze and integrate MS data
Ammonium formate | Fisher Scientific | A11550 | For LC mobile phases
Analytical scale | NA | NA | Scale that is accurate to 0.1 mg
Bottle top dispenser | Sartorius | LH-723071 | Used for dispensing solvents
C12-Ceramide (d18:1/C12:0); N-(dodecanoyl)-sphing-4-enine | Avanti Polar Lipids | LM2212 | Internal standard
C12-glucosylceramide (d18:1/12:0); N-(dodecanoyl)-1-β-glucosyl-sphing-4-eine | Avanti Polar Lipids | LM2511 | Internal standard
C12-lactosylceramide (d18:1/12:0); N-(dodecanoyl)-1-ß-lactosyl-sphing-4-ene | Avanti Polar Lipids | LM2512 | Internal standard
C12-Sphingomyelin (d18:1/C12:0), N-(dodecanoyl)-sphing-4-enine-1-phosphocholine | Avanti Polar Lipids | LM2312 | Internal standard
CHLOROFORM OMNISOLV 4L | VWR | EM-CX1054-1
ClickSeal Biocontainment Lids | Thermo Scientific | 75007309 | To prevent biohazard aeresols during centrifugation
Conflikt | Decon Labs | 4101 | Decontaminant
CTO-20A/20AC Column Oven | Shimadzu | NA | For LC
d17:1-Sphingosine; (2S,3R,4E)-2-aminoheptadec-4-ene-1,3-diol | Avanti Polar Lipids | LM2000 | Internal standard
d17:1-Sphingosine-1-phosphate; heptadecasphing-4-enine-1-phosphate | Avanti Polar Lipids | LM2144 | Internal standard
DGU20A5R degasser | Shimadzu | NA
Disposable Culture Tubes 13x100mm | VWR | 53283-800 | 13x100 mm screw top tubes
Heated water bath | NA | NA | For overnight lipid extraction
Homogenizer 150 | Fisher Scientific | 15-340-167 | triturate tissues
Homogenizer Plastic Disposable Generator Probe | Fisher Scientific | 15-340-177 | for homogenization
Kimwipes | Kimtech | 34120 | Laboratory grade tissue used to make wicks
Methanol LC-MS Grade 4L | VWR | EM-MX0486-1
Nexera LC-30 AD binary pump system | Shimadzu | NA | For LC-MS
Permanent marker | VWR | 52877-310
Phenolic Screw Thread Closure, Kimble Chase (caps for disposable culture tubes) | VWR | 89001-502 | 13x100 mm screw top tube caps
Phosphate bufffered saline | Thermo Scientific | 10010023 | To retrieve specimens from tubes after washing
Repeater pipette | Eppendorf | 4987000118 | To dispense LC-MS internal standards
Screw Caps, Blue, Red PTFE/White Silicone | VWR | 89239-020 | Autoinjector vial caps
Screw Thread Glass Vials with ID Patch | VWR | 46610-724 | Autoinjector vials
SIL-30AC autoinjector | Shimadzu | NA
SpeedVac | Thermo Scientific | SPD2030P1220 | For drying solvents
Supelco 2.1 (i.d.) x 50 mm Ascentis Express C18 column | Sigma Aldrich | 53822-U | For LC-MS
Triple Quad 5500+ LC-MS/MS System | Sciex | NA | For LC-ESI-MS/MS
Ultrasonic water bath | Branson | Model 2800 | for homogenization and resuspension of extracted and dried lipids
Vortexer | NA | NA | For sOCTrP and resuspending dried lipids
VWR Culture Tubes Disposable Borosilicate Glass | VWR | 47729572 | 13x100 glass culture tubes
Water Hipersolve Chromanorm LC-MS | VWR | BDH83645.400

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=