# Submission ID #:  62581

# Scriptwriter Name: Nilesh Kolhe

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19087253

Title:   Surgery and Sample Processing for Correlative Imaging of the Murine Pulmonary Valve

Authors and Affiliations: Yifei Liu1, Yong-Ung Lee2, Tai Yi2, Ken Wu3, Cedric Bouchet-Marquis3, Han Chan3, Christopher K. Breuer1,2, David W. McComb1

1Center for Electron Microscopy and Analysis, The Department of Materials Science and Engineering, Ohio State University, Columbus, OH, United States

2Center for Regenerative Medicine, Nationwide Children’s Hospital, Columbus, OH, United States

3Thermo Fisher Scientific, Hillsboro, OR, United States

☐   All author names and affiliations are correct.

# Corresponding Authors:

# liu.612@osu.edu

# Email Addresses for All Authors:

liu.612@osu.edu

yongung.lee@gmail.com

tai.yi@nationwidehildrens.org

ken.wu@thermofisher.com

cedric.bouchet-marquis@thermofisher.com

han.chan@thermofisher.com

christopher.breuer@nationwidechildrens.org

mccomb.29@osu.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 21

Number of Shots: 45

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - The use of animals in this study was in accordance with Nationwide Children’s Hospital Institutional Animal Care and Use Committee.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Pulmonary Valve Excision

  - Begin by autoclaving the necessary tools needed for the mouse dissection, including fine scissors, micro forceps, microvascular clamps, clamp applying forceps, microneedle holders, spring scissors, and retractors [1].

    - WIDE: Establishing shot of talent walking to the lab bench with the autoclaved tools placed in a tray

  - After euthanizing an adult C57BL/6 (C-fifty-seven black six) mouse, place it in a dorsal recumbence position on a tray [1], secure its limbs with tape, and perform the thoracotomy [2].

    - Talent placing the mouse in an appropriate position

    - Talent securing the mouse limbs with tape

  - Expose the heart by removing any excess adipose tissue and fascia [1], then remove the right atrium [2] and perfuse the left ventricle with room temperature saline solution [3-TXT].

    - Exposed heart Authors: Is the thoracotomy performed under a microscope?

    - Talent removing the right atrium

    - Talent perfusing left ventricle with saline solution TEXT: Perfusion take approximately 20 mL over 30 s

  - Remove the entire heart by severing the superior vena cava, inferior vena cava, pulmonary artery, and aorta [1] and cut approximately 2 millimeters above the ventriculo-arterial junction, which will serve as the conduit for pressurization [2].

    - Exposed entire heart

    - Talent cutting across the ventriculo-arterial junction

  - Remove the left and right ventricles to expose the chambers to atmospheric pressure [1], ensuring that the pulmonary trunk structure is unaffected by removing the ventricles [2].

    - Talent removing left and right ventricles

    - Talent checking unaffected/intact pulmonary trunk structure

- Pressure Fixation of Pulmonary Valve

  - Anastomose pressurization tubing with the pulmonary artery, leaving an approximately 1-millimeter distance between the sino-tubular junction and the end of the tubing to accommodate for large movements of the leaflets and pulmonary trunk [1].

    - Talent connecting pressurization tubing with pulmonary artery

  - Elevate the reservoir to an analogous physiological pressure [1] and fill it with the saline solution [2]. Test the flow-through system to ensure there are no blockages or air bubbles [3].

    - Talent elevating the reservoir

    - Talent filling the reservoir with saline solution

    - Talent checking the flow-through systems for no blockages or air bubbles

  - Attach a stopcock to the anastomosed pulmonary valve [1] and ensure adequate flow through the tubing by switching the outflow tract [1]. Once the flow is sufficient, switch the outflow to the anastomosed pulmonary valve [3] and ensure pressurization of the pulmonary trunk, identified by trunk distention [4].

    - Talent attaching stopcock to the anastomosed pulmonary valve

    - Talent checking the adequate flow through the tubing

    - Talent switching the outflow to the anastomosed pulmonary valve

    - Enlarged pulmonary trunk

  - After confirming the pressurization of the pulmonary trunk, gradually incorporate primary fixative solution until 25% of the reservoir capacity of the saline solution is purged [1-TXT].

    - The primary fixative solution is being incorporated TEXT: 1.25% glutaraldehyde, 1.0% paraformaldehyde in 0.15 M cacodylate

  - Place a fixative-soaked gauze over the tissue sample to prevent drying [1]. Perfuse the fixative for 3 hours, refilling the reservoir to maintain a constant pressure [2].

    - Talent placing the fixative-soaked gauze over the tissue sample

    - Shot of fixative incorporation

  - After perfusion, store the heart valve in the fixative solution at 4  degrees Celsius until use for up to 1 week [1].

    - Talent placing the heart valve in the fixative solution

- En bloc Sample Staining and Embedment

  - For staining, wash the fixed heart valve sample three times with cold 0.15 molar cacodylate buffer for 5 minutes [1] and completely submerge the heart valve in a solution of 1.5% potassium ferrocyanide, 0.15 molar cacodylate, 2 millimolar calcium chloride, and 2% osmium tetroxide on ice for 1 hour [2].

    - Talent giving washes to the heart valve sample

    - Talent placing the heart valve in a solution

  - Wash the samples with room temperature double distilled water by placing them in a tube for 5 minutes with slight agitation [1].

    - Sample in water on a shaker

  - After three more washes, place the sample in filtered thiocarbohydrazide solution at room temperature [1]. After 20 minutes, wash the sample three times with water as demonstrated earlier [2].

    - Talent placing the sample in thiocarbohydrazide solution

    - Talent giving water washes to the samples

  - Next, place the sample in 2% osmium tetroxide at room temperature [1]. After 30 minutes, wash it with water three times for 5 minutes each and incubate the sample in 1% uranyl acetate overnight at 4 degrees Celsius [2]. Meanwhile, prepare a solution of lead nitrate [3-TXT].

    - Talent placing the sample in osmium tetroxide solution

    - Talent placing the sample in uranyl acetate solution for overnight incubation

    - Talent with lead nitrate solution set on the workbench TEXT: Refer to the text for preparation of lead nitrate solution

  - On the following day, perform the washing step three times as demonstrated earlier [1], then incubate the heart valve tissue in lead aspartate solution at 60 degrees Celsius for 30 minutes [2].

    - Talent giving water washes to the sample

    - Talent placing the heart valve for incubation in lead aspartate solution

  - Wash the samples three more times, then perform a serial dehydration treatment on the heart valve tissues with freshly prepared 20, 50, 70, and 90% ethanol on ice for 5 minutes each [1],  followed by two subsequent treatments with 100% ethanol [2].

    - Talent performing serial dehydration with ethanol

    - Talent performing dehydration with 100% ethanol

  - After dehydration, move the tissue to ice-cold acetone [1], then place it in fresh acetone at room temperature for 10 minutes [2].

    - Talent placing the tissue in ice-cold acetone

    - Talent placing the tissue in room temperature acetone

  - For embedding, make the resin mixture according to the manufacturer’s specifications [1]. Place tissues in subsequent treatments of 25:75, 50:50, and 75:25 resin:acetone mixture for 2 hours each [2]. Finally, place the tissues in 100% resin overnight [3].

    - Talent showing the labeled different volume ratios of the resin mixture solutions

    - Talent placing the tissues in a mixture of resin: acetone mixture

    - Talent placing the tissues in 100% resin

  - On the following day, place tissues in fresh 100% resin [1]. After 2 hours, transfer the tissues to an embedding capsule [2], add fresh 100% resin [3], and place it in a 60-degree Celsius oven for 48 hours to cure [4].

    - Talent placing the tissues in fresh 100% resin

    - Talent transferring the tissues to an embedding capsule

    - Talent adding fresh resin to the capsule

    - Talent placing the capsule in an oven

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 150. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Correlative Imaging of the Murine Pulmonary Valve

  - The excised anastomosed pulmonary artery before [1] and following the application of hydrostatic pressure is shown here [2]. The pulmonary trunk distends radially, indicating that the pulmonary valve leaflets are in a closed configuration [3].

    - LAB MEDIA: Figure 1A

    - LAB MEDIA: Figure 1B

    - LAB MEDIA: Figure 1B Video Editor: please emphasize on the dotted line

  - Micro-computed tomography confirmed the pulmonary valve conformation [1]. The leaflets were closed, and the annulus was circular [2] while varying degrees of inadequate pulmonary valve pressurization by either fixation [3] or arterial collapse were observed [4].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2A Video Editor: please emphasize on a blue circle

    - LAB MEDIA: Figure 2B

    - LAB MEDIA: Figure 2C

  - The micro-CT volume rendering virtual cross-sections [1] was correlated with optical images to confirm the slicing direction and location [2].

    - LAB MEDIA: Figure 3A Video Editor: please emphasize on red circles for pulmonary valve leaflets

    - LAB MEDIA: Figure 3B Video Editor: please emphasize on red circles for pulmonary valve leaflets

  - High-resolution SBF-SEM images were taken at a local region within a leaflet when the specimen block was at the desired location and orientation [1]. Correlated images between the micro-CT volume rendering virtual slice [2], low-resolution [3], and high-resolution SBF-SEM images are shown here [4].

    - LAB MEDIA: Figure 4

    - LAB MEDIA: Figure 4A  Video Editor: please emphasize on the red box indicates the imaged region in Figure 4B using SBF-SEM

    - LAB MEDIA: Figure 4B Video Editor: please emphasize on the blue box represents the location of Figure 4C

    - LAB MEDIA: Figure 4C

  - In 3D representation of a segmented region of the pulmonary valve, extracellular components like endothelial cells [1], valvular interstitial cells [2], and extracellular fibers can be identified [3].

    - LAB MEDIA: Figure 5 Video Editor: please emphasize on green color for endothelial cells

    - LAB MEDIA: Figure 5 Video Editor: please emphasize on blue color for valvular interstitial cells

    - LAB MEDIA: Figure 5 Video Editor: please emphasize on yellow color for extracellular fibers

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.