# Submission ID #:  62600

# Scriptwriter Name: Gaurav Vaidya

# Supervisor Name: Anastasia Gomez

# Project Page Link:  https://www.jove.com/account/file-uploader?src=19093048

# Title:   Basophil Activation Test for Allergy Diagnosis

# Authors and Affiliations:

Inmaculada Doña1,2*, Adriana Ariza2*, Tahia D Fernández2,3, María J Torres1,2,4,5

1Allergy Unit, Hospital Regional Universitario de Málaga.

2Allergy Research Group, Instituto de Investigación Biomédica de Málaga-IBIMA.

3Universidad de Málaga, Departamento de Biología celular, Genética y Fisiología, Universidad de Málaga.

4Departamento de Medicina, Universidad de Málaga.

5Nanostructures for Diagnosing and Treatment of Allergic Diseases Laboratory, Andalusian Center for Nanomedicine and Biotechnology-BIONAND.

☐   All author names and affiliations are correct.

# Corresponding Authors:

Inmaculada Doña (inmadd@hotmail.com)

# Email Addresses for All Authors:

adriana.ariza@ibima.eu

tahiadfd@uma.es

mjtorresj@uma.es

inmadd@hotmail.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  16

Number of Shots:  34

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - The protocol performance was conducted according to the Declaration of Helsinki principles and approved by the local Ethics Committee (Comité de Ética para la Investigación Provincial de Málaga, Spain). All subjects were informed orally about the research study and they signed the corresponding informed consent form.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Sample and Staining Mix Preparation

  - Begin by collecting peripheral blood in 9-milliliter heparinized tubes [1] and place the samples in a rotor to maintain them at room temperature until they are required for the experimental protocol [2].

    - WIDE: Establishing shot of the talent collecting blood.

    - Talent placing the sample in the rotor.

  - Label two 5-milliliter cytometer tubes each for negative control and positive control [1]. Also, label one tube each for the different allergen or drug concentrations being tested [2]. Then, place the tubes in a rack so that the tubes fit perfectly without slipping [3].

    - Talent labeling the positive and negative controls.

    - Talent labeling the tubes used for different concentrations of allergen or drug.

  - For the first positive control, prepare a 4 micromolar solution of N-Formylmethionyl-leucyl-phenylalanine, or fMLP, in 0.05 percent PBS-T to confirm the quality of basophils [1-TXT].

    - Talent preparing fMLP solution. TEXT: PBS-T - PBS-Tween-20

  - For the second positive control, prepare a 0.05 milligrams per milliliter Anti-IgE solution using PBS-T [1-TXT].

    - Talent preparing the Anti-IgE solution. TEXT: IgE-mediated positive control

  - Prepare the staining mix by adding one microliter each of CCR3-APC, CD203c-PE, and CD63-FITC antibodies per 20 microlitres of the stimulation buffer [1]. Then, add 23 microliters of this staining mix to each tube [2].

    - Talent preparing the staining mix.

    - Talent adding the staining mix to each tube.

- Blood Stimulation

  - Add 100 microliters of PBS-T to the negative control tubes [1]. Add 100 microliters of fMLP to one of the positive control tubes [2] and add 100 microliters of anti-IgE to the other [3].

    - Talent adding PBS-T to negative controls.

    - Talent adding fMLP to one positive control tube.

    - Talent adding anti-IgE to the other positive control tube.

  - To the rest of the tubes, add 100 microliters of the different allergen or drug concentrations [1]. Then, incubate all the tubes for 10 minutes at 37 degrees Celsius in a thermostatic bath with medium agitation to prewarm the reagents [2].

    - Talent adding different concentrations of allergen or drug.

    - Talent placing the tubes in the thermostatic bath.

  - After incubation, add 100 microliters of blood to each tube gently to avoid hemolysis [1]. Then, gently vortex the tubes [2] and incubate them for 25 minutes at 37 degrees Celsius in the thermostatic bath with medium agitation [3].

    - Talent adding blood to the tubes.

    - Talent vortexing the tubes.

    - Talent placing the tubes in the thermostatic bath for incubation.

  - Keep the tubes at 4 degrees Celsius for at least 5 minutes to stop the degranulation [1].

    - Talent incubating the tubes at 4 degrees Celsius.

- Erythrocytes Lysing

  - To each tube, add 2 milliliters of 1x lysing buffer to lyse the erythrocytes [1]. Vortex each tube [2] and then incubate the tubes for 5 minutes at room temperature [3-TXT].

    - Talent adding the lysing buffer to the tubes.

    - Talent vortexing the tubes.

    - Talent incubating the tubes. TEXT: Formaldehyde fixes the cells.

  - Centrifuge the tubes at 300 x g at 4 degrees Celsius for 5 minutes [1]. Then, overturn the rack into the sink to decant the supernatant while the cells remain at the bottom of the tubes [2].

    - Talent centrifuging the tubes.

    - Talent decanting the supernatant.

  - Add 3 milliliters of PBS-T to each tube to wash the cells [1] and vortex the tubes [2].

    - Talent adding PBS-T to the tubes.

    - Talent vortexing the tubes.

  - Perform a second round of centrifugation using the same set of parameters [1] and decant the supernatant by overturning the rack into the sink [2]. Then, keep the samples at 4 degrees Celsius protected from the light until flow cytometry [3].

    - Talent centrifuging the tubes.

    - Talent decanting the supernatant.

    - Talent storing the samples at 4 degrees Celsius.

- Flow Cytometry Acquisition

  - Connect the flow cytometer to the computer software and wait until the cytometer is ready [1]. Load the template and instrument settings as described in the text manuscript [2].

    - Talent connecting the cytometer to the computer software.

    - Talent loading the template and the instrument settings.

  - Start the process of sample acquisition [1]. To select activated basophils, first gate the lymphocytes from the Side Scatter – Forward Scatter plot [2]. Then, gate the basophils from the lymphocyte population as CCR3+CD203c+ (pronounce “CCR3-positive- CD203c-positive”) cells and acquire at least 500 basophils per tube [3]. Authors: Would you like to provide screen capture videos for the gating process?

    - Talent starting sample acquisition.

    - Talent gating lymphocytes.

    - Talent gating and acquiring 500 basophils per tube.

  - Set the CD63 negative threshold to approximately 2.5 percent using the negative control tubes [1]. Use a CCR3 – CD63 plot to analyze activation using CD63 as the activation marker and acquire all the samples [2].

    - Talent setting the negative threshold for CD63.

    - Talent acquiring all the samples using the set parameters.

## Protocol Script Question

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 104. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Basophil Activation Test

  - IgE-dependent hypersensitivity reactions were investigated by performing a basophil activation test or BAT using allergens [1] and drugs [2].

    - LAB MEDIA: Figure 2C. Video Editor: Emphasize the last graph.

    - LAB MEDIA: Figure 1C. Video Editor: Emphasize the bottom left graph.

  - Basophil sensitivity was analyzed by measuring the reactivity at multiple decreasing allergen concentrations that help determine the allergic concentration that induces the response of 50% basophils or EC50 [1].

    - LAB MEDIA: Figure 2C. Video Editor: Emphasize the decrease in allergen concentrations from left to the right in the bottom panel of graphs.

  - First, lymphocytes were gated from the Side Scatter – Forward Scatter plot [1]. Then, basophils were gated from the lymphocyte population as CCR3+CD203c+ cells [2].

    - LAB MEDIA: Figure 1A. Video Editor: Emphasize the area marked lymphocytes.

    - LAB MEDIA: Figure 1B. Video Editor: Emphasize the area marked basophils.

  - Then a CCR3 – CD63 plot was used to analyze basophil activation using CD63 as an activation marker for two drugs [1] and different concentrations of an allergen [2].

    - LAB MEDIA: Figure 1C

    - LAB MEDIA: Figure 2C

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.