# Submission ID #:  62607

# Scriptwriter Name: Madhulika Pathak

# Supervisor Name: Swati Madhu

# Project Page Link: https://www.jove.com/account/file-uploader?src=19095183

# Title:   Digital-Droplet PCR to Detect Indels Mutations in Genetically Modified Anopheline Mosquito Populations

# Authors and Affiliations:

Rebeca Carballar-Lejarazú1, Thai Binh Pham2, Adam Kelsey1, Taylor Tushar1, Anthony A. James1,2

1Department of Microbiology & Molecular Genetics, University of California, Irvine

2Department of Molecular Biology & Biochemistry, University of California, Irvine

☒   All author names and affiliations are correct.

# Corrections made to affiliation lines

# Corresponding Authors:

Anthony A. James		(aajames@uci.edu)

# Email Addresses for All Authors:

# rcarball@uci.edu

# thaibp@uci.edu

# adamkelsey72@gmail.com

# taylortushar@gmail.com

# aajames@uci.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  NO

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  YES

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   YES

If Yes, how far apart are the locations? 0.5-1 mile

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  14

Number of Shots:  26

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Rebeca Carballar: This protocol provides a high-throughput and reliable method for NHEJ analysis that can determine the prevalence and relative quantity of indel mutation in gene-edited mosquito population.

REQUIRED: What is the main advantage of this technique?

  - Taylor Tushar: Compared to the next-generation or Sanger sequencing, ddPCR has a faster turn-around time for results, which would allow a quicker and complete analysis of genetic variation a field trial with genetically modified organisms.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - : Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - AA James: This method should be generally applicable to all experimental systems.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - 1.1.	Rebeca Carballar: Demonstrating the procedure will be Thai Binh Pham, a Staff Research Associate from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- PCR Preparation and Droplet Generation

  - To begin with, prepare 25 microliters of the digital droplet PCR or ddPCR Sample mix by adding ddPCR supermix, forward and reverse primers, HEX or FAM probes, DNA, and water in the proportions described in text [1-TXT]. Then, thoroughly mix the reaction by vortexing.[2].

Authors:

- How would you like jove’s voice over talent to pronounce ddPCR, HEX and FAM?

Please just pronounce as it is. (d-d-P-c-r, hex, fam)

- Which of these alternative mixing methods (Vortex or pipetting) will be shown in the video?

Vortex

    - Talent preparing sample mix. TEXT: HEX: Hexachloro-fluorescein, FAM: 6-carboxyfluorescein, See the text for volume to be added

    - Talent vortexing the tube.

  - Using a 50-microliter multichannel pipette, load 20 microliters of the ddPCR sample mix into the middle row of the cartridge [1]. Then use a 200uL multichannel pipette to load 70 microliters of the oil into the bottom row [2]. Do not go to second stop to avoid generating bubbles throughout the pipetting.

    - Talent loading ddPCR Sample mix into the middle row of the cartridge

    - Talent loading oil into the bottom row

  - Place the gasket touching only the edges, avoiding the center concaved area [1], and then place the plate securely in the droplet generator [2] and close the cover to start the run [3].

    - Talent placing the gasket touching the edges

    - Talent placing the plate in droplet generator

    - Talent closing the cover

  - To transfer the emersion-mix from the top row of the cartridge into the 96-well plate, use a multichannel pipette and draw 40 microliters of liquid sample for 3 to 5 seconds at an angle of 30 to 45 degrees [1].

    - Talent drawing the emersion mix from the top of the cartridge using a multichannel pipette.

  - Then, expel the mixture into the well slowly, for over 3 seconds at a 45 degrees angle [1], allowing it to drip down from the side [2] and then go to the second stop of the pipette to expel the liquid completely [3]. Using foil heat seals, seal the plates for 5 seconds at 180 degrees Celsius [4].

    - Talent expelling the mixture slowly at a 45-degree angle

    - Mixture dripping from the side of the well

    - Talent going to the second stop of the pipette, expelling all the liquid

    - Talent sealing the plate at 180 degrees Celsius

- PCR

  - Place the sealed plate into the thermocycler and set the PCR conditions for NHEJ (N-H-E-J) Drop-Off guidelines by setting initial denaturation at 95 degrees Celsius for 10 minutes [1].

    - Talent setting the PCR conditions

  - Then, set 40 cycles of 94 degrees Celsius for 30 seconds to denature, 55 degrees Celsius for 1 minute to anneal, and 60 degrees Celsius for 2 minutes to extend. After 40 cycles, set hold at 98 degrees Celsius for 10 minutes and final hold at 4 degrees Celsius. Use a ramp rate of 2oC /s for all steps. The annealing temperature will vary according to the probes or primer used. [1].

    - PCR conditions on thermocycler display

- Droplet reading

  - Place the plate securely in the droplet reader with the A-1 (A-one) labeled well at the top left [1]. Set up the plate in the program and designate FAM as the known reference channel and HEX as the unknown one [2].

    - Talent placing the plate in droplet reader with A-1 at the top left

# Authors: Please provide screen capture videos for steps 6.2, 6.3, 7.1-7.7 in your manuscript on your project page. I will write the voiceover narration matching the shots. https://www.jove.com/account/file-uploader?src=19095183

    - SCREEN: To be provided by the authors: Talent setting up the plate in the program and designating FAM as the known reference and HEX as the unknown one

  - Run the droplet reading experiment as direct quantification [1]. After the run finishes, change the experiment type to Drop-Off DOF (D-O-F) for the analysis [2].

    - SCREEN: To be provided by the authors: Talent running the Droplet reading experiment

- Analysis

  - Designate the correct experimental parameters for software analysis. Namely, Sample Information, SuperMix, Target Name, Target Type, Signal Ch1 (Channel-1), and Ch2 (Channel-2) [1].

    - SCREEN: To be provided by the authors: Talent designating various parameters of Sample Information, SuperMix, Target Name, Target Type, Signal Ch1, and Ch2 as HEX or FAM

  - Then, set the threshold for droplet count above 10,000 for reliable results [1]. Next, check the droplet count for each well in the Droplet tab, ensuring all are above 10,000 [2]. Finally, check 1D amplitude for efficient signal separation from negatives [3].

    - SCREEN: To be provided by the authors: Talent setting the threshold for droplet count above 10,000

    - SCREEN: To be provided by the authors: Talent checking the droplet count displaying the values in each well above 10,000

    - SCREEN: To be provided by the authors: Talent checking 1D amplitude

  - In the Plate Editor, highlight the entire plate and set the Experiment Type to Drop off [1]. Set the WT target as a Reference, designating channel one for FAM and channel two for HEX. Set NHEJ target as unknown, designating channel one for FAM and channel two as none [2].

    - SCREEN: To be provided by the authors: Talent highlighting the entire plate in the Plate editor and setting the experiment type to Drop off

    - SCREEN: To be provided by the authors: Talent setting the WT target as a reference and designating Ch1 for HEX and setting NHEJ target as unknown, and designating ch1 for Fam and ch2 as none

  - In the 2D amplitude tab, set the Cluster Thresholds with the graph tools for each sample. The tail is normally associated with the WT cluster for NHEJ assays [1].

    - SCREEN: To be provided by the authors: Talent setting the cluster thresholds with the graph tool for each sample. Talent emphasizing on the tail associated with WT cluster

  - Under the Ratio tab, click on the Gear Icon from the top-right of the graph and select the Fractional Abundance to plot a point corresponding to the percentage of NHEJ events [1].

    - SCREEN: To be provided by the authors: Under the ratio tab talent clicking on the Gear icon from the top-right of the graph and selecting fractional abundance and points are plotted corresponding to the percentage of NHEJ events

## Protocol Script Questions

# Authors: Please use the step and shot numbers from the script above (not step numbers from the manuscript) when answering the questions below. Do not include steps that will be screen-captured and do not list entire sections.

- Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps (steps are indicated with the 2-digit numbers, like 2.1, 2.2, etc.).

2.2

2.4

2.5

5.3

5.4

5.5

- If a dissection or stereo microscope is required for your protocol, please list all shots that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 135. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Implications of ddPCR For NHEJ Identification and Quantification in Transgenic Anopheline Mosquitoes

  - Fifteen different pooled samples of 10 mosquitoes each contained various NHEJ alleles were analyzed and identified using the Drop-off assay, and results showed that all 15 samples carried 100% indel alleles [2].

    - LAB MEDIA: Figure 4B Video editor: Please scroll through the table and emphasize on first and last column

  - In another experiment, 11 pooled samples of wild-type mosquitoes and NHEJ mosquitoes with different NHEJ percentages were examined with this ddPCR protocol [1]. The results showed that the identified percentage was comparatively close to the Indel Detection by Amplicon Analysis technique [2].

    - LAB MEDIA: Figure 4C Video editor: Please emphasize on the red line in the graph

    - LAB MEDIA: Figure 4C Video editor: Please emphasize on the blue line in the graph

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Thai Binh Pham: (2.2,2.3,2.5): Pipette slowly to avoid bubbles and allow all the emulsified droplet to drip down the wall of the wells.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.