## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
µ-Slide VI 0.4 | ibidi | 80606 | 6-channel slide
Ammonium Chloride | Carl Roth | K298.1 | Quenching
Bovine Serum Albumin | Carl Roth | 8076.4 | Blocking
DAPI | Sigma Aldrich/ Merck | D9542 | Stain DNA/Nuclei
DPBS | PAN Biotech | P04-53500 | PBS
Duolink In Situ Detection Reagents Green | Sigma Aldrich/ Merck | DUO92014 | PLA kit containing Ligase, ligation buffer, polymerase and amplification buffer (with green labeled oligonucleotides)
Duolink In Situ PLA Probe Anti-Mouse MINUS | Sigma Aldrich/ Merck | DUO92004 | MINUS probe
Duolink In Situ PLA Probe Anti-Rabbit PLUS | Sigma Aldrich/ Merck | DUO92002 | PLUS probe
Duolink In Situ Wash Buffers, Fluorescence | Sigma Aldrich/ Merck | DUO82049 | PLA wash buffers A and B
Endothelial Cell Growth Supplement | Corning |  | supplement for medium (ECGS)
Fetal calf Serum |  |  | supplement for medium
FIJI |  |  | Image Analysis software
Formaldehyde solution 4% buffered | KLINIPATH/VWR | VWRK4186.BO1 | PFA
Full medium |  |  | M199 basal medium +20 % FCS +1 % P/S + 2 nM L-Glu + 25 µg/mL Hep + 50 µg/mL ECGS
Gelatin from porcine skin, Type A | Sigma Aldrich | G2500 | Use 0.1% in PBS for coating of flow channels
GraphPad Prism v.7 | GarphPad |  | Statistical Program used for the Plots and statistical calculations
Heparin sodium salt from porcine intestinal mucosa | Sigma Aldrich | H4784-250MG | supplement for medium (Hep)
HUVECs
ibidi Mounting Medium | ibidi | 50001 | Liquid mounting medium
ibidi Pump System | ibidi | 10902 | pneumatic pump
Leica TCS SP8 | Leica |  | confocal microscope
L-Glutamin 200mM | PAN Biotech | P04-80100 | supplement for medium (L-Glu)
Medium 199 | Sigma Aldrich | M2154 | Base medium
mouse anti- SMAD1 Antibody | Abcam | ab53745 | Suited for PLA
mouse anti- SMAD2/3 Antibody | BD Bioscience | 610843 | Not suited for PLA in combination with CST 9515
mousee anti- SMAD4 Antibody | Sanata Cruz Biotechnology | sc-7966 | Suited for PLA
Penicillin 10.000U/ml /Streptomycin 10mg/ml | PAN Biotech | P06-07100 | supplement for medium (P/S)
Perfusion Set WHITE | ibidi | 10963 | Tubings used for 1 dyn/cm2
Perfusion Set YELLOW and GREEN | ibidi | 10964 | Tubings used for 30 dyn/cm2
rabbit anti- phospho SMAD1/5 Antibody | Cell Signaling Technologies | 9516 | Suited for PLA
rabbit anti- SMAD2/3 XP Antibody | Cell Signaling Technologies | 8685 | Suited for PLA
rabbit anti- SMAD4 Antibody | Cell Signaling Technologies | 9515 | Not suited for PLA in combination with BD 610843
Serial Connector for µ-Slides | ibidi | 10830 | serial connection tubes
Triton X-100 | Carl Roth | 6683.1 | Permeabilization

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=