# Submission ID #:  62614

# Scriptwriter Name: Domnic Colvin

# Supervisor Name: Anastasia Gomez

# Project Page Link:  https://www.jove.com/account/file-uploader?src=19097318

Title: Longitudinal Follow-up of Urinary Tract Infections and Their Treatment in Mice using Bioluminescence Imaging

# Authors and Affiliations:

Noémie Luyts1, Greetje Vande Velde2, Matthias Vanneste1, Helene De Bruyn1, Annelies Janssens1, Natalie Verstraeten3, Thomas Voets1, Wouter Everaerts4

1Laboratory of Ion Channel Research (LICR), VIB-KU Leuven Center for Brain & Disease Research, Leuven, Belgium & Department of Cellular and Molecular Medicine, KU Leuven, Leuven, Belgium

2Biomedical MRI, Department of Imaging & Pathology, KU Leuven, Leuven, Belgium

3VIB-KU Leuven Center for Microbiology, Leuven, Belgium & KU Leuven Centre of Microbial and Plant Genetics, Leuven, Belgium

4Laboratory of Organ Systems, Department of Development and Regeneration, KU Leuven, Leuven, Belgium

☐   All author names and affiliations are correct.

# Corresponding Authors:

Wouter Everaerts	(wouter.everaerts@kuleuven.be)

# Email Addresses for All Authors:

# noemie.luyts@kuleuven.be

# greetje.vandevelde@kuleuven.be

# matthias.vanneste@kuleuven.be

# helene.debruyn@kuleuven.be

annelies.janssens@kuleuven.be

natalie.verstraeten@kuleuven.be

thomas.voets@kuleuven.be

wouter.everaerts@kuleuven.be

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  21

Number of Shots:  54 (13 SC)

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - All animal experiments were conducted in accordance with the European Union Community Council guidelines and were approved by the Animal Ethics Committee of KU Leuven.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Culturing Bacteria

  - Obtain single colonies by streaking out the glycerol stock of bacteria with an inoculation loop on LB (spell out) plates supplemented with kanamycin sulfate [1-TXT] and culturing overnight at 37 degree Celsius [2].

    - Talent streaking bacteria on LB plates. TEXT: LB-Luria Bertini with 50 µg/mL Km

    - Talent putting the plates in the incubator.

  - Fill a sterile 14-milliliter polystyrene round-bottom tube with dual-position snap caps with 5 milliliters of LB broth supplemented with kanamycin sulfate [1]. Pick a single bacterial colony with an inoculation loop [2] and add this to the LB broth [3]. Vortex for 10 seconds to ensure proper mixing [4].

    - Talent filling LB broth in sterile polystyrene RB tube.

    - Talent picking a single bacterial colony.

    - Talent adding the colony to the LB broth in the tube.

    - Talent vortexing the tube.

  - Culture statically with the snap cap in the open position at 37 degree Celsius overnight [1].

    - Talent incubating the tube overnight.

  - After the incubation, vortex the tube for 10 seconds to ensure proper homogenization of the bacterial culture [1]. Make a sub-culture in the Erlenmeyer by adding 25 microliters of the bacterial suspension to 25 milliliters of fresh LB medium without antibiotics [2]. Close the Erlenmeyer [3] and culture statically overnight [4].

    - Talent vortexing the culture tube.

    - Talent adding 25 µL of the bacterial suspension to fresh LB medium without antibiotics.

    - Talent closing the Erlenmeyer tube.

    - Talent incubating the tube.

  - On the day of instillation, pour the culture from the Erlenmeyer into a 50-milliliter culture tube [1] and centrifuge [2-TXT]. Decant the supernatant [3] and resuspend the bacterial pellet in 10 milliliters of sterile PBS [4].

    - Talent pouring the culture from the Erlenmeyer to culture tube.

    - Talent centrifuging the tube. TEXT: at 3,000 x g and 4 °C for 5 min

    - Talent discarding the supernatant.

    - Talent adding PBS to the pellet.

  - Vortex the tube again for 10 seconds [1]. Choose the experimental concentration of the inoculum and determine the corresponding OD (spell out) at 600 nanometers using the standard curve [2].

    - Talent vortexing the tube.

    - Talent determining the OD of the culture. TEXT: OD- optical density.

  - Add 1 milliliter of the resuspended bacterial culture into 9 milliliters of sterile PBS [1] and adjust until the desired OD 600 nanometer is reached [2].

    - Talent adding culture into PBS.

    - Talent adjusting the desired OD of the culture.

- Inoculation of the Animals

  - Mount a sterile 24-gauge angiocatheter tip on a 100-microliter syringe [1] and fill the syringe with the prepared bacterial solution [2].

    - Talent mounting the angiocatheter tip on a syringe.

    - Talent filling the syringe with bacterial solution.

  - Place one animal on a working surface in the supine position [1] and maintain a stable isoflurane anesthesia using a nose cone during the instillation [2]. Apply the eye-ointment [3].

    - Talent placing the animal on the working surface.

    - Talent placing the nose cone with isoflurane anesthesia.

  - Expel the residual urine by applying gentle compression and making circular movements on the suprapubic region [1], then clean the lower abdomen with 70% ethanol [2].

    - Talent applying gentle compression on the suprapubic region of the animal.

    - Talent cleaning the lower abdomen with ethanol.

  - Lubricate the catheter tip with normal saline [1]. Put the index finger of the non-dominant hand on the abdomen and push it gently upwards [2]. Start the catheterization of the urethra vertically in a 90-degree angle [3]. Once resistance is encountered, tilt it horizontally before inserting it further [4-TXT].

    - Talent lubricating the catheter tip with saline.

    - Talent gently pushing the abdomen of the animal upwards with the index finger.

    - Starting of the catheterization of the urethra.

    - Talent tilting the catheter horizontally before inserting. TEXT: 0.5 cm

  - Perform a slow instillation of 50 microliter of the bacterial inoculum [1-TXT]. After the instillation, keep the syringe and catheter in place for a few more seconds [2] and then slowly retract to prevent leakage [3].

    - Talent performing slow instillation of bacterial inoculum. TEXT: 5 µL/s

    - Talent keeping the syringe and catheter undisturbed.

    - Talent slowly retracting the syringe and catheter.

  - Position the animal in a supine position at the nose cone of the imaging chamber [1] and prepare it for imaging using one catheter per experimental group [2]. If necessary, administer antibiotics or experimental drugs as mentioned in the text manuscript [3].

    - Talent positioning the animal.

    - Talent preparing the animal for imaging.

    - Talent administering antibiotics to the animal.

- Bioluminescence Imaging

  - Open the BLI acquisition software [1-TXT] and click on Initialize in the imaging device to test the camera and stage controller system and to cool the CCD (spell out) camera to minus 90 degrees Celsius [2]. Click on acquisition Auto-save to [3].

    - SCREEN: Opening of the software. TEXT: BLI-Bioluminescence Imaging

    - SCREEN: Initializing the camera. TEXT: CCD-Charge-coupled device

    - SCREEN: Providing source to save data.

Authors: Please create screen capture videos of the shots labeled SCREEN and upload them to your project page: https://www.jove.com/account/file-uploader?src=19097318

  - Select Luminescence and Photograph. Check the default luminescence settings by setting the excitation filter to Block and emission filter to Open [2].

    - SCREEN: Setting the luminescence settings.

  - Set the exposure time to Auto when taking the first image. For in vivo measurements and bright signals, set the Exposure Time to around 30 seconds. Reduce the exposure time if a warming appears due to a saturated image [1].

    - SCREEN: Setting the exposure time.  Videographer: Take multiple shots of the talent sitting on the computer and clicking the mouse to be used as b-roll throughout the shot.

  - Select the medium Binning, F/stop 1 and choose the correct FOV [1-TXT]. Set the subject height to 1 centimeter when imaging mice [2].

    - SCREEN: Choosing the correct medium and FOV. TEXT: FOV-Field of view

    - SCREEN: Setting the subject height.

  - Image up to 5 mice simultaneously [1] and separate the animals using the light baffle to prevent reflection [2]. Close the door [3] and click on Acquire to start the imaging sequence. Then, fill in detailed information about the experiment [4].

    - Talent imaging 5 mice.

    - Talent separating the animals using light baffle.

    - Talent closing the door.

    - SCREEN: Starting of imaging sequence.

  - Remove mice from the imaging chamber and return them to their cage [1]. Check for full recovery after anesthesia [2-TXT], then return the cages to the ventilated racks until the next imaging cycle [3].

    - Talent returning the mice to their cage from imaging chamber.

    - Talent checking for full recovery of the mice. TEXT: Do not provide analgesia

    - Talent returning the cages to the ventilated racks.

  - Start the imaging software [1] and load the experimental file by clicking on Browse [2].

    - SCREEN: Starting the software. Videographer: Take a shot of the talent sitting on the computer and clicking the mouse.

    - SCREEN: Loading of the experimental file.

  - Use the Tool Palette to adjust the color scale of the image [1]. Use the ROI tools to draw a region of interest on the image, ensuring that it is large enough to cover the complete area and using the same dimensions for all the images [2]. Click on ROI measurement to quantify the light intensity [3].

    - SCREEN: Adjusting the color scale of image.

    - SCREEN: Using ROI tool.

    - SCREEN: Quantification of light intensity.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 134. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- The Analysis of BLI Correlation with CFU at the Time of Instillation and for Longitudinal Follow-up During Treatment

  - Subsequent images of mice obtained immediately post-instillation showed that bioluminescence was robustly detectable above 20,000 CFU (spell out) [1-TXT] and a linear correlation between the CFU of the inoculum and the bioluminescence was established [2].

    - LAB MEDIA: Figure 1A. TEXT: CFU-Colony forming unit.

    - LAB MEDIA: Figure 1B.

  - The natural evolution in the infected but untreated control group and the effect of antibiotic treatment on the infection kinetics in the treated group could be visualized in detail [1].

    - LAB MEDIA: Figure 2.

  - An immediate decrease in bacterial load, as measured by total photon flux, was seen after the first dose of enrofloxacin. None of the treated animals had a subsequent rise in bacterial load [1].

    - LAB MEDIA: Figure 2A. Video editor focus on the blue line graph.

  - The overall bacterial load for each animal was calculated using the area under the curve of the log-transformed total photon flux, showing a significant difference between animals treated with enrofloxacin and untreated animals over the time course of 10 days [1].

    - LAB MEDIA: Figure 2B.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.