# Submission ID #:  62632

# Scriptwriter Name: Madhulika Pathak

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19102808

# Title:   Single-Cell Characterization of Calcium Influx and HIV-1 Infection Using a Multiparameter Optofluidic Platform

# Authors and Affiliations:

Tracey Freeman1, Christina Andreou2, Robert P. Sebra3,4, Kristin G. Beaumont2, Talia H. Swartz1

1Department of Medicine, Division of Infectious Diseases, Icahn School of Medicine at Mount Sinai, New York, NY

2Department of Genetics and Genomic Sciences, Icahn School of Medicine at Mount Sinai, Icahn Institute of Data Science and Genomic Technology, New York, NY

3Black Family Stem Cell Institute, Department of Genetics and Genomic Sciences, Icahn School of Medicine at Mount Sinai, Icahn Institute of Data Science and Genomic Technology

New York, NY

# 4Sema4, a Mount Sinai venture, Stamford, CT

# Corresponding Authors:

Talia H. Swartz		(talia.swartz@mssm.edu)

# Email Addresses for All Authors:

tracey.freeman@mssm.edu

christina.andreou@mssm.edu

robert.sebra@mssm.edu

kristin.beaumont@mssm.edu

talia.swartz@mssm.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  NO

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  YES, done

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations?   NO

Current Protocol Length

Number of Steps:  20

Number of Shots:  26

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Talia H. Swartz: This protocol can capture real time kinetics on a single cell level. We can measure individual cells parameters in response to HIV-1 infection and associate early signaling events with delayed steps of the viral life cycle.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested b-roll: Figure 1

  - Kristin G. Beaumont: This is an integrated, scalable alternative to traditional imaging methods using a novel optofluidic platform for single-cell sorting, culturing, imaging, and software automation.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested b-roll: 3.3.1 and 3.4.1

OPTIONAL:

  - Tracey Freeman: This is the first established method for nanofluidic high-throughput longitudinal single-cell culture and imaging: This technique can be broadly adapted to study cellular signaling kinetics and dynamic molecular interactions in a variety of disease states.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested b-roll: LAB MEDIA: Figure 3 and Figure 4

  - Robert Sebra: This method could be broadly applied to single cell time-sensitive measurements. The high capacity of single cells on the chip allows for multiple simultaneous conditions and high throughput measurements.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested b-roll: 3.2.1

  - Christina Andreou: Visual demonstration of this method is important to convey how the experiment is set up, how cells are optically sorted into pens, and how to set up infusions through the chip.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested b-roll: 2.3.1 and 2.7.1

# Protocol

- Preparation of Cells for Imaging

  - To begin, prepare fresh Fluo-4 AM loading solution by adding 25 microliters of 100x concentrated detergent solvent and 2.5 microliters of 1000x Fluo-4 AM to a 1.5-milliliter tube [1], then vortex to mix [2].

    - Talent adding detergent and fluoro-4 AM to tube

    - Talent vortexing it to mix

  - Pipette 2.5 milliliters of culture media into the loading solution and invert to mix [1].

    - Talent pipetting culture media and then inverting it to mix

  - Centrifuge 2 million MT-4 cells at 500 times g for 3 minutes [1], then remove media and resuspend the pellet in 2 milliliters of the prepared Fluo-4 AM loading solution [2-TXT].

    - Talent putting cells for centrifugation

    - Talent removing the media and resuspending the pellet in solution TEXT: Protect tube from light

  - Pipette resuspended cells into a 35-millimeter Petri dish [1]. Incubate at 37 degrees Celsius for 15 to 30 minutes [2], then incubate for an additional 15 to 30 minutes at room temperature [3].

    - Talent pipetting resuspended cells in a Petri dish

    - Talent incubating the cells at 37 degrees

    - Talent incubating the cells at room temperature

  - Transfer the cell suspension to a centrifuge tube [1] and centrifuge the cells at 500 times g for 3 minutes, then remove the supernatant [2].

    - Talent transferring the cell suspension to a tube

    - Talent putting cells for centrifugation

  - Resuspend the cell pellet by pipetting in 1 milliliter of the culture medium [1] and centrifuge at 500 times g for 3 minutes to wash [2].

    - Talent resuspending the cell pellet in culture medium

    - Talent putting cells for centrifugation

  - Resuspend the cell pellet by pipetting in the culture medium at a concentration of 2 million cells per milliliter for at least 50 microliters [1-TXT].

    - Talent resuspending pellet in culture medium TEXT: Protect tube from light

- Optofluidic System Preparation, Cell Loading, and Cell Penning

  - To prepare a chip with the wetting solution, which facilitates cell penning, load centrifuge tubes containing 2 milliliters of wetting solution and 50 milliliters of deionized water onto the instrument with a new optofluidic chip [1] and run the Wet Chip function, which will flood the chip with the wetting solution [2].

    - SCREEN:  62632_Screenshot 1_2.1.1.mp4.00:00-00:05

    - SCREEN:  62632_Screenshot 1_2.1.2.mp4.00:05-00:20

  - Incubate the chip at 50 degrees Celsius and flush the chip with water 3 times [1].

    - Talent incubating the chip at 50 degrees and flushing it with water three times

  - Once water flushing is done, flush the chip with 3 cycles of 250 microliters of culture media [1].

    - Talent flushing the chip with culture media

  - Supplement the cell suspension from the previous step with 1 per 100 parts F-127 detergent solute before the loading to reduce the likelihood of cells sticking to the chip channels [1].

    - Talent supplementing the cell suspension from previous step with detergent

  - Use the instrument export needle to import cells from a 1.5-milliliter centrifuge tube with the Load operation and Small Volume Import for a 5-microliter cell package volume [1].

    - SCREEN: 62632_Screenshot 3_2.3.mp4.00:00-00:13, 01:45-02:19, 03:02-03:06 Speed it up!

  - Pen cells using an optimized optoelectronic positioning or OEP voltage of 4.3 Volts and 5 micrometers per second cage speed by using the Autopen function, which will autodetect single cells, surround them with an OEP cage, and move them into a nearby pen [1].

    - SCREEN: 62632_Screenshot 4_2.4.mp4.00:04-00:22

  - If cells of interest remain following auto-penning, use the Manual pen function to select target cells and a destination pen [1].

    - SCREEN: 62632_Screenshot 4_2.4.mp4.00:40-01:04

  - Once penning is complete, flush the chip with 3 cycles of 250 microliters of culture media to clear any remaining unpenned cells from the chip [1].

    - Talent flushing the chip with culture media

- Single-cell infection and functional imaging

  - After penning cells, obtain fluorescent images of cells in FITC (Pronounce: “fit see”), Texas Red, and DAPI (Pronounce: “da pee”), channels to measure the baseline Fluo-4, mCherry, and autofluorescence [1].

    - WIDE: Talent acquiring fluorescent images of cells

  - Infuse HIV-1 into the microchip at a concentration of 13 nanograms of HIV-1 NL-CI per 2 million cells by slowly pipetting the suspension into the chip through the export needle [1].

    - Talent infusing virus into the microchip

  - Immediately after HIV-1 addition, repeatedly obtain images in the FITC (Pronounce: “fit see”) and DAPI (Pronounce: “da pee”) channels over a 10-minute time course [1].

    - SCREEN: 62632_Screenshot 5_3.3_.mp4.02:04-02:75 Speed it up!

  - Obtain images in the Texas Red and DAPI channels at 1-, 2-, 3-, and 4-days post-infection [1].

    - WIDE: Talent acquiring fluorescent images at the microscope

# Results

- Results: Single-Cell Characterization of Calcium Influx and HIV-1 Infection

  - This methodology was used for the identification and clustering of HIV infected and uninfected cells via mCherry measurement. Cells with a change in mCherry signal greater or lower than 40 thousand mean fluorescent intensity were clustered into the mCherry-high or mCherry-low population, respectively [1].

    - LAB MEDIA: Figure 2

  - These clusters were analyzed for calcium influx kinetics by measuring intracellular calcium using Fluo-4 fluorescence repeatedly over a 9-minute time course [1], which demonstrated early calcium influx in HIV-infected cells [2].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video Editor: Emphasize the red circles

  - A significant positive correlation between calcium influx and mCherry fluorescence was observed [1].

    - LAB MEDIA: Figure 4

# Conclusion

- Conclusion Interview Statements

  - Tracey Freeman: While attempting this procedure, it’s important to remember to start with cells within the exponential growth range for both virus production and infection, because overgrown cells will result in dramatic decrease in signal from this assay.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested b-roll: 2.4.1

  - Christina Andreou: Working with HIV-1 can be hazardous. Therefore, BSL-2 practices as indicated in the OSHA Bloodborne Pathogen Standard should always be taken while performing this procedure.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Kristin Beaumont: This technique is exciting because it will allow us to study single cell phenotypic or transcriptional changes under controlled conditions. This has broad potential for correlating the impact of stimuli on molecular pathways in many cell types.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested b-roll: 4.1.2.