|  |  | 62648_Screenshot_1 |
| --- | --- | --- |
| 2.4.3 | Microfluidics software being opened, the mode being set to manual, default fluid option being selected, and shear pressure being set. | 00:05-00:42 |
| 2.5.1 | Columns being activated and Run being pressed. | 00:43-00:50 |
|  |  | 62648_Screenshot_2 |
| 3.1.4 | Default fluid option being selected and shear pressure being set. | 00:50-1:05 |
|  |  | 62648_Screenshot_1 |
| 3.3.2 | Fluid option and shear pressure being set, and columns being activated. | 1:41-2:21 |
|  |  | 62648_Screenshot_3 |
| 4.1.3 | Channel filling half of the image height and the left end of the channel being located. | 0:16-0:40 |
| 4.2.1 | Image being captured and width and height being measured. (Video editor: please highlight width and height in ROI properties box) | 0:41-1:12 |
| 4.3.1 | DAPI fluorescent channel being selected, and focus being adjusted and locked. | 7:22-7:34 |
| 4.3.2 | Fluorescent intensity is set to 1.5% and Camera exposure being adjusted. (Video editor, please highlight Spectra pad 395 nm at 1.5%, and highlight Zyla settings box) | 7:34 |
| 4.4.1 | Software opened and images being collected. Video editor, please highlight image positions (columns named Point name, X[mm], Y[mm]) Video editor, please highlight Relative XY checkbox in ND Acquisition panel. | 7:38-8:05 |
| 4.6.1 | The auto step function being performed, and the view moved down to inlet well 3 | 8:07-8:25 |
| 4.7.1 | 12 files collected in Window panel | 8:25-8:58 |
| 4.7.2 | Documents being merged in a single file. | 11:09-11:41 |
| 4.8.1 | Binary and threshold being selected, and yeast is separated from the background. | 11:41-12:05 |
| 4.9.1 | Measure, perform measurement, and all frames being selected and the threshold area being measured | 12:06-12:53 |
| 4.9.2 | Analysis control and automated measurement results being selected, data being opened and exported | 12:54-13:48 |