# Submission ID #: 62649

# Scriptwriter Name: Swati Madhu

# Project Page Link:  https://www.jove.com/account/file-uploader?src=19107993

Title: Anterior Segment Organ Culture Platform for Tracking Open Globe Injuries and Therapeutic Performance

# Authors and Affiliations:

Emily N. Boice1, Eric J. Snider1,2

1Department of Sensory Trauma, United States Army Institute of Surgical Research

2Engineering Processes and Product Development Group, United States Army Institute of Surgical Research

# Corresponding Authors:

Emily N. Boice		emily.n.boice.ctr@mail.mil

# Email Addresses for All Authors:

emily.n.boice.ctr@mail.mil

eric.j.snider3.civ@mail.mil

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  YES

If Yes, can you record movies/images using your own microscope camera?

NO

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit. If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Precision Stereo Zoom Binocular Microscope (III) on Boom Stand

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  NO

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   NO

Current Protocol Length

Number of Steps:  18

Number of Shots:  47

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Open globe injuries can lead to permanent loss of vision if left untreated. This anterior segment organ culture model allows assessment of these injuries within the need for animal testing.

    - 3.1.1.

  - This protocol allows tracking open globe injuries and therapeutics to stabilize the injury for 3 or more days with an organ culture platform.

    - 4.2.2.

# Introduction of Demonstrator on Camera

# Note for VO: Please record introduction of demonstrator on Camera.

  - Demonstrating the procedure will be Trent Pearson, a research technician from Dr. Boise’s laboratory.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from the workbench or desk, or microscope and acknowledges the camera.

# Protocol

- Dissection Setup

  - To begin with, lay the surgical drape and the instruments required for the gross dissection [1]. Set up the biosafety cabinet for visualizing the eyes on the dissecting microscope [2].

    - WIDE: Talent placing the surgical blade and dissection instruments on the dissection workplace.

    - Talent setting the cabinet for visualizing eyes on the dissecting microscope.

  - Set up the biosafety cabinet for dish assembly [1]. Set up the open globe injury induction workspace inside the biosafety cabinet [2].

    - Talent setting the hood for dish assembly.

    - Talent setting the open globe injury induction workspace.

  - Position the cross-tracking vise on the lab jack in front of the puncture platform [1].

    - Talent positioning the cross-tracking vise on the lab jack.

- Tissue Dissection

  - After removing the extra-orbital tissues and washing the eyes with antibiotic-antimycotic PBS, to hemisect the eye, place the eye on the antibiotic-antimycotic PBS-soaked gauze [1].

    - Talent placing the eyes on the wet gauze.

  - Use a sterile razor blade or scalpel to create an incision near the equator of the eye [1-TXT]. Then, hemisect the eye using curved surgical scissors to isolate the anterior eye [2]. Use micro-scissors as a shovel to scoop the vitreous humor from the anterior segment [3] and remove the lens from the anterior segment with micro-scissors [4]. Videographer: This step is important!

    - Talent making an incision near the equator of the eye. TEXT: Equator: 60/40 split with 40 on the anterior side

    - Talent cutting the eye in half using curved surgical scissors.

    - Talent removing the vitreous humor.

    - SCOPE: The lens being removed.

  - Gradually cut the iris to the iris root radially until the trabecular meshwork is visible [1]. Extend the cut 360 degrees around the iris [2] to expose the entire trabecular meshwork region and clean up any remaining residual iris covering the trabecular meshwork if necessary [3]. Videographer: This step is important!

    - SCOPE: Talent cutting the iris.

    - SCOPE: Talent extending the cut around the iris.

    - SCOPE: Exposed trabecular meshwork region.

  - Trim the ciliary body remnants posterior to the trabecular meshwork region, leaving only a 1-millimeter thin band of the tissue [1].

    - SCOPE: Talent trimming the ciliary body remnants posterior to the TM region.

- Anterior Segments Setup in Organ Culture Dishes

  - After placing the anterior segment in the Petri dish, wet a cotton swab in the media and gently dab in the center of the cornea to remove any pigment [1]. Hold the eyes with forceps [2] and remove extra pigment around the sclera by wiping [3].

    - Talent dabbing the center of the cornea.

    - Talent holding the eyes with forceps.

    - Talent wiping the sclera.

  - Place the inverted anterior segment over the elevated region of the bottom dish, ensuring that the cornea remains in the center of the elevated region [1].  Position the clamping ring on top of the newly placed anterior segment [2] and gently tighten the screws with the L-key [3]. Videographer: This step is important!

    - Talent placing the inverted anterior segment over the elevated region.

    - Talent placing the clamping ring on top of the anterior segment.

    - Talent tightening the screws.

  - Attach both the fluidic connectors with O-rings to threaded ports on the bottom of the dish [1]. To the first fluidic connector, attach 18-gauge 90 degrees bent needle hub, a length of tubing, an 18-gauge needle hub, a nylon syringe filter, a three-way valve, and a 20-milliliter syringe filled with media [2].

    - Talent attaching both fluidic connectors with O-rings to two threaded ports on the bottom of the dish.

    - Talent setting up the fluid connector by attaching the requirements.

  - To the second fluidic connector, attach 18-gauge 90 degrees bent needle hub, a length of tubing, an 18-gauge needle hub, a three-way valve as demonstrated for the first fluid connector [1], and then attach the barrel portion of a sterile 10-milliliter syringe, which will act as a reservoir to catch the liquid and bubbles [2].

    - Talent attaching a needle hub to the second fluidic connector and same tubing, needle hub, 3-way valve.

    - Talent attaching the barrel portion of a sterile 10 mL syringe to the three-way valve.

  - Keeping the three-way valves open appropriately to the syringes, gently push the media through the system using the first fluidics connector port [1] to inflate the anterior segment [2], fill the tubing with media, and eventually the reservoir [3]. Videographer: This step is important!

    - Talent pushing the plunger.

    - The anterior segment being inflated.

    - Media entering the tubes and reservoir.

  - Remove the bubbles by gently pushing the media into the dish [1] and invert the dish to push out the bubbles [2].

    - Talent pushing the media into the dish.

    - Talent inverting the dish.

- Starting Anterior Segment Organ Culture

  - Place the anterior segment organ culture dish into the cell culture incubator [1-TXT]. Direct the tubing lines out through the bottom of the incubator door to prevent interference with the door opening and closing [2].

    - Talent placing the plate in the incubator. TEXT: Incubation: 37 °C, 5% CO2

    - Talent bringing the tubing lines out through the bottom of the incubator door.

  - Position the tubing lines with the reservoir at the pressure transducer instrument [1]. Connect the side 3-way valve to the pressure transducer setup while PBS flows through the line to avoid the air bubbles from entering the tubing lines [2]. Videographer: This step is important!

    - Talent positioning the tubing line with the reservoir at the pressure transducer instrument.

    - Talent connecting the side 3-way valve to the pressure transducer setup.

- Open Globe Injury Induction

  - Inside the prepared biosafety cabinet for the open injury induction, set the pressure regulator on the puncture platform to 50 Pound-force per square inch for generating adequate puncture force on the objects of up to 4.5 millimeters in diameter [1]. Position the cross-tracking vise on the lab jack in front of the puncture platform [2].

    - Talent adjusting the pressure.

    - Talent positioning the cross-tracking vise on the lab jack.

  - Extend the piston arm to its maximal distance [1] and position the corneal apex within the 1-millimeter region of the puncturing object [2]. Retract the piston arm [3] and bring the anterior segment 1 centimeter closer to the puncturing object [4].

    - Talent extending the piston arm to its maximal distance.

    - Talent positioning the corneal apex within a 1 mm region of the puncturing object.

    - Talent retracting the piston arm.

    - Talent bringing the anterior segment 1 cm closer to the puncturing object.

  - To fire the puncture device, turn on the device [1] and open the solenoid valve with the second switch on the device [2]. To retract the device from the eye, press the second switch [3]. Verify proper injury induction by visual inspection and media leaking from the injury site [4]. Videographer: This step is important!

    - Talent turning on the device.

    - The solenoid valve opening.

    - Talent pressing the second switch on the device.

    - Media flowing through the punctured cornea.

# Results

- Results: Corneal Integrity and Intraocular Pressure Assessment after Open Globe Injury

  - After the surgery, the corneal epithelium integrity was assessed via imaging using optical coherence tomography [1]. The injured anterior segment tissue was imaged immediately after injury [2] and 72 hours post-injury [3].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video editor: Please emphasize the 0 hours image columns.

    - LAB MEDIA: Figure 3 Video editor: Please emphasize the 72 hours image columns.

  - The control eyes show no noticeable disruption in the cornea [1], while clear injuries were located through the cornea after the injury [2]. From the top-down maximum intensity projection, it was evident that injuries were irregular in shape and size, but the injury size was decreased over 72 hours [3].

    - LAB MEDIA: Figure 3 Video editor: Please emphasize the control image raw.

    - LAB MEDIA: Figure 3 Video editor: Please emphasize the OG Injured image raw.

    - LAB MEDIA: Figure 3 Video editor: Please emphasize the third image from the left in the OG Injured image raw at 0 hours.

    - LAB MEDIA: Figure 3 Video editor: Please emphasize the second and fourth image from the left in the OG Injured image raw at 72 hours.

  - The intraocular pressure was observed for the first 3 days before the surgery to determine pressure stability in the acceptable range [1]. In the representative results, 3 out of 5 eyes fall within the acceptable intraocular pressure range [2].

    - LAB MEDIA: Figure 4A

    - LAB MEDIA: Figure 4A Video editor: Please emphasize the highlighted yellow region on the plot

  - The intraocular pressure changes due to the open globe injury and therapeutic intervention [1]. After the open globe injury induction, the pressure significantly decreased and remained low until the experiment was complete [2].

    - LAB MEDIA: Figure 4C and 4D

    - LAB MEDIA: Figure 4C Video editor: Please emphasize the gray lines corresponding to small, medium, and large in the graph.

  - Treatment of the injured tissues with Dermabond adhesive [1] resulted in an increased intraocular pressure [2] compared to untreated tissue, which indicates that this method can be used to measure the efficacy of the therapeutics for restoring the intraocular pressure [3].

    - LAB MEDIA: Figure 4D

    - LAB MEDIA: Figure 4D Video editor: Please emphasize the pink line in the graph.

    - LAB MEDIA: Figure 4D Video editor: Please emphasize the black line in the graph.

# Conclusion

- Conclusion Interview Statements

  - The initial setup of the segment in organ culture is critical for the long-term stability of the tissue. Over-tightening the ring can cause stress on the tissue and reduce compliance.

    - 4.2.3