Response to Reviewers:

We would like to thank the reviewers for their positive comments and constructive criticisms on our manuscript. We have addressed the concerns raised in a point-by-point format detailed below. Changes have been tracked in the manuscript.

Reviewer #1

The manuscript gives detailed protocol on electron microscopy procedure necessary to replicate the protocol. However, there are few concerns that are required to be addressed, to make the manuscript one of the strong candidate in the field. Please see specific comments below.

1. The study on SEM should be complemented with TEM to show internalized and internalizing macropinosomes.

In response to the reviewer’s comment, we included confocal images demonstrating macropinosome formation following PMA treatment. Macropinosomes were labeled with FM 4-64 (plasma membrane marker, green). Images show internalized extracellular solutes (Texas red-dextran, red) in macropinosomes. Please see Figure 4.

2. Figure 2 show only a few macropinosomes. Usually cells exhibit multiple macropinosomes on surface, for example:

a. BioFactors, 43(2):181-186, (2017). Please add a discussion on macropinosome numbers per cell.

We assume the reviewer meant membrane ruffles in his/her comment. Macropinosomes are internalized membrane-derived vesicles and are not present on the cell surface. The number of membrane ruffles per cell is highly variable and depends on numerous factors including the stimulant, its concentration, incubation time and cell type. Furthermore, in macropinocytosis experiments, representative images are often chosen to show multiple membrane ruffles. In our experiments, we found multiple cells with numerous membrane ruffles after stimulating the cells with MCSF (100 ng·mL−1) or PMA (1 μM) for 30 minutes. However, we chose representative images in Figure 2 that better represent our quantified data. The discussion was modified to describe quantification of membrane ruffles in more details.

3. A fluorescent dextran-40kDa uptake assay should be done to support SEM studies.

We have performed FITC-dextran uptake experiments using RAW 264.7 macrophages and added the graphical results to the manuscript. Cells were pretreated with PMA ± EIPA for 30 minutes and incubated with FITC-dextran for 2 hours. Flow cytometry analysis showed increased FITC-dextran uptake following PMA stimulation and inhibition of uptake with EIPA treatment (Fig. 5). These results support our SEM experiments and confirm stimulation of macrophage macropinocytosis following incubation with PMA.

Reviewer #2:

The manuscript titled "Quantification of membrane ruffle formation using Scanning Electron Microscopy" - JoVE62658 - describes a straightforward method to analyze membrane ruffle formation in RAw264.7 cells. The manuscript is well written and prepared. The protocol is very well described. The representative results properly addresses the usefulness of the proposed method. The author cites in their discussion a comparison with the current methods to evaluate membrane ruffle Justin confocal microscopy. The results are equivalent. A surplus would be if the authors could supply a macro for automated quantification of membrane ruffle (both number and area) from SEM images, as already available for confocal microscopy images (10.21769/BioProtoc.3494). This is not something that would imply in a major revision, but it would be a high desirable output of the work.

We agree with the reviewer that describing a macro for automated quantification of membrane ruffles would be very useful. However, we feel that identifying membrane ruffles should be performed manually on a cell-by-cell basis. This is because differences in ruffle orientations on the cell surface, ruffle size, and their developmental stage as well as distinguishing membrane ruffles from non-macropinocytic membrane protrusions would make it difficult to define the specific criteria needed to identify macropinocytic ruffles using a macro. We also feel that the reliability and reproducibility of such macro must be tested extensively before its description can be included in a research article.

Minor points:

-In section SEM fixation, please replace "X 2 times", for instance, by "(2 times)". I think it is more easily comprehensible.

-In step 3 of section 1 (Cell line and cell culture), please specify the minimum cell viability, as measured by trypan blue staining.

I assume that these are little suggestions that did not affect my suggestion to accept the manuscript.

Thank you for these suggestions!  We show “2 times” in section 2 (SEM fixation) and specified recommended cell viability in section 1 (Cell line and cell culture).