  - 62660_screenshot_1

2.3.2. Opening the stress and tensile testing instrument control software. 00:00-00:05

2.4.2. Clicking on Create a new method | System label. 00:11-00:21

2.4.3. Setting Test Mode to Cycle. 00:24-00:28

2.4.4. Setting Test Type to Compression. 00:29-00:34

2.5.1. Clicking on the Sensor label. 00:36-00:38

2.5.2. Selecting the Test tab. 00:38-00:46

2.5.3. Selecting the Stroke tab. 00:47-00:55

  - 62660_screenshot_2

2.6.1. Selecting Origin of growth under the Testing control label. 00:10-00:17

2.6.2. Setting the Stroke speed in control in the 1st and 3rd sections. 00:18-00:26

2.6.3. Setting the Maximum testing force in the 2nd  section. 00:27-00:35

2.6.4. Setting the Minimum testing force in the 4th  section. 00:35-00:42

2.7.1. Setting the Duration of hold for the peak load. 00:44-00:49

2.7.2. Setting the Duration of hold for the minimum load. 00:49-00:55

2.8.1. Checking the parameters under the Pre-load tab. 00:56-01:14

2.8.2. Setting the Material as Metal. 01:18-01:26

62660_screenshot_3

2.9.1. Selecting the method and clicking Start. 00:03-00:28

2.3.3. Clicking on the Calibration button. 00:30-00:45