# Submission ID #: 62660

# Scriptwriter Name: Gaurav Vaidya

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19111348

# Title: A Non-invasive Method for Generating the Cyclic Loading-induced Intra-articular Cartilage Lesion Model of the Rat Knee

# Authors and Affiliations:

Xiang Ji1, Akihiro Nakahata2, Zixi Zhao2, Hiroshi Kuroki2, Tomoki Aoyama1, Akira Ito2

1Department of Development and Rehabilitation of Motor Function, Human Health Sciences, Graduate School of Medicine, Kyoto University

2Department of Motor Function Analysis, Human Health Sciences, Graduate School of Medicine, Kyoto University

# Corresponding Authors:

Akira Ito	(ito.akira.4m@kyoto-u.ac.jp)

# Email Addresses for All Authors:

gochickenjp@gmail.com

kiyoshi0320@pt-aki.asia

zhaozixi2020@yahoo.co.jp

kuroki.hiroshi.6s@kyoto-u.ac.jp

aoyama.tomoki.4e@kyoto-u.ac.jp

ito.akira.4m@kyoto-u.ac.jp

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  10

Number of Shots:  27

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Xiang Ji: This protocol shows that it is possible to cause caryilage damage in animals larger than a mouse, without any surgical intervention or structural destruction of the animal knee.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: 2.1.2.

  - Zixi Zhao: The biggest advantage is that the method proves to be repetitive in operators even with no experience, which is difficult to achieve with any surgical method.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card

  - Procedures involving animal subjects have been approved by Animal Research Committee at Kyoto University.

# Protocol

- Perform In Vivo Cyclic Compression on the Rat Knee

  - Begin by mounting the anesthetized rat on the fixation device [1-TXT]. Place the anesthetized rat lying on its belly on the baseplate with its right knee attached to a small piece of resin with a concave groove [2]. Videographer: This step is important!

    - WIDE: Establishing shot of the talent at the workbench with the fixation device. TEXT: Inhalation of 5% isoflurane and injection of 2 mg/kg of medetomidine, midazolam, and butorphanol

    - Talent placing the rat on the baseplate.

  - Place the right hind limb in the hip extension, knee flexion, and ankle extension positions, with the knee flexed at approximately 140 degrees [1]. Accommodate the heel of the rat on the wedge-shaped groove on the movable fixture [2].

    - Talent placing the rat's right hind limb in the hip extension, knee flexion, and ankle extension positions.

    - Talent accommodating the heel of the rat on the wedge-shaped groove.

  - Move the fixation device to the stress and tensile testing instrument and ensure that there is no contact with the load cell [1]. Open the stress and tensile testing instrument control software [2] and click on the Calibration button [3]. After calibration, carefully attach the top of the frame to the load cell [4].

    - Talent moving the fixation device. Videographer: This step is important!

    - SCREEN: 62660_screenshot_1.avi. 00:02 – 00:07.

    - SCREEN: 62660_screenshot_3.avi. 00:34 – 00:43. Video editor: Speed up the video from 00:39 – 00:43.

    - Talent attaching the top of the frame to the load cell.

  - Turn on the rotary knob on the movable main operational panel slowly until the pre-load reaches 5 newtons to keep the knee joint closely attached to the frame [1]. On the Main menu, click on Create a new method and System label [2]. Set the Test Mode to Cycle [3] and the Test Type to Compression [4].

    - Talent turning on the rotary knob.

    - SCREEN: 62660_screenshot_1.avi. 00:13 -00:15, 00:19 – 00:21.

    - SCREEN: 62660_screenshot_1.avi. 00:24 - 00:28.

    - SCREEN: 62660_screenshot_1.avi. 00:29 – 00:32.

  - Click on the Sensor label [1] and select the Test tab to check that the limit is within 60 newtons [2]. Then, select the Stroke tab and check that the limit is within 500 millimeters [3].

    - SCREEN: 62660_screenshot_1.avi. 00:36 – 00:38.

    - SCREEN: 62660_screenshot_1.avi. 00:39 – 00:46.

    - SCREEN: 62660_screenshot_1.avi. 00:47 – 00:53.

  - Under the Testing control label, select Origin of growth to start the main program with 0.3% or full scale [1]. Set the Stroke speed in control in the 1st and 3rd sections to 1 millimeter per second [2]. Then, set the Maximum testing force in the 2nd section to 20 newtons [3] and the Minimum testing force in the 4th section to 5 newtons [4]. Videographer: This step is important!

    - SCREEN: 62660_screenshot_2.avi. 00:08 – 00:10, 00:14 – 00:17.

    - SCREEN: 62660_screenshot_2.avi. 00:20 – 00:26.

    - SCREEN: 62660_screenshot_2.avi. 00:29 – 00:34.

    - SCREEN: 62660_screenshot_2.avi. 00:36 – 00:40.

  - Set the Duration of hold to 0.5 seconds for the peak load [1] and 10 seconds for the minimum load [2].

    - SCREEN: 62660_screenshot_2.avi. 00:45 – 00:49.

    - SCREEN: 62660_screenshot_2.avi. 00:50 – 00:54.

  - In the Pre-load tab at the bottom of the page, ensure that On is checked, the Speed of deflection removal is set to 100 millimeters per minute, and the maximum force is 5 newtons [1]. Set the Material as Metal in the Specimen label [2].

    - SCREEN: 62660_screenshot_2.avi. 00:58 – 01:11.

    - SCREEN: 62660_screenshot_2.avi. 01:18 – 01:23.

  - In the Main menu, under the Select method and test section, select the method that was just built, and click on Start to begin the test [1]. Set the number of cycles to 60 [2].

    - SCREEN: 62660_screenshot_3.avi. 00:02 – 00:04, 00:09 – 00:12, 00:26 – 00:28

    - SCREEN: Setting the cycles to 60.

AUTHORS: Will you provide a screen capture video for 2.9.2. or should it be skipped it?

  - Return the rat to its cage after loading [1] and maintain a 12-12-hour light-dark schedule in a cage with sufficient space and food ad libitum until it is time for analysis [2-TXT].

    - Talent placing the rat back in its cage.

    - A shot of the rat in the cage. TEXT: 1 hour to 8 weeks

# Results

- Results: Cyclic Loading-induced Intra-articular Cartilage Lesion Model of the Rat Knee

  - The short-term changes in chondrocyte viability in samples subjected to 20 newtons of cyclic loading were studied [1]. The number of dead chondrocytes increased at 12 hours post-trauma [2]. Conversely, the number of living chondrocytes continued to decrease [3].

    - LAB MEDIA: Figure 3.

    - LAB MEDIA: Figure 3. Video Editor: Emphasize the red fluorescent cells.

    - LAB MEDIA: Figure 3. Video Editor: Emphasize the green fluorescent cells.

  - The articular cartilage of the rat knees that underwent 20 newtons of dynamic loading was damaged, and one focal lesion zone was confirmed in the lateral femoral condyle in all the samples [1]. The lesion size did not progressively increase during the 8-week observational period [2].

    - LAB MEDIA: Figure 4. Video Editor: Show only the ‘2w’ image and emphasize the black arrow.

    - LAB MEDIA: Figure 4. Video Editor: Show only the ‘4w’ and ‘8w’ images and emphasize the black arrows.

  - The border corresponding to the interface of the lesion and the unaffected cartilage could be observed in the affected area [1].

    - LAB MEDIA: Figure 4. Video Editor: Show only the ‘8w’ image and emphasize the black arrow.

# Conclusion

- Conclusion Interview Statements

  - Xiang Ji: The most important thing is the proper settings of the testing force and the number of cycles.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested b-roll: 2.6.2, 2.6.3.

  - Akira Ito: With this technique, one can control mechanical loading to the articular cartilage of rat, paving the way to explore how mechanical loading affects the development or prevention of osteoarthritis.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.