Editorial Comment 1: Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

• Updated. • The authors would like to thank the editor for the feedback and comments.

Editorial Comment 2: Please provide an email address for each author.

• Alexander Dhaliwal, Juan Chen, and Paul S. Sheeran were added as a co-authors. • The email addresses for each author are on Lines 5 to 7.

Editorial Comment 3: Please ensure that the long Abstract is within 150-300-word limit and clearly states the goal of the protocol.

• The abstract has been rewritten to state the goals of the protocol and it still between 150 to 300 words.

Editorial Comment 4: JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents. For example: Definity, etc.

• Commercial names were updated: "Parafilm" to "wax film", "Definity" to "perflutren lipid microspheres", "VialMix" to "mechanical agitator". • Definity (perflutren lipid microspheres) is not a material or reagent needed for the protocols. The entire protocol can be completed without it. It is only mentioned to make comparisons to the microbubbles and droplets made in the protocol. That's why it was not listed in the Table of Materials and Reagents.

Editorial Comment 5: Please define all abbreviation during the first-time use.

• Updated.

Editorial Comment 6: Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a “Note.”

• Updated.

Editorial Comment 7: Please add more details to your protocol steps. Please ensure you answer the “how” question, i.e., how is the step performed?

• The authors would like to thank the editor for the suggestions. The protocol steps have been elaborated upon in order to more clearly address how each step is performed.

Editorial Comment 8: 2.1 How do you synthesize pyro-SPC?

• The complete synthesis of Pyro-SPC has now been added in the Supplementary Information "Other Protocols and Data".

Editorial Comment 9: 4.1 what excipient is used in your case?

• Now on Step 1.1 (Lines 124 to 125) and Step 2.3 (Lines 224 to 225). The steps were rewritten to illustrate this more clearly, including how the excipient was prepared from standard materials.

Editorial Comment 10 & 11: There is a 10-page limit for the Protocol, but there is a 3-page limit for filmable content. Please highlight 3 pages or less of the Protocol (including headings and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol. Parts of the supplemental protocol which shows how to perform a particular step should be included in the main text. Some of the highlighted steps have reference to the supplemental protocol. We can only film the main text.

• Parts of the Protocol have been reshuffled and different parts have been highlighted so the essential steps for the video are now in the main manuscript.

Editorial Comment 12: Please ensure the results are described in the context of the presented technique e.g., e.g., how do these results show the technique, suggestions about how to analyze the outcome, etc. The paragraph text should refer to all of the figures. Data from both successful and sub-optimal experiments can be included.

• Figures 1, 2, and 3 are more visuals aid to help readers follow along the protocol rather than just highlight results. However, we expanded the first paragraph of the Discussion to put Figures 1, 2, and 3 into context with the techniques. • For Figures 4 to 7, the context regarding the data was expanded upon in the Discussion.

Editorial Comment 13: Please obtain explicit copyright permission to reuse any figures from a previous publication. Explicit permission can be expressed in the form of a letter from the editor or a link to the editorial policy that allows re-prints. Please upload this information as a .doc or .docx file to your Editorial Manager account. The Figure must be cited appropriately in the Figure Legend, i.e. “This figure has been modified from [citation].”

• The authors made all the figures in the manuscript and Supplementary Information. None of the figures, including the ones in the Supplementary Information, have been previously published.

Editorial Comment 14: As we are a methods journal, please ensure that the Discussion explicitly cover the following in detail in 3-6 paragraphs with citations: a) Critical steps within the protocol b) Any modifications and troubleshooting of the technique c) Any limitations of the technique d) The significance with respect to existing methods e) Any future applications of the technique

• The Discussion was expanded and parts were rewritten. Disadvantages and limitations of the method regarding increased size and decreased concentration were added (now Lines 656 to 666). • An explanation of a potential bio-distribution tests was also added in the Discussion (now Lines 745 to 755). • The potential applications were expanded (now Lines 671 to 674, Lines 773 to 782)

Reviewer 1 Summary: This manuscript documents the protocol of producing pyropheoprobide loaded phase-change lipid stabilized decafluorobutane nanodroplets through condensation of mechanically agitated microbubbles. The authors also document microbubble/nanodroplet characterization using DLC, Coulter Counter, UV-Vis spectroscopy, Fluorescence spectroscopy, and acoustic vaporization using a 21 MHz linear array transducer. DLS and Coulter Counter results indicate that the authors produced nanometer scale droplets that may be distinct from microbubble precursors. The authors demonstrated that pyropheoprobide was incorporated in the nanodroplet shell through UV-vis and fluorescence spectroscopy when analyzed under a Triton-X100 solution. Comparison of B-mode ultrasound images at increasing pressures may indicate acoustic droplet vaporization. STRENGTHS: Reporting of acoustically activated phase-change droplets with pyropheoprobide loading and without pressurization during the condensation step as well as activating the droplets using an imaging transducer has not been documented. The described protocol is novel. The author took care in describing safety considerations. The authors demonstrated their experience in working with pyropheoprobide.

• The authors would like to thank the reviewer for the feedback and comments.

Reviewer 1, Major Weakness 1a: The authors do not explain the motivation in performing their characterization experiments in sufficient detail. Since the host journal is intended for knowledge transfer it is key that the reader understand why they are performing these experiments. Specific excerpts are listed: Lines 471 and 472: What do the authors mean by "checking agent assembly"? Is this to confirm that Pyro-SPC is incorporated into the lipid shell? The function of TritonX-100 may need to be described in more detail. Line 495: What is the purpose of this experiment? Should the reader expect the fluorescent spectrum to change if TritonX-100 was added to the solution? Was this step also taken to confirm that Pyro-SPC was incorporated into the lipid shell? Was Triton used to simulate sonoporation to show that the droplets were multimodal? If so, why not use ultrasound for popping the droplets.

• Yes, by checking the UV-Vis and fluorescence signatures in PBS (intact assemblies) and in Triton (disrupted), we can check if the Pyro-SPC formed assemblies by comparing the signals between the two diluents (now Lines 673 to 771). The statement "check the agent assembly" was removed. • Additionally, Triton's UV-Vis optical absorbance and fluorescence bands do not overlap with Pyro's. Additionally, for potential bio-distribution, a detergent/surfactant like Triton may also be used to decelluarize tissue before optical measurements. Thus, Triton was chosen. Parts of the Discussion were rewritten to provide details for the purpose of Triton (now Lines 755 to 757, Lines 766 to 771). • The 390 nm excitation fluorescence data was removed as we felt it was redundant to the 410 nm excitation data (now Figure 6). • Triton was not used to simulate sonoporation.

Reviewer 1, Major Weakness 1b: Line 531 to 532: Why was an imaging transducer chosen for this application?

• To demonstrate that the droplets made in the protocols can be converted into microbubbles, an imaging transducer was chosen to visually confirm that non-echogenic droplet could indeed be converted echogenic microbubbles. For simplicity, this transducer chosen to both vaporize and image. Step 6 and the Discussion (now Lines 784 to 805) was updated to reflect this.

Reviewer 1, Major Weakness 1c: Line 550: Does DLS have any inherent advantages to Coulter Counting? If DLS cannot report concentration, why include the data at all? What is the motivation behind using intensity or number weighted DLS results? What conclusions can be reached given the differences between DLSi and DLSn peaks?

• As the 10 µm aperture on the Coulter counter could not detect particles below 200 nm, we used the DLS to sort of make up for the Coulter counter's limitation. • DLS data was removed from the main text and added to the Supplementary Information "Other protocols and data" instead.

Reviewer 1, Major Weakness 2a: The experiment design that was presented leave large room for unanswered questions if repeated by the reader for separate experiment. The present concern is that readers may encounter questions from reviewers regarding due diligence if the present protocol design is replicated for future publications. Specific sections are listed: Line 667: What does the author mean by large diameter microbubbles? Is this referring to the foam or general bubbles above a specific size range?

• The "large diameter" statement was rewritten, now stating upper bound cut-off (now Lines 725 to 727).

Reviewer 1, Major Weakness 2b: Lines 668 to 669: What is the method of destruction associated with centrifugation and is this mechanism specific to pyro-incorporated microbubbles? Mechanical methods of bubble creation do not have 100% yield in terms of lipid input. Excipient filled multilamellar vesicles or liposomes can be formed as waste which do not participate in echo generation or condensation. This waste may not be distinguishable from nanometer scale bubbles using the characterization methods presented. Size selection via centrifugation also serves to remove lipid stabilized particles that are not bubbles and it should be noted that "washing" out non-bubbles components by centrifugation is often repeated within studies involving conjugation/loading in literature. If the intent of plotting bubbles with droplet results on Figure 3 was to demonstrate that condensation did occur, then it is suggested that a centrifuge size selected population of larger size (e.g. 2 µm lower bound, 4 µm upper bound) be prepared for condensation. It is evident that acoustic activation may have occurred when referencing Figure 6, but Figure 3 can be made to be more convincing. It is not known how non-droplet/bubble sub-micrometer lipid stabilized particles contribute to the presented population distribution in the Figure 3 in the presented work. Lines 561 to 584: Given that the waste material has not been removed, it is difficult to attribute these results directly to the droplets. Line 685 to 695: Cannot make conclusions directly attributing Pyro-SPC effects to bilayer disruption of droplets given lack of lower bound in bubble size selection for waste.

• These are good points. Post-agitation, non-bubble structures such as micelles, liposomes and, multilamellar vesicles are present. • However, a major priority for these droplets was to have a small diameter to provide better passive accumulation in-vivo compared to microbubbles. We wanted to conserve as many microbubbles as possible even if it meant it included micelles, liposomes, and multilamellar vesicles, so we did not spin and wash the bubbles. • We performed a spinning down and washing17,19 test on 30% Pyro bubbles to get a peak bubble diameter of about 2 µm. These bubbles resulted in droplets with a peak diameter of about 700 nm post-condensation. For the applications we were aiming for (multi-modal droplets capable of passive accumulation), 700 nm is too large4. We have included this test in the Supplementary Information "Other Protocols and Data". • We expanded the Discussion to address these issues (now Lines 684 to 722). • "Destruction" via centrifugation statement was removed. • We also changed some of the wording to indicate the products are not homogenous populations (e.g.: calling "microbubbles" to "microbubble samples" and calling "droplets" to "droplet samples").

Reviewer 1, Major Weakness 2c: Lines 586 to 593: Authors may need to include a blank control at each pressure point to confirm that the bubble signals were not caused by high PNP ultrasound.

• Good idea. Blank control images were added (Step 6.5, Figure 7) and discussed (Lines 791 to 801).

Reviewer 1, Major Weakness 2d: Line 618 to 621: Much more information regarding the ultrasound parameters is needed for repeatability. All specifications of the transducer should be reported. Need to report the scanner system being used. It would be reasonable for authors to account for transducers made specifically for therapy. The authors should refer to tutorial papers in the ultrasound community for best practices in reporting. It is not clear why "any transducer with center frequency greater than 10 MHz" is cited in the materials list. Was the water used in the vaporization test degassed?

• A specific, commercially available ultrasound imaging system and transducer were added in the materials list and the "any transducer with center frequency greater than 10 MHz" was removed. • The free-field peak negative pressures and other parameters for the specified commercially available ultrasound transducer (see updated Table of Materials) were estimated based on the work done by Sheeran et al.8 (now Figure 7). • The deionized water used in the vaporization test was not degassed but it was air-equilibrated by letting it rest in the water tank 24 hour before the test. The manuscript was updated with this information (now Step 6.1, Lines 508 to 509, Lines 786 to 791).

Reviewer 1, Major Weakness 2e: Lines 700 to 702: Figure 6 demonstrates qualitative comparison but not quantitative results. It is recommended that the authors quantify droplet activation to show this optimization to future readers.

• Now Figure 7: Internally, we have done linearized pixel analysis in the phantom's region-of-interest. By incrementally increasing the peak negative pressure and observing the increase in contrast in the cine-loops, we did find a vaporization threshold7,8. However, we think this image analysis is outside the scope of the protocol. We believe it would be more appropriate if we included quantitative results along with in-solution acoustics and in-vivo performance in mice as a separate paper. • Here, we wanted to describe a way by which droplets activation could be validated using a commercially available system.

Reviewer 1, Comment 1: Abstract: The abstract needs to be more concise. The type and quantity of information that is presented makes the abstract read like a second introduction.

• Abstract has been rewritten.

Review 1, Comment 2: Introduction: The authors may need to elaborate on what type of application these droplets are intended for.

• Added, (e.g.: replacement for companion diagnostic agents for ultrasound contrast agents), (now Lines 80 to 87 and Lines 100 to 108).

Reviewer 1, Comment 3: Methods: Line 154: Safety notices should be included at the first mention of a potentially dangerous chemical.

• Updated, now on Step 1.4 and Lines 142 to 143.

Reviewer 1, Comment 4: Author needs to go into more detail about the function of TritonX-100.

• Details regarding Triton and its use in disruption, decellularization (now Lines 749 to 757), and optical unquenching (now Lines 766 to 769, Lines 776 to 782) were added in the Discussion

Reviewer 1, Comment 5: Instances of "at user discretion" (Line 189, 480) also need to be more detailed to increase repeatability.

• Removed.

Reviewer 1, Comment 4: Results: The authors need to walk through all sub figures in the writing. Lines 561 to 569: The Figure 3 results text did not have any guidance. It is unclear why the authors chose to include error bars on only their Coulter Counter results in Figure 3.

• Updated. • Now Figure 4, DLS data was removed from main manuscript and moved to the supplementary as we felt it was redundant and to declutter the Coulter counter data.

Reviewer 1, Comment 5: Results: The authors have an inconsistent representation of data on graphs. In Figure 3, why are some lines dotted or dashed? In Figure 5, why is the Triton result dashed if the PBS line is solid, why does this not mirror Figure 4 which used almost the same colors but were both solid?

• In the old Figure 3 (now Figure S7), the orange line was solid and the yellow line was dashed to give more differentiation between DLSi and DLSn. DLS data has been removed from the main manuscript. • For the absorbance (now Figure 5), I forgot to make the Triton line dotted. This has been updated and now the absorbance graph (now Figure 5) matches the fluorescence graphs (Figure 6).

Reviewer 1, Comment 6: Tick marker text can be cleaned up by placing exponents in the units.

• Updated, now Figures 4 and 6.

Reviewer 1, Comment 7: Discussion: Some of the information here belongs in the introduction, Lines 685 to 695's paragraph has information that the reader needs to understand why the emission and excitation wavelengths were chosen in the methods. Lines 667 to 671 is justification for the buoyancy sorting method.

• Information about the application of porphyrin droplets were added to the introduction (Lines 80 to 87 and Lines 100 to 108). • The wavelengths chosen based on the Soret and Q-bands of Pyro14. This information has now been added in the Discussion (Lines 764 to 769, Lines 773 to 774)

Reviewer 1, Comment 8: Discussion: The authors need to make direct reference to figure and sub-figure in their results analysis for their discussion.

• Updated, all figures and subfigures are now referenced in the Discussion.

Reviewer 1, Comment 9: Discussion: Lines 711 to 712, The future works section needs more examples of experiment planning and justifications for those experiments. There is a leap in logic between the presented work and what is proposed in future work resulting in unanswered questions. For example, the 21 MHz transducer may experience attenuation for deeper tumors what steps will be taken to address this and will the cancer model in the proposed study affect translation of the findings presented here?

• Future works section (Lines 813 to 815) has been rewritten. The mention of tumors has been removed from the future works. • Yes, higher frequencies attenuate faster with distance. However, for our applications on in-vivo/ex-vivo organ bio-distributions and accumulation in small animals (such as mice), attenuation is less of a concern (see updated future work, now Lines 813 to 815). • Additionally, 21 MHz was used Figure 7 and Step 6 as that was what was available at the time. However, this does not mean all future tests are locked to 21 MHz.

Reviewer 2, Summary: The protocol is about synthesizing and characterizing porphyrin droplets. How different concentration of pyro on the shell changes the size distribution and concentration of bubbles. Overall: This protocol will be very helpful with the microbubble and ultrasound community to have a well-documented protocol to making droplets in the lab. There are many articles for applications with droplets but not detailed information on the creation of the droplets. The authors did a great job at detailing the steps throughout the protocol. It is very detailed but sometimes hard to follow steps. I would encourage to go through the document one more time and make it a bit clearer in certain steps. If more sentences are needed to make it detailed, please add them. There is a part of the protocol that just references another paper on how to create specific portions for the steps, for instance the Pyro-lipids right at the beginning of the protocol. The protocol should be added into the protocol for a well-documented protocol on pyro loading droplets. This manuscript would serve as a good reference for people in the droplet community.

• The authors would like to thank the reviewer for the feedback and comments.

Reviewer 2, Major Concern 1: Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., "Do this," "Ensure that," etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as "could be," "should be," and "would be" throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a "Note." There are many sections throughout the document that just make statements. Please elaborate these areas.

• Updated.

Reviewer 2, Major Concern 2: Title is a misleading to what the article is about. Please consider revisiting the title name to emphasize the sub-micron bubbles and specifically the creation of Pyro-loaded coated bubbles. As stated in the authors summary, "synthesizing and characterizing porphyrin droplets" seems more of an adequate title for the protocol manuscript.

• The title has been changed to "Synthesis and characterization of multi-modal phase-change porphyrin droplets".

Reviewer 2, Major Concern 3: Lines 125- 128: Authors tells reader to look up how to synthesize Pyro-SPC by citing an article. I looked up the article, will anyone be able to just stop reading this procedure and do the other steps in Zheng [13]? I see a major problem with this as the protocol is not detailed. This means someone would need to read two different protocols to do this current submitted protocol. For example, how long will it take a reader to do the other steps from a different article?

• The complete synthesis of Pyro-SPC has now been added but in the Supplementary Information "Other Protocols and Data" instead of the main text due to the 10-page limitation for the protocol. • The main protocol's wording for this has also been updated (now Step 1.1, Lines 111 to 128).

Reviewer 2, Major Concern 4: Lines 191 - 195: Explain what Beer-Lambert Law is, show equation and results for molar concentration reader should be expecting based on the protocol described.

• The equation and description were added, now Step 1.4.4 (now Lines 164 to 173).

Reviewer 2, Major Concern 5: Line 487: Explain why Triton is being used.

• Triton was used to disrupt the assemblies and look at how the optical signatures change when Pyro-SPC is in intact assemblies (like droplets in PBS) and when unassembled (in Triton) (now Lines 767 to 770, Lines 776 to 780). • Additionally, as intact assemblies are fluorescently quenched, Triton is used to disrupt the assemblies, unquench the fluorescence, and maximize signal for quantification (now Lines 778 to 782). • Detergents/surfactants like Triton are used to decellularize tissue before optical analysis and Triton was chosen as it's optical absorbance and fluorescence bands do not overlap with Pyro's (now Lines 749 to 757).

Reviewer 2, Major Concern 6: Line 206: How are they flowing Nitrogen into the vial?

• A continuous gas flow to into the vial was used to evaporate the chloroform/methanol. The wording has been updated, (now Step 1.4.6 and Lines 181 to 186, now Step 1.6 and Lines 199 to 203).

Reviewer 3, Major Concern 7: Line 260: Here and throughout protocol, authors states to see Lipid Formula Sheet, if there is a volume to be added to a step, add amount in the step instead of making readers go see the Formula sheet.

• The step can now be followed without the referring to the Lipid Formula Sheet (now in Step 2.3 and Lines 224 to 225).

Reviewer 2, Major Concern 8: Line 548: how could have the microbubble affected the laser?

• Microbubbles are large enough to scatter the UV-Vis laser away from the detector, making microbubbles appear more optically absorbent. Comments were added to addressing the UV-Vis laser in the Discussion (now Lines 759 to 763). • The fluorescence at 390 nm excitation was removed as we felt like it was redundant given that 410 nm excitations gave similar data (now Figure 6). • Fluorescence data for 30% Pyro microbubble samples were added to demonstrate that pre-condensed microbubble samples still showed fluorescence quenching (now Figure 6A).

Reviewer 2, Major Concern 9: Lines 138: By how much will the DSPE-PEF5k vary? Let the reader know how much they should expect the vary to be and at what point is not proper.

• Good point. Unfortunately, we don't have that information and the manufacturer does not report the extreme ranges of DSPE-PEG5K's molecular weight. From our experience, it never found it deviate more than 0.1% from the target molecular weight but this is anecdotal. The manufacturer states the batch's molecular weight on the bottle itself. The wording has been changed to reflect this (now Step 1.1, Lines 120 to 121).

Reviewer 2, Minor Concern 1: Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. There are certain portions of the document that has common acronyms without spelling it out. Please look throughout the document to catch these.

• Updated.

Reviewer 2, Minor Concern 2: The word agents are used interchangeably but this can be confusing for the reader, if not familiar with the area, please keep it common with term usage. Don't just say agent, say ultrasound contrast agent.

• Updated.

Reviewer 2, Minor Concern 3: In certain steps, it mentions notes.

• Updated.

Reviewer 2, Minor Concern 3: Please make sure to remove the notes or commentary into note sections. Avoid the use of commercial language, including ™/®/© symbols or company brand names before/after an instrument or reagent. Cite these in the Table of Materials instead.

• Commercial names were updated: "Parafilm" to "wax film", "Definity" to "perflutren lipid microspheres", "VialMix" to "mechanical agitator".

Reviewer 2, Minor Concern 4: Make sure protocol steps are in the proper format. Please adjust the numbering of the Protocol to follow the JoVE Instructions for Authors. For example, 1 should be followed by 1.1 and then 1.1.1 and 1.1.2 if necessary.

• Updated.

Reviewer 2, Minor Concern 5: Lines 103-105, Lines 107 - 112: These are not steps, should be a note. Anything not as a step should be placed as a NOTE. In addition to these lines being vague, there should be more background explanation to this statement.

• Updated.

Reviewer 2, Minor Concern 6: The authors states to consider the application, listing some examples and with information that would help push the use of these type of bubbles to be created.

• Statement was removed. Now in the Discussion (now Lines 670 to 674), it states other applications with porphyrin droplets, such as magnetic resonance, gamma counting, and mass spectrometry.

Reviewer 2, Minor Concern 7: Also, Lines 145 - 148 & Lines 150, 158 are also not steps.

• Updated.

Reviewer 2, Minor Concern 8: Lines 114 - 116: list out volume concentration in %V/V, %W/W, %W/V. In addition, we need to tell the reader how to create these chemical calculations, not just list them. Or did you purchase them already at those concentrations? Use appropriate symbols and units throughout protocol.

• Updated, now Step 1.1 (Lines 124 to 125) and now Step 2.3 (Lines 224 to 225).

Reviewer 2, Minor Concern 9: Line 136: Spell out DSPE-PEF5k before using the acronym.

• Now in Step 1.1, Lines 115 to 117.

Reviewer 2, Minor Concern 10: Line 367: Remove company product names and use standard name of instrument used.

• Updated, now called "mechanical agitator" in Step 4.6 (Line 364).

Reviewer 2, Minor Concern 11: Line 164: List compatible cuvette in Materials List.

• Added.

Reviewer 2, Minor Concern 12: Line 197: State that "1040.317" is the MW of Pyro-SPC. It is not clear what MW you are referring to.

• Added, now Step 1.4.4 (Lines 167 to 168).

Reviewer 2, Minor Concern 13: Line 201: Transfer to what to what? Please be clear on the steps the user should be following.

• The step (now Step 1.4.5, Lines 176 to 178) has been rewritten.

Reviewer 2, Minor Concern 14: Lines 221: It is hard to understand what is meant by spilling of lipids and referencing Figure 1B does not look like any spilling is occurring. Was a different Figure supposed to be referenced?

• No, it's the same Figure. The step (now Step 1.6, Lines 199 to 203) has been rewritten.

Reviewer 2, Minor Concern 15: Line 236: Where there is a stop for the authors put it as a "Note", so it does not look as a step. Do the same throughout the protocol.

• Updated.

Reviewer 2, Minor Concern 16: Lines 380 & 389: The amount of time for microbubble sizing is different. One states 10 mins and the other 15 mins. How much time is it?

• The 10 minutes is referring to a time-point of when to start preparing the isopropanol bath. The step (now Step 4.7.2, Lines 375 to 377) has been rewritten.

Reviewer 2, Minor Concern 17: Line 428: Increased transparency should be more of a change to opaque color. From the transition of the vials from one color to the next is quite different. Also moving forward through the article, the authors need to state that a range of pyro-loaded bubbles will be shown but that 30% will be the main pyro-loaded shell discussed more often, especially starting with Figure 1.

• The step (now Step 4.15, Lines 424 to 425) was modified. • The references to the 30% Pyro-SPC shell has been added (Step 1.4.5, Step 4.3.9, Step 4.15, Step 5.4, Step 5.5, Step 6.7).

Reviewer 2, Minor Concern 18: Lines 91-93: States there are disadvantages but lists none. Please add the disadvantages and cite them. It is left as a teaser. If there is more discussion later, state at least one example of why it is disadvantage.

• The line was removed from the introduction but disadvantages (such as trade-offs with small diameters that may be needed for passive accumulation or decrease in particle concentration for limited injection volume) are now addressed in the Discussion (Lines 655 to 668).