## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
1,2-distearoyl-sn-glycero-3-phosphoethanolamine-N-[methoxy(polyethylene glycol)-5000] (ammonium salt) | Avanti Polar Lipids | 880220 | Sometimes referred as "DSPE-PEG5K"
1-stearoyl-2-hydroxy-sn-glycero-3-phosphocholine | Avanti Polar Lipids | 855775 | Sometimes referred as "DSPC"
Aluminum Foil | Any brand
Aluminum Seals, Tear-Off | VWR | 16171-840 | Standard Aluminum, 13 mm outer diameter
Bath Sonicator | Any brand |  | Capable of sonicating and heating up to 70 °C,
Bio-Stor Screw Cap Vials | National Scientific | BS20NABP | Plastic, 2 mL Skirted, with O-ring
Borosilicate glass clear serum vials | VWR | 16171-285 | 3 mL, 7 mm inner mouth diameter, 13 mm outer mouth diameter
Borosilicate Glass Sample Vial with Phenolic Screw Cap | VWR | 66011-020 | 1.85 mL, Short Form Style, 12 mm outer diameter, 35 mm height, 8-425 cap size
Borosilicate Glass Vial with Screw-On cap | Any brand |  | Sizes will depend on desired volumes
Chloroform | Any brand
MultiSizer 4e | Beckman Coulter |  | Capable of sizing from 0.2µm to 6 µm
Coulter Counter Elctrolyte Diluent | Any brand |  | Compatible with Coulter Counter
Decafluorobutane (C4F10) | FluoroMed | 355-25-9
Double-Deionized Water | Any brand
Dry Ice (Carbon Dioxide) | Any brand
Dynamic Light Scattering (DLS) Particle Analyzer | Any brand |  | Capable of temperature control
E-Z Crimper, 13 mm | Wheaton | W225302 | 13 mm Standard Aluminum Seals
E-Z Decapper, 13 mm | Wheaton | W225352 | 13 mm Standard Aluminum Seals
Fluorescent Spectrophotometer | Any brand |  | Capable of 400 to 600 excitation and 300 to 800 nm emission detection, detector perpendicular to laser source
Fluorescent Spectrophotometer Compatible Cuvette | Any brand |  | Can hold at least 2 mL, capable of 300 to 800 nm, all four sides are optical windows
Gas Exchanger | Made in-house |  | Refer to Supplementary Information - "Other Protocols and Data" for assembly instructions.
Glass syringes | Any brand |  | Sizes will depend on desired volumes
GLWR Custom Aperture Tube 10 um | Beckman Coulter | B42812 | 10 µm aperture, compatible with Beckman Coulter MultiSizer 4e
Glycerol | Any brand
Insulated Styrofaom containers with lids | Any brand
Isopropanol | Any brand
Lyophilization-Style Rubber Stoppers | VWR | 71000-060 | 7 mm inner mouth diameter, 13 mm outer mouth diameter, 2-leg, Chlorobutyl
Membrane Diaphram Vacuum Pump | Sartorius Stedim | 16694-1-60-06 | Adjustable pressure
Metal Tongs | Any brand
Methanol | Any brand
MS250 21 MHz Linear Array Ultrasound Transducer | VisualSonics |  | 21 MHz, Capable of B-mode and non-linear imaging.
Nalgene Rapid-Flow Sterile Single Use Vacuum Filter Units | Thermo Scientific | 567-0010 | Polyethersulfone (PES) membrane, 0.1μm pore size, 1000 mL volume. As Isoton II is non-sterile, can use Filter units multiple times
Needles, Conventional | BD | 305176 | 20 gauge, 1.5 inch length
Nitrogen Gas | Any brand |  | Make sure there are regulator valves and tubes to direct the flow. Setup will be dependend on brand and source.
Parafilm | Any brand |  | Referred to as "wax film" in the protocol.
Phosphate Buffered Saline (PBS) | Any brand |  | 1X, 7.4 pH
Pipette Tips | Any brand |  | Sizes will depend on desired volumes
Pipette | Any brand |  | Sizes will depend on desired volumes
Plastic Syringes | Any brand |  | 1 mL, 3 mL, and 30 mL. With Luer Lock connections
Polyethersulfone (PES) Membrane Filter | Any brand |  | 0.2 µm pore size
Propylene Glycol | Any brand
Pyropheophorbide conjugated 1-stearoyl-2-hydroxy-sn-glycero-3-phosphocholine | Made in-house |  | Also known as "Pyro-SPC". Refer to "Supplementary Information - Other Protocols and Data" for synthesis.
Thermometer | Any brand |  | (-20 to 100 °C)
Triton X-100 | Any brand |  | Also known as "2-[4-(2,4,4-trimethylpentan-2-yl)phenoxy]ethanol"
Ultraviolet–Visible (UV-Vis) Spectrophotometer | Any brand |  | Capable of absorbance from 300 to 800 nm, at least 0.5 nm resolution
Ultraviolet–Visible (UV-Vis) Spectrophotometer Compatible Cuvette, 1 cm Path Length | Any brand |  | Can hold at least 2 mL, capable of 300 to 800 nm
Vacuum Desiccator | Any brand
Vevo 2100 Ultrasound Imaging Platform | VisualSonics |  | Pre-clinical ultrasound imaging system
Vialmix | Bristol-Myers-Squibb |  | Referred to as "mechanical agitator" in the protocol. Agitates for 45 s.
Vortex Mixer | Any brand

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=