# Submission ID #:  62668

# Scriptwriter Name: Swati Madhu

# Supervisor Name: Anastasia Gomez

# Project Page Link:  https://www.jove.com/account/file-uploader?src=19113788

# Title:   High-Throughput In Vitro Assay using Patient-Derived Tumor Organoids.

# Authors and Affiliations:

Arisa Higa1, Nobuhiko Takahashi2,3, Gen Hiyama2, Hirosumi Tamura2, Hirotaka Hoshi2, Kenju Shimomura3, Shinya Watanabe2, Motoki Takagi2

1FUJIFILM Wako Bio Solutions Corporation

2Medical-Industrial Translational Research Center, Fukushima Medical University

# 3Department of Bioregulation and Pharmacological Medicine, Fukushima Medical University

☐   All author names and affiliations are correct.

# Corresponding Authors:

Arisa Higa			arisa.higa@fujifilm.com

# Motoki Takagi			m-takagi@fmu.ac.jp

# Email Addresses for All Authors:

tkhsnbhk@fmu.ac.jp

hiyamag@fmu.ac.jp

tamura@fmu.ac.jp

hoshi.h@f-cell-f.com

shimomur@fmu.ac.jp

swata@mvc.biglobe.ne.jp

arisa.higa@fujifilm.com

m-takagi@fmu.ac.jp

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit. If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  13

Number of Shots:  38

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - Procedures involving human subjects have been approved by the ethics committee of Fukushima Medical University.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Patient-Derived Tumor Organoid Culture

  - To begin, remove the frozen vial from liquid nitrogen storage [1]. Gently agitate the patient-derived tumor organoids in a water bath at 37 degrees Celsius for 1 minute [2]. Remove the vial from the water bath [3] and wipe with 70% ethanol [4]. Then, place the vial in the biosafety cabinet [5].

    - WIDE: Talent removing the vial from the liquid nitrogen storage.

    - Talent agitating PODs in the vial place in a water bath.

    - Talent removing the vial from the water bath.

    - Talent wiping the vial with 70% ethanol.

    - Talent placing the vial in the biosafety cabinet.

  - Transfer the tumor organoids in a 15-milliliter tube containing the medium for organoids [1]. Use a 3-milliliter transfer pipette to gently mix the tumor organoids and medium by pipetting up and down five times [2]. Pellet down the tumor organoids by centrifugation [3-TXT].

    - Talent adding organoid suspension in a 15 mL tube containing medium.

    - Talent mixing the organoids by pipetting.

    - Talent placing the tube in the centrifuge. TEXT: 200 x g, 2 min, ~25 °C

  - Discard the supernatant [1] and resuspend the tumor organoid pellet in 5 milliliters of fresh medium [2]. Transfer the tumor organoid suspension into a T-25 flask [3] and incubate at 37 degrees Celsius in 5% carbon dioxide [4].

    - Talent discarding the supernatant.

    - Talent resuspending the organoid pellet.

    - Talent adding the tumor organoid suspension in the flask.

    - Talent placing the flask in the incubator.

  - After one week of the first passage, transfer the tumor organoid suspension from two T-25 flasks into two centrifuge tubes [1] and pellet down the tumor organoids by centrifugation [2-TXT]. Estimate the tumor organoid pellet volume [3] and resuspend the pellet in 2.5 milliliters of fresh medium per tube [4].

    - Talent transferring the organoid suspension from the T-25 flask into the centrifuge tube.

    - Talent placing the tubes in the centrifuge. TEXT: 200 x g, 2 min, ~25 °C

    - The organoid pellet at the bottom of the tube.

    - Talent resuspending the pellet.

  - Pool the tumor organoid suspension in one tube [1]. Transfer the pooled suspension into a T-75 flask containing 10 milliliters of fresh medium [2] and incubate at 37 degrees Celsius in 5% carbon dioxide [3].

    - Talent pooling the organoid suspension.

    - Talent adding the pooled suspension in a T-75 flask.

    - Talent placing the flask in the incubator.

- High Throughput Assay System for Growth Inhibition

  - After 24 hours of the third passage, mince the tumor organoids using a cell fragmentation and dispersion instrument equipped with a filter holder containing a 70-micrometer mesh filter [1]. Dilute 15 milliliters of tumor organoid suspension 10 times [2].

    - Talent mincing the organoids.

    - Talent diluting the organoids suspension.

  - Use a cell suspension dispenser to seed 40 microliters of diluted tumor organoid suspension in a 384-well ultra-low attachment spheroid microplate [1].

    - The tumor organoid suspension getting dispensed in the plate.

  - After 24 hours, use a liquid handler to add 0.04 microliters of test agent solutions from 10 serial dilutions at final concentration ranges of 20 micromolar to 1.0 nanomolar in the wells [1] and incubate the plate for 6 days [2].

    - Test reagent being added in the wells of the plate.

    - Talent placing the plate in the incubator.

  - At the end of the incubation, add intracellular ATP measuring reagent in the test wells [1]. Use a mixer to mix the contents of the plate [2] and incubate the plate for 10 minutes at 30 degrees Celsius [3]. Use a plate reader to measure the intracellular ATP content as luminescence [4].

    - Intracellular ATP measuring reagent being added in the test wells.

    - Plate on the mixer.

    - Talent placing the plate in the incubator.

    - Talent placing the plate in the plate reader.

- High Throughput Assay System with Cell Picking and Imaging for Growth Inhibition

  - After 24 hours of the third passage, set a 384-well ultra-low attachment spheroid microplate with 40 microliters of medium per well as a destination plate on the cell picking and imaging system [1].

    - SCREEN: Destination plate being selected and media volume being set.

Authors: Please create screen capture videos of the shots labeled SCREEN and upload them to your project page: https://www.jove.com/account/file-uploader?src=19113788.

  - Fill the picking chamber with 6 milliliters of culture medium [1] and centrifuge at 1,500 x g for 2 minutes to remove the air bubbles [2]. Add 4 microliters of tumor organoid suspension in the picking chamber [3] and set the picking chamber on the system [4].

    - Talent adding culture medium in the picking chamber.

    - Talent placing the picking chamber in the centrifuge.

    - Talent adding organoid suspension in the picking chamber.

    - Talent placing the picking chamber in the system.

  - Allow the single cells or small cell clusters to get removed from a hole in the bottom of the chamber for 1 minute after dispersion [1]. Allow the cell clusters to settle at the bottom of the chamber for 1 minute and then initiate the chamber scanning [2].

    - The flow of media-containing cells from the drainage pipe of the system.

    - The chamber being scanned.

  - Set the picking size to 140 to 160 micrometers on the system [1]. Next, select ten cell clusters per well from the scanned images [2] and transfer the cell clusters using picking tips into the destination plate [3].

    - SCREEN: Picking size being set.

    - SCREEN: Ten cell clusters per well being selected from the scanned images.

    - Picking tip entering in the well of the plate.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 189. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Estimation of Anticancer Effects on the Patient-Derived Tumor Organoids

  - In the current study, the effect of anticancer agents on the patient-derived tumor organoid was assessed [1]. The high sensitivity for all the anticancer agents was indicated by the half-maximal inhibitory concentration values less than 2 micromolar [2] and the area under the curve values less than 282 [3].

    - LAB MEDIA: Figure 4

    - LAB MEDIA: Figure 4 Video editor: Please emphasize the IC50 values on the top in all the graphs.

    - LAB MEDIA: Figure 4 Video editor: Please emphasize the AUC values on the top in all the graphs.

  - For the antibody-dependent cellular cytotoxicity assessment, % cytolysis of tumor organoids in the presence of two different antibodies was measured [1].

    - LAB MEDIA: Figure 5

  - The percent cytolysis increased with time. Without the antibodies at 6 hours with the effector to target cell ratio of 1 to 1, the cytolysis reached 45% [1] while, at the ratio of 2 to 1, the cytolysis reached 75% [2].

    - LAB MEDIA: Figure 5A and 5C Video editor: Please emphasize the line in the graph with white round data points of without antibody.

    - LAB MEDIA: Figure 5B and 5D Video editor: Please emphasize the line in the graph with white round data points of without antibody.

  - The natural killer cell-mediated cytolysis using trastuzumab was approximately 60% at the effector to target cells ratio of 1 to 1 [1] and 90% at the ratio of 2 to 1 at 6 hours [2].

    - LAB MEDIA: Figure 5A Video editor: Please emphasize the data points at 6 hours in the graph.

    - LAB MEDIA: Figure 5B Video editor: Please emphasize the data points at 6 hours in the graph.

  - In contrast, cetuximab had a dose-dependent impact on the natural killer cell-mediated cytolysis [1].

    - LAB MEDIA: Figure 5C and 5D

  - At the highest concentration of cetuximab, 90% cytolysis was observed at the effector to target cell ratio of 1 to 1 [1], and 100% cytolysis was observed at the ratio of 2 to 1, indicating high effectivity of cetuximab [2].

    - LAB MEDIA: Figure 5C Video editor: Please emphasize the line in the graph with black square data points of 1mg/ml cetuximab.

    - LAB MEDIA: Figure 5D Video editor: Please emphasize the line in the graph with black square data points of 1mg/ml cetuximab.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.