## Table 2
Table 2. Troubleshooting guide
Problem | Possible cause | Suggestion
The cell ring is not visible at the interface of two percoll solutions | Poor layering of percoll solution or mixing two layers during sample handling | Take extra care to not break the 80% percoll cushion during overlaying. Pay attention during sample handling: do not disturb the percoll interface
| Low numbers of leukocytes (for instance, when using a non-pregnant uteruse) | The interface can be seen even when the cell number at the interface is very low. Even if the ring is not visible, collect liquid at between 40% and 80% percoll solutions, as there might still be enough cells for further processing
Incomplete RBC lysis | Cells was not resuspended properly in the lysing buffer | Pipette cells up and down to break the clumps and fully resuspend cells in lysing buffer
| Lysing solution is cold | Equilibrate the lysing solution to room temperature before use
Prolong time of incubation with the lysing solution up to 15min
RBC lysis step can be repeated
Low cell yield | Poor enzymatic digestion | Check if enzymes are not out of date and have been stored according to their manuals
| Cell loss during washing steps | Inspect the cell pellet after each washing step: the opaque pellet at the bottom of the well after spin. Using V-bottom instead U-bottom plates, swing rotor centrifuge, longer centrifugation time may reduce cell loss
| Tissue sample contains low numbers of lymphocytes (for instance, when using a non-pregnant uteruse) | Pool several uteruses to obtain enough events for analysis. Consider using Option B of the protocol for cell isolation
High variability of absolute leukocyte numbers obtained from mice of the same group | Inconsistent collection of cells at the interface of 40% and 80% percoll solutions | Make sure to collect whole cell fraction on the percoll interface. Consider using Option B of the protocol for cell isolation
Not able to detect expected lymphocyte subpopulations/markers or unusually low MFI for some cell surface markers | Enzymatic digestion affected surface expression of some epitopes or their degradation | Optimize enzymatic digestion by changing: enzyme (e.g. to different type of liberase or collagenase) and/or length of incubation and/or enzyme concentration
High background noise in the flow cytometer | High proportion of cell debris or RBC contamination | Adjust FSC thresholding parameter. Consider using Option A of the protocol for cell isolation

## DV-IDENTITY-0 (hidden)
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=