# Submission ID #:  62670

# Scriptwriter Name: Shehnaz Lokhandwala

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19114398

# Title: Isolation of Uterine Innate Lymphoid Cells for Analysis by Flow Cytometry

# Authors and Affiliations:

Delphine M. Depierreux1,2*, Emily Seshadri1,2*, Evgeniya V. Shmeleva1,2*, Jens Kieckbusch1,2, Delia A. Hawkes1, Francesco Colucci1,2

1Department of Obstetrics and Gynaecology, National Institute for Health Research Cambridge Biomedical Research Centre, University of Cambridge School of Clinical Medicine

2Centre for Trophoblast Research, University of Cambridge

☐   All author names and affiliations are correct.

# Corresponding Authors:

Francesco Colucci		(fc287@medschl.cam.ac.uk)

# Email Addresses for All Authors:

dd475@cam.ac.uk

es857@cam.ac.uk

es704@cam.ac.uk

kieckbuschjens@gmail.com

dah52@medschl.cam.ac.uk

fc287@medschl.cam.ac.uk

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   No

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  22

Number of Shots:  51

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at (insert Institutional Name).

Authors: The manuscript states that the procedures were in accordance with Animals (Scientific Procedures) Act 1986 under PP2363781 issued by the UK Home Office. Were they approved by the institutional ethics committee at the University of Cambridge?

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Mechanical and Enzymatic Digestion of the Uterus

  - To begin, transfer the uterus tissue harvested from a pregnant C57BL/6 (C-fifty-seven-black-six) female mouse into a sterile Petri dish [1-TXT]. Then, using sterile instruments, gently remove the fat surrounding the tissue, taking care not to let the tissue dry [2].

    - WIDE: Establishing shot of talent transferring the tissue into a petri dish. TEXT: See text for tissue harvest details

    - Talent removing fat from the tissue.

  - Remove the fetuses by dissecting each implantation site with sterile instruments [1], then return the uterus to its original 5-milliliter collection tube [2-TXT]. Using scissors, mince the tissue in the collection tube [3], then place the tube in a 37-degree Celsius water bath [4].

    - Talent removing the fetuses.

    - Talent returning the uterus to the collection tube. Volume of tissue + collection media = 1 mL

    - Talent mincing the tissue.

    - Talent placing the tube in a water bath.

  - Next, add 3 milliliters of pre-warmed enzymatic digestion mix to the tube such that the total volume of liquid in the tube is 4 milliliters [1-TXT]. Incubate the tube for 30 minutes at 37 degrees Celsius with agitation to enhance enzymatic digestion activity [2].

    - Talent adding enzymatic digestion mix to the tube. TEXT: See text for enzymatic digestion mix preparation

    - Shot of tube incubating with agitation at 37 °C.

  - After the incubation is complete, vortex the tube [1] and place it on ice to inhibit the enzymatic activity [2], then transfer the digested tissue into a properly labeled 15-milliliter centrifuge tube [3].

Authors: For how long does the tube have to be placed on ice?

    - Talent vortexing the tube.

    - Talent placing the tube on ice.

    - Talent transferring the tissue to a 15 mL tube.

  - Rinse the 5-milliliter tube with 10 milliliters of ice-cold 5 millimolar EDTA (E-D-T-A) PBS (P-B-S) solution to collect all the remaining tissue [1] and transfer it into the 15-milliliter centrifuge tube [2].

Authors: Do you rinse the 5 mL tubes twice with 5 mL PBS each time?

    - Talent adding EDTA PBS to the 5 mL tube.

    - Talent transferring the PBS from the 5 mL to the 15 mL tube.

  - Centrifuge the digested tissue sample for 10 minutes at 400 x g [1]. Discard the supernatant [2], gently flick the pellet [3], and then resuspend it in 10 milliliters of pre-warmed 5 millimolar EDTA PBS solution [4].

    - Talent placing the tube in the centrifuge.

    - Talent discarding the supernatant.

    - Talent flicking the pellet.

    - Talent resuspending the pellet.

  - To reduce cell clumping, incubate the sample at 37 degrees Celsius with agitation [1], followed by vortexing on high for 10 seconds [2].

    - Talent incubating the tube at 37 °C with agitation.

    - Talent vortexing the tube.

- Processing of the Uterus into a Single Cell Suspension

  - For removing cell clumps and undissociated tissue, place a 70-micrometer strainer atop a sterile 50-milliliter centrifuge tube [1], then using the plunger of a sterile 1-milliliter syringe, force the digested tissue through the strainer into the tube [2].

    - WIDE: Talent placing a 70-µm strainer over a 50 mL tube.

    - Talent forcing the tissue through the strainer. Videographer: Obtain multiple usable takes because this will be reused in 3.9.1.

  - Wash the strainer several times with a total of 10 milliliters of cold PBS to collect all the cells [1], then spin the 50-milliliter centrifuge tube for 10 minutes at 400 x g [2].

    - Talent washing the strainer.

    - Talent centrifuging the 50 mL tube. Videographer: Obtain multiple usable takes because this will be reused in 3.9.2.

  - After discarding the supernatant, the innate lymphoid cells may be isolated using either Option A or Option B [1]. For Option A, resuspend the pellet in 8 milliliters of 40% isotonic Percoll using a pipet boy [2-TXT].

    - Talent discarding the supernatant.

    - Talent resuspending the pellet in 40% Percoll. TEXT: Option A

  - Then, using the pipet boy on slow speed, carefully overlay the resuspended pellet onto 5 milliliters of 80% Percoll solution in a 15-milliliter centrifuge tube. Pipette slowly and continuously, holding the 15-milliliter tube at a 45-degree angle [1].

    - ECU: Talent overlaying the pellet on the 80% Percoll solution in the 15-ml tube.

  - Without disturbing the overlay, centrifuge the tube for 20 minutes at 850 x g, at room temperature [1]. Once the centrifugation is complete, carefully remove the tube from the centrifuge without disturbing the Percoll layers [2].

    - Talent placing the tube in the centrifuge.

    - Talent removing the tube from the centrifuge.

  - Next, without disturbing the ring of leukocytes at the interface of the two Percoll solutions, use a sterile Pasteur Pipette to discard all except 0.5 to 1 milliliter of the top Percoll layer [1].

    - ECU: Talent collecting the Percoll layer with a sterile Pasteur Pipette.

  - While trying to keep the amount of Percoll solution sucked into the pipette to a minimum, carefully collect the ring of leukocytes [1] and transfer the cells into a new labeled 15-milliliter centrifuge tube [2].

    - ECU: Talent collecting the ring of leukocytes.

    - Talent transferring the cells to a new 15 mL tube.

  - Add 10 milliliters of sterile RMPI (R-P-M-I) medium supplemented with 10% heat-inactivated FBS to the cells [1]. Then, centrifuge the cells for 5 minutes at 500 x g and 4 degrees Celsius [2], discard the supernatant, and proceed to red blood cell lysis [3].

    - Talent adding 10 mL of RPMI media to the cells.

    - Talent placing the cells in the centrifuge.

    - Talent discarding the supernatant.

  - To isolate the cells using Option B, after passing the digested tissue through the cell strainer [1] and centrifuging the resultant cell suspension as demonstrated previously [2], resuspend the pellet with 8 milliliters of 35% isotonic Percoll in RPMI medium [3-TXT] and transfer the cells into a 15-milliliter tube [4].

Authors: Please ensure that you have another sample ready beforehand to demonstrate Option B on the day of filming or you could split the one sample being processed into half to demonstrate both options.

    - Use 3.1.1. Talent forcing the tissue through the strainer.

    - Use 3.2.2. Talent centrifuging the 50 mL tube.

    - Talent resuspending the pellet in 8 mL of 35% Percoll. TEXT: Option B

    - Talent transferring the cells into a 15 mL tube.

  - Centrifuge the tube at 940 x g for 10 minutes at room temperature with medium acceleration and minimum brakes [1]. Then, using a pipette boy, aspirate the supernatant carefully [2] before resuspending the pellet in 14 milliliters of RPMI medium supplemented with 10% heat-inactivated FBS [3].

    - Talent placing the tube in the centrifuge.

    - Talent aspirating the supernatant.

    - Talent resuspending the pellet.

  - Centrifuge the sample again for 5 minutes at 500 x g and 4 degrees Celsius [1], then discard the supernatant by aspiration and proceed to red blood cell lysis [2].

    - Talent centrifuging the sample.

    - Talent aspirating the supernatant.

- Red Blood Cell Lysis

  - To lyse the red blood cells, resuspend the sample in 3 milliliters of 1x red blood cell lysing solution and incubate for 3 minutes at room temperature [1]. Then, add 10 milliliters of PBS into the sample to stop the reaction [2].

    - Talent resuspending the sample in RBC lysing solution.

    - Talent adding PBS into the sample.

  - Centrifuge the tube at 400 x g for 5 minutes [1]. After discarding the supernatant, add another 10 milliliters of PBS [2] and repeat centrifugation [3].

    - Talent centrifuging the tube.

    - Talent adding PBS to the tube.

    - Talent centrifuging the tube.

  - Resuspend the pellet in 1 milliliter of RPMI medium supplemented with 5% heat-inactivated FBS [1], then pass the resultant cell suspension through a sterile 70-micrometer cell strainer [2].

    - Talent resuspending the pellet.

    - Talent passing the cells through a 70-µm cell strainer.

  - After counting the cells, adjust the concentration of the cell suspension to 1 to 2 million cells in 100 microliters of PBS and proceed to FACS analysis [1].

    - Talent adding PBS to adjust the cell concentration, used hemocytometer in view. TEXT: See text for details on FACS analysis

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 144. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: FACS Analysis of Innate Lymphoid Cells

  - Staining of splenic and uterine lymphocytes [1] with anti-NKp46 (N-K-P-forty-six) [2] and anti-NK1.1 (N-K-one-point-one) antibodies [3] shows that the splenic lymphocytes express higher amounts of NKp46 on their surface [4] than their uterine counterpart [5].

# Authors: Please check that the pronunciation guides for NKp46 and NK1.1 are correct.

    - LAB MEDIA: Figure 8.

    - LAB MEDIA: Figure 8. Video Editor: Emphasize the red histograms (red area) on both graphs

    - LAB MEDIA: Figure 8. Video Editor: Emphasize the blue histograms on both graphs

    - LAB MEDIA: Figure 8. Video Editor: Emphasize the red peak between the two blue peaks in Figure 8A

    - LAB MEDIA: Figure 8. Video Editor: Emphasize the red area (multiple small peaks) between the two blue peaks in Figure 8B

  - Additionally, the separation between NKp46-positive and NKp46-negative cells is better in the splenic lymphocytes [1] than in the uterine lymphocytes [2].

    - LAB MEDIA: Figure 8. Video Editor: Emphasize the two well-separated red peaks in Figure 8A

    - LAB MEDIA: Figure 8. Video Editor: Emphasize the not so well separated red peaks in Figure 8B

  - In enzymatic tissue dissociation, surface epitopes on cells can be altered depending on the enzymes used in the digestion medium [1]. For example, staining for the MHC (M-H-C) CD94:NKG2A (C-D-ninety-four-N-K-G-two-A) receptor is poor when Liberase TM (T-M) is used [2].

    - LAB MEDIA: Figure 9.

    - LAB MEDIA: Figure 9. Video Editor: Emphasize the Liberase TM panel

  - However, digestion with Liberase DH (D-H) preserves NKG2A (N-K-G-two-A) recognition by the 16A11 antibody clone [1]. Authors: How should our voiceover talent pronounce 16A11? Is it sixteen-A-eleven?

    - LAB MEDIA: Figure 9. Video Editor: Emphasize the Liberase DH panel

  - Around 6.5% of Group 1 innate lymphoid cells present in uterine tissue samples at gestation day 8.5 are blood-derived [1]. Blood contaminants can be excluded through intravital staining with anti-CD45 (C-D-forty-five) antibodies conjugated with a fluorochrome used for a dump channel [2].

    - LAB MEDIA: Figure 10. Video Editor: Emphasize 6.47 in the upper right quadrant of the Uterine g1 ILCs panel

    - LAB MEDIA: Figure 10.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.