# Submission ID #:  62672

# Scriptwriter Name: Gaurav Vaidya

# Supervisor Name: Anastasia Gomez

# Project Page Link:  https://www.jove.com/account/file-uploader?src=19115008

# Title: Capillary Electrophoresis-based Hydrogen/Deuterium Exchange for Conformational Characterization of Proteins with Top-down Mass Spectrometry

# Authors and Affiliations:

Lingxiao Chaihu1,2, Xiaopeng Yao1, Xiang Xu1,2, Zhongqin Zhu1, David D. Y. Chen3, Guanbo Wang1

1School of Chemistry and Materials Science, Nanjing Normal University, 210023 Nanjing, China

2Institute for Cell Analysis, Shenzhen Bay Laboratory, 518132 Shenzhen, China

3Department of Chemistry, University of British Columbia, Vancouver, BC V6T 1Z1, Canada

☐   All author names and affiliations are correct.

# Corresponding Authors:

Guanbo Wang	      (guanbowang@njnu.edu.cn)

# Email Addresses for All Authors:

# 08130339@njnu.edu.cn

201102025@njnu.edu.cn

191102050@njnu.edu.cn

201102034@njnu.edu.cn

chen@chem.ubc.ca

# guanbowang@njnu.edu.cn

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  13

Number of Shots:  27

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Operation of CE-based HDX MS Analysis

  - Begin with pre-conditioning of the Capillary Electrophoresis – Hydrogen/Deuterium Exchange, or CE-HDX, setup [1]. Using ultrasonication and a mixture of 50 percent methanol, 49 percent water, and 1 percent formic acid, clean the flow-through microvial CE-MS (spell out ‘C-E-M-S’) interface for at least 30 minutes at room temperature [2-TXT]

    - WIDE: Establishing shot of the talent besides the mass spectrometer.

    - Talent cleaning the flow-through microvial CE-MS interface. TEXT: CE-MS: Capillary Electrophoresis – Mass Spectrometry

  - Mount the HPC - modified capillary on the capillary electrophoresis or CE instrument [1-TXT]. Rinse the capillary with background electrolyte solution, or BGE, for 10 minutes using the autosampler and leave it filled with the BGE [2].

    - Talent mounting the capillary on the capillary electrophoresis instrument. TEXT: Hydroxypropyl cellulose

    - Talent rinsing the capillary and filling it with BGE.

  - Use an appropriate length of unmodified fused silica capillary tubing as the infusion tubing for the modifier solution [1-TXT]. Use a union and proper sleeve to connect the modifier tubing to a gas-tight glass syringe with a blunt tip [2] and rinse the tubing with the modifier solution for at least 10 minutes using an infusion pump [3].

    - Talent checking the length of the tubing. TEXT: ID: 50 μm, OD: 360 μm

    - Talent connecting the modifier tubing to the glass syringe.

    - Talent rinsing the tubing with the modifier solution.

  - Insert the outlets of the HPC-coated CE capillary and modifier tubing loaded with the corresponding solutions into the cleaned CE-MS interface [1]. Advance the syringe with the infusion pump such that the modifier solution reaches the tip of the interface [2].

    - Talent inserting the outlets into the CE-MS interface.

    - Talent advancing the syringe to infuse the modifier solution.

  - Mount the assembled CE-MS interface on a nano electron spray ionization source housing of a mass spectrometer [1]. Apply a spray voltage of 3 to 5 kilovolts to the CE-MS interface [2].

    - Talent mounting the assembled CE-MS interface on the nanoESI source housing.

    - Talent setting the spray voltage.

  - Infuse the modifier solution with the infuser pump at a flow rate ranging from 0.1 to 10 microliters per minute and ensure a stable electrospray at the tip of the CE-MS interface [1]. Place the sample vial containing the BGE in the autosampler, which will be used later to acquire blank electropherograms and blank mass spectra [2].

    - Talent infusing the modifier solution using an infuser pump.

    - Talent placing the sample vial in the autosampler.

  - Estimate the injection volume using the relationship between injection volume and injection parameters and inject the sample solution using the autosampler at 2 psi for an appropriate duration [1].

    - Talent injecting the sample solution using the autosampler.

  - Start the CE separation by applying an electrophoretic voltage of 20 kilovolts and an infusion pressure ranging from 0 to 2 psi [1] and acquire the electropherogram [2].

    - Talent staring the CE.

    - SCREEN: Talent acquiring the electropherogram. Authors: Can you provide screen capture videos for the MS?

  - Meanwhile, acquire the MS data in the chromatographic mode where the ion current graph is acquired as a function of time, and the corresponding MS scans are not automatically combined into a single spectrum [1]. Save the blank electropherogram and mass spectra as references [2].

    - SCREEN: Talent acquiring the MS data in the chromate graphic mode.

    - SCREEN: Talent saving the blank electropherogram and mass spectra as reference.

  - Place the sample vials containing the desired concentrations of the protein sample solutions in the autosampler [1] and acquire the electropherograms and mass spectra as described earlier [2].

    - Talent placing the sample vials in the autosampler.

    - SCREEN: Talent acquiring the electropherograms and mass spectra.

  - Collect an adequate number of MS scans to obtain MS1 spectra of the electrophoretically separated and deuterium-labeled protein species [1]. Perform tandem MS measurements for the species of interest either after acquiring the MS1 spectra within the same run or in a subsequent, separate run [2].

    - SCREEN: Talent collecting MS scans to obtain MS1 spectra.

    - SCREEN: Talent performing tandem MS measurements.

  - Adjust the migration times or HDX reaction times by changing the infusion pressure or the length of the CE capillary when necessary. To set the HDX reaction time shorter than the migration time, use both deuterated and non-deuterated BGE in the capillary during the CE process [1].

    - Talent adjusting the Migration times/HDX reaction times.

  - After each measurement, flush the capillary with BGE at a pressure of 20 psi for at least 10 minutes [1]. Clean the CE-MS interface and all tubing for storage upon completion of the experiments [2]. Acquire a data set of the HDX “endpoint” sample with MS in direct infusion mode [3].

    - Talent flushing the capillary with BGE.

    - Talent cleaning the CE-MS interface and all tubing.

    - SCREEN: Talent acquiring data set of the HDX “endpoint” sample with MS in direct infusion mode.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 169. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Conformational Characterization of Proteins with Top-down Mass Spectrometry

  - A low infusion pressure resulted in better separation of CE peaks [1] but led to an increase in both the migration time and duration of the experiment [2]. A longer HDX reaction time resulted in a higher level of deuteration of the protein analytes [3].

    - LAB MEDIA: Figure 3A.

    - LAB MEDIA: Figure 3C.

    - LAB MEDIA: Figure 3D.

  - The A and B variants of beta- immunoglobulin, or β-lg (pronounce ‘beta-L-G’), which differ by only two amino acid residues in their sequence, gave rise to two adequately separated peaks in the EIC-derived electropherogram [1]. The differentially deuterium-labeled variants resulted in a distinct mass distribution of ions [2].

    - LAB MEDIA: Figure 4A.

    - LAB MEDIA: Figure 4B.

  - A lower number and relative abundance of z-ions than c-ions was observed due to the unique disulfide linkage and conformation of β-lg, which limit the fragmentation efficiency between Cys82 and Cys176 [1]

    - LAB MEDIA: Figure 5A and 5B.

  - Most of the fragment ions produced from β-lg A and β-lg B exhibited a similar extent of deuterium uptake [1]. However, the larger segments covering the sequence variation sites from β-lg A were deuterated to a significantly greater extent than β-lg B [2].

    - LAB MEDIA: Figure 5A and 5B.

    - LAB MEDIA: Figure 5C.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.