# Submission ID #:  62677

# Scriptwriter Name: Mithila Boche

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19116533

# Title: Growth, Purification, and Titration of Oncolytic Herpes Simplex Virus

# Authors and Affiliations:

Hong-My Nguyen1,*, Naresh Sah1,*, Melissa R. M. Humphrey2, Samuel D. Rabkin2, Dipongkor Saha1

* Authors contributed equally

1Department of Immunotherapeutics and Biotechnology, Jerry H. Hodge School of Pharmacy, Texas Tech University Health Sciences Center

2Molecular Neurosurgery Laboratory and the Brain Tumor Research Center, Department of Neurosurgery, Massachusetts General Hospital and Harvard Medical School

☐   All author names and affiliations are correct.

# Corresponding Authors:

Dipongkor Saha		dipongkor.saha@ttuhsc.edu

# Email Addresses for All Authors:

My.Nguyen@ttuhsc.edu

Naresh.Sah@ttuhsc.edu

mmarinelli@mgh.harvard.edu

# rabkin@mgh.harvard.edu

# dipongkor.saha@ttuhsc.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  16

Number of Shots:  39

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Oncolytic Herpes Simplex Virus (oHSV) Growth

  - Begin by washing the T-150 square centimeter flasks with 2x high-glucose DPBS supplemented with 1% IFCS [1-TXT]. Aspirate the DPBS [2] and add 7 milliliters of virus inoculum per flask [3].

    - WIDE: Establishing shot of talent washing the flasks. TEXT: IFCS: heat-inactivated fetal calf serum

    - Talent aspirating DPBS

    - Talent adding virus inoculum in the flasks.

  - Gently rock the flasks for 5 minutes [1] and incubate at 37 degrees Celsius for 1.5 to 2 hours [2].

    - The flasks shaking on the rocker.

    - Talent placing flasks in an incubator.

  - Then, remove the inoculum [1] and add 25 milliliters of DMEM supplemented with 1% IFCS to each flask [2].

    - Talent removing inoculum.

    - Talent adding DMEM in a flask.

  - After an incubation of 2 to 4 days, collect 20 milliliters of the culture supernatant from each flask in 50-milliliter centrifuge tubes [1-TXT]. Using a cell scraper, scrape the cells from the bottom of the flasks [2]. Author: What conditions do you use for incubation?

    - Talent removing flasks from an incubator and collecting 20mL of the supernatant in labeled tubes. TEXT: Leave 5 mL of supernatant in each flask

    - Talent scraping off the cells.

  - Add approximately 15 milliliters of the previously collected culture supernatant to each flask to bring the volume up to 20 milliliters [1], then use a 10-milliliter sterile serological pipette to gently wash the bottom of the flasks a few times [2].

    - Talent adding supernatant from labeled tube to the flask.

    - Talent washing the bottom of the flasks.

  - Collect the cells with medium into 50-milliliter conical centrifuge tubes placed on ice [1]. Centrifuge the tubes at 300  g for 10 minutes at 4 degrees Celsius [2].

    - Talent collecting the cells in tubes.

    - Talent placing tubes in the centrifuge and closing the lid.

  - Resuspend each pellet thoroughly in 1.25 milliliters of Virus Buffer, or VB, and previously collected culture supernatant [1]. Snap-freeze the resuspended cells using dry ice or 100% ethanol [2] and store at minus 80 degrees Celsius [3].

    - Talent adding virus buffer to the tubes/resuspending the pellet.

    - Talent snap-freezing the cells on dry ice.

    - Talent keeping tubes in a deep freezer.

- Oncolytic Herpes Simplex Virus (oHSV) Purification

  - Thaw the previously snap-frozen cells in a warm water bath at 37 degrees Celsius [1] and sonicate for 1 minute for three cycles in a water bath [2].

    - WIDE: Talent placing tubes in a water bath.

    - Tubes being sonicated in the water bath.

  - Add 175 units of Benzonase Nuclease and 2 microliters of 2 millimolar magnesium chloride per milliliter of the cell lysate [1-TXT] and vortex [2]. After an incubation of 30 minutes at 37 degrees Celsius [3], place the tube on ice [4].

    - Talent adding Benzonase Nuclease in the tubes. TEXT: 2 µL/mL from 1M stock of MgCl2

    - talent vortexing the tubes.

    - Talent removing tubes from an incubator.

    - Talent placing tubes on ice.

  - Spin the cell lysate at 300  g for 10 minutes [1]. Collect the supernatant in a new 50-milliliter conical centrifuge tube [2] and resuspend the cell pellet in 500 microliters of VB. Designate it as pellet 1 [3].

    - Talent placing tubes in a centrifuge and closing the lid.

    - Talent withdrawing supernatant in a labeled tube.

    - Talent resuspending pellet in VB and labeling the tube.

  - Spin the collected supernatant from pellet 1 again at 500  g for 10 minutes [1] and store the supernatant separately in a fresh 50-milliliter conical centrifuge tube to use later [2]. Resuspend the cell pellet in 500 microliters of VB, designating it as pellet 2 [3].

    - Talent placing labeled tube containing supernatant in a centrifuge and closing the lid.

    - Talent collecting supernatant in a labeled fresh tube.

    - Talent resuspending pellet in VB and labeling the tube.

  - Combine the resuspended pellet 1 and pellet 2 in a new 1.7-milliliter centrifuge tube [1] and sonicate twice in a water bath before spinning the tubes at 400  g for 10 minutes [2].

    - Talent combining cell suspensions from two labeled tubes.

    - Talent sonicating tubes and placing them in a centrifuge.

  - Combine the supernatant with previously obtained supernatant from pellet 2 [1] and filter it through a sterile 5-micrometer PVDF membrane filter into a new 50-milliliter centrifuge tube called TUBE 1 [2-TXT].

    - Talent adding fresh supernatant with a previously collected supernatant from labeled tube.

    - Talent filtering supernatant into a labeled tube 1. TEXT: polyvinylidene difluoride

  - Add 1 milliliter of VB to the 50-milliliter centrifuge tube emptied after the supernatant from the previous step, vortex [1], and pass it through the same PVDF membrane filter placed on TUBE 1 [2].

    - Talent adding VB in emptied labeled tube and vortexing it.

    - Talent filtering the suspension/solution into labeled tube 1.

  - Pass 22 milliliters of the filtrate from TUBE 1 through a sterile 0.8-micrometer MCE membrane filter placed on a new 50-milliliter centrifuge tube called TUBE 2 [1-TXT]. Add 1 milliliter of VB to the emptied TUBE 1, vortex [2], and pass it through the same MCE filter placed on TUBE 2 [3].

    - Talent filtering tube 1 content into labeled tube 2. TEXT: MCE: mixed cellulose ester

    - Talent adding VB in emptied tube 1.

    - Talent filtering tube 1 content into tube 2.

  - Pass 23 milliliters of filtrate from TUBE 2 through a sterile 0.45-micrometer PVDF filter placed on a new 50-milliliter centrifuge tube labeled TUBE 3 [1]. As described before, repeat the washing of TUBE 2 with 1 milliliter of VB to add filtrate to TUBE 3 [2].

    - Talent filtering content of tube 2 into tube 3.

    - Talent vortexing tube 2 and filtering content in tube 3.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 66. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Microscopic Analysis of Vero Cells Infected with oHSV

  - In the representative analysis, the cytopathic effect could be observed in Vero cells at 36, 48, and 72 hours post-oHSV infection [1] with the rounding of the affected cells [2].

    - LAB MEDIA: Figure 2.

    - LAB MEDIA: Figure 2. Video Editor: Emphasize black arrows from the left panel.

  - When stained with mCherry, the increasing level of the CPE over time was evident [1].

    - LAB MEDIA: Figure 2. Video Editor: Emphasize middle panel.

  - At 72 hours post-infection, viral plaques were stained with X-gal to visualize oHSVs with lacZ expression [1].

    - LAB MEDIA: Figure 4.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.