- 62679_screenshot_1.1‏‏

- 1.1. (Open the URL address: https://mega.nz/folder/bKZhmY4I#4WAaec4biiGt4_1lJlL4WA, find the SOA.zip zipped folder, and download the ZIP file by double-clicking.) 00:00-00:40.

- 62679_screenshot_1.2

- 1.2. (Unzip the folder by right-clicking on SOA.zip and choose Extract Files. Observe the Extraction Path and Options window that opens and the Destination Address text box that displays the path for the extracted files. To extract to a different location, click on one of the folders in the window's right panel to make it the destination folder. Click OK to extract the files to that folder.) 00:00-00:20.

- 62679_screenshot_1.3

- 1.3. (Open the extracted SOA file and double-click on SOA.exe. Wait for a black window to open, after which the application will appear.)  00:00-00:08.

- 62679_screenshot_2

- 2.1. (In the SOA Viewer Upload menu bar | select Choose File | choose an image from the computer files | click on it (.png .jpg .tif .bmp files only) | Open | observe the path of the file | Next.)  00:00-00:18.

- 62679_screenshot_3

- 3.1. (In Edges, adjust the threshold for the display by selecting the Threshold and entering a number.)  00:00-00:05.

- 3.2.1. (Adjust the minimum distance to merge for the display by selecting the Min distance to merge and entering a number.) 00:05-00:07.

- 3.2.2. (Adjust the minimum angle to merge for the display by selecting the Min angle to merge and entering a number.) 00:07-00:10.

- 3.3. (Click on Create Preview Segmentation Image.) 00:10-00:20.

- 3.4. (Change the parameters to achieve maximum identification of segments. If there is a need to change the Properties, click on the Close window button and follow steps 3.1–3.4.) 00:20-00:46.

- 62679_screenshot_4

- 4.1. (Press OK to visualize the segmentation images and the analyzing graphs. Observe the window that appears for selecting a location where the .xlsx file will be saved.) 00:00-00:06.

- 4.2. (insert a file name | Choose Save | wait for the .xlsx file with data to be created and saved.) 00:06-00:25.

- 62679_screenshot_5.1-5.4

- 5.1. (To navigate back and forth between previously defined views, use the Forward and Back buttons.) 00:44-00:58.

- 5.2. (Use the Zoom button to pan and zoom. To activate panning and zooming, press the Zoom button, then move the mouse to a desired location in the image.)  00:00-00:44.

- 5.2.1 (To pan the figure, press and hold the left mouse button while dragging it to a new position. Release the mouse button, and the selected point in the image will appear in the new position. While panning, hold down the x or y keys to restrict the motion to the x or y axes, respectively.) 00:58-01:15.

- 5.2.2 (To zoom, hold down the right mouse button and drag it to a new location. Move right to zoom in on the x-axis and move left to zoom out on the x-axis. Do the same for the y-axis and up/down motions. When zooming, note that the point under the mouse remains stationary, allowing to zoom in or out around that point. Use the modifier keys x, y, or CONTROL to limit the zoom to the x, y, or aspect ratio preserve, respectively.) 00:00-00:44.

- 5.3. (To activate the Zoom-to-rectangle mode, click the Zoom-to-rectangle button. Place the cursor over the image and press the left mouse button. Drag the mouse to a new location while holding the button to define a rectangular region.) 00:00-00:44.

- 5.4. (Use the Subplot-configuration tool to configure the appearance of the subplot.) 01:15-01:48.

- 62679_screenshot_5

- 5.5. (To open a file save dialog, click the Save button and save the file in the following formats: .png, .ps, .eps, .svg, or .pdf.) 00:00-00:56.