4.1.1.	Selecting US Acquisition and allowing the instrument to initialize. 00:01-00:44

4.1.2.	Entering the name for the study in the dialog box. 00:03-00:12

4.1.3.	Entering the animal ID in the dialog box. 00:03-00:10

4.1.4.	Clicking on the tab labeled 3D. 00:03-00:09

4.2.1.	Moving the ROI box to contain the kidneys. 00:03-00:13

4.2.2.-4.2.4	Selecting Linear Array or Wobbler. 00:02-00:09

Selecting Fast Scan or Optimized. 00:02-00:09

Clicking on Live View to see the live image of the desired viewing area. 00:10-00:19

4.3.1.	Clicking on the Go To button and then clicking on the area to be imaged. 00:03-00:19

4.3.2.	Adjusting the transducer positions. 00:02-00:10

4.3.3.	Clicking on the arrow at the side of the Control Panel to open the Settings Tray 00:04-00:08

4.4.1.-4.4.3	Clicking on Scan Protocol and opening scanning settings. 00:02-00:04

Determining  ideal focal depth/adjusting sliders for TGC to change contrast.00:05-00:50

**NOTE: Multiple focal zones can give a better quality image. We have found that 3 works quite well for imaging the kidney.

Clicking on the arrow to close the Settings Tray. 00:51-00:59

4.5.1.	Pressing the Acquire Static button. 00:02-01:06

4.5.2.-4.5.3	Clicking on the blue download arrow and opening scan in Preview Mode.00:02-00:06

Dragging the red arrow to move through the 3D frames of the scan. 00:06-00:22

4.6.1.	Zooming in/out of the scan using the Ctrl and the scroll button. 00:02-00:10

4.6.2.-4.6.4	Clicking on the M Mode tab to activate cardiac imaging. 00:01-00:03

Pushing the Heart Finder button to locate the heart. 00:03-00:42

Using the Go To button to move the transducer to the left ventricle. 00:43-00:53

4.7.1.-4.7.3	Using Live View and the arrow buttons to place the transducer between the papillary muscles. 00:02-00:18

Opening the live M Mode trace to verify the proper placement of the transducer. 00:18-00:22 (This step isn’t necessary anymore – software updates now show trace in live view)

Clicking on Acquire Sequence and then on the blue download arrow to view the completed scan. 00:22-00:35

5.1.1.-5.1.3	Moving the colored lines to find the kidney in all the planes. 00:02-00:10

Clicking on Add and providing a markup name for the file. 00:11-00:20

Adding points around the outer edge of the kidney using the Surface Cut. 00:21-00:56

5.2.1.-5.2.3	Clicking on Apply. 00:01-00:05

Scrolling through different frames and clicking on Edit. 00:06-02:30

Dragging the points to correct locations. 00:06-02:30

(Note: 5.2.1/5.2.3 happen simultaneously)

5.3.1.-5.3.3	Tracing the systole and diastole using the Point Placement tool. 00:01-01:15

Using Edit to modify the traces. 01:19-01:39

Selecting Apply to calculate cardiac parameters. 01:40-01:42

5.3.4.	Viewing the Quantify tab and selecting Export Statistics to export all data. 00:01-00:12