Response to Reviewers JOVE manuscript JoVE62686

All comments are listed below in black and our responses in red. 

We thank the editor for their helpful suggestions, which resulted in a much-improved manuscript. 

Editorial comments:
Changes to be made by the Author(s):

1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. Please define all abbreviations at first use.

We defined antifreeze proteins (AFPs) after first use (line 50). We also corrected few grammar issues.

2. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.
For example: AutoCAD, ABAQUS, Keysight datalogger; BenchVue or BenchLink, Camera Control Pro 2, TRH Central – Omega Engineering Inc.; Teflon; Styrofoam; Omega Inc., ISCO pump etc

We replaced all commercial language in the main text and in figures with generic terms.

3. Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a “Note.” However, notes should be concise and used sparingly. Please include all safety procedures and use of hoods, etc.

We adjusted the language in several steps. We reduced our number of “Notes” to seven. We included additional safety procedures.

Line 117 in clean version: STEP 3.1. “As methane is a flammable gas under pressure, keep all methane-related tubing and vessels away from heat, sparks, open flame, and hot surfaces. Set all equipment up inside a well-ventilated area (e.g. fume hood). Don safety glasses and lab coat before working with methane gas.”

Line 137 in clean version: STEP 3.8 “As ethylene glycol is hazardous, use appropriate safety attire, including gloves, lab coat, and goggles when pouring.”

Line 189 in clean version: STEP 3.18 “Elevate all electronics from the hood surface to prevent potential leak damage. Double check that power is distributed for power capacity of outlets.”

Line 232 and 305 in clean version: STEP 4.11.1 and 5.6.1 “Don safety glasses before pressurizing the pressure cell.”

4. After including a one line space between each protocol step, highlight up to 3 pages of protocol text for inclusion in the protocol section of the video. This will clarify what needs to be filmed.

Line spacing setting was switched to “don’t add spacing between paragraphs” and then a single space was added between each step. Step 4 was highlighted to clarify what needs to be filmed.

5. Please include a scale bar for all images taken with a microscope to provide context to the magnification used. Define the scale in the appropriate Figure Legend (fig 3).

We added a description of the scale in the caption of Figure 3. Figure 3 has a scale bar of 5 mm.

6. Please rearrange the panels of Fig 2 so that it’s easier to follow the sequence.

We rearranged the panels in Fig 2 and deleted superfluous panels so that the image is easier to follow. We reflected these changes in figure calls throughout the text.

7. Please add legends of all supplemental figures, videos (supplemental or otherwise), and tables (supplemental or otherwise) to the figure and table legends section.

Done!

8. As we are a methods journal, please add any limitations of the technique to the Discussion.

We added additional limitations to this method.

Line 484 in clean version: “There are a few limitations in using this method. One limitation is the resolution of droplet imaging due to the camera resolution and materials between the camera and droplet (tank, ethanol solution, thick sapphire window). Additionally, while other studies observe the surface droplet on a microscale7,9,10, this method only allows for macro-scale observations. A microscope lens attachment could be installed if there was interest in micro observations. Another limitation to this method is not being able to precisely measure the hydrate shell thickness. However, we can estimate hydrate thickness by subtracting the cross-sectional area before and after hydrate formation, as well as calculate the gas consumption using the change in temperature during depressurization to determine the volume of hydrate formed. Another limitation is that we are not able to view this droplet in 3D because there is only one side of the pressure cell containing a sapphire window, whereas other studies have machined completely sapphire cells to observe the droplet7. We also did not install a temperature-controlling stage10 or spectroscopic techniques, but these could certainly be installed using this setup.”

9. Please include a Disclosures section, providing information regarding the authors’ competing financial interests or other conflicts of interest. If authors have no competing financial interests, then a statement indicating no competing financial interests must be included.

Done!

10. Please sort the Materials Table alphabetically by the name of the material.

We alphabetized the name of materials by section and within sections.

11. Please ensure that the references appear as the following: [Lastname, F.I., LastName, F.I., LastName, F.I. Article Title. Source (ital.). Volume (bold) (Issue), FirstPage–LastPage (YEAR).] For more than 6 authors, list only the first author then et al. Please include volume and issue numbers for all references, and do not abbreviate journal names.

We corrected the formatting of the Endnote references.
____________________________________
Reviewers' comments:
Reviewer #1:
Manuscript Summary:
The authors are describing a method to form methane hydrate shells on water droplets. They provide a step by step description for building a pressurized cell in which hydrate. crystal are formed on the surface of a sessile drop.

We thank Reviewer 1 for their helpful suggestions, which resulted in a much-improved manuscript. 

Major Concerns:
The authors claim that using this method the morphology of the hydrate can be detected. It is not clear how.

This is a great point - we included an additive (Type I AFP) to show the morphologic difference between control and additive in Fig. 3 and explained the effects in the results section.

Moreover, the viewing window is only showing a 2D image of the drop. How are they compensating for that in the analysis?

Another excellent observation – through time-lapse imaging, we can visualize the surface of the hydrate from viewing window.  To show how morphology can be altered with additives using only a 2D approach, we included images of the Type I AFP treatment in Fig. 3. We also discussed measuring hydrate thickness using the cross-sectional area of the droplet, as well as measuring gas consumption to predict the volume of hydrate formed.

Line 489 in clean version: “Another limitation to this method is not being able to precisely measure the hydrate shell thickness. However, we can estimate hydrate thickness by subtracting the cross-sectional area before and after hydrate formation, as well as calculate the gas consumption to determine the volume of hydrate formed.”  

Minor Concerns:
It will be beneficial to add a bit more analysis to the results. For example, what kind of information can we get from the pressure read. Also, since the authors mentioned the use of this system to determine effectivity of inhibitors they should comment on how the procedure should be conducted.

We agree! Per reviewer #2’s suggestion, we added instructions for measuring hydrate thickness by comparing the droplet cross-sectional area before and after hydrate formation.

Reviewer #2:
Manuscript Summary:
The manuscript portion reads very well and presents sufficient background information that supports the ensuing discussion and description of the pressure vessel and methodology. In some respects the sapphire-plate optical cell described here is similar to some of the optical cells designed and made by Uri Makogon, but the authors do mention that many other pressure vessels are (and have been) used by others, and the placement of the window and specific design application of this cell make it notable. The detailed description of protocols, methodology, CAD designs, and equipment list is extremely thorough and will be useful for gas hydrate researchers who choose to build a similar cell. The occasional casual comment ("Buy three so there are two backups") offers practical information not ordinarily provided in reports. The overall pressure cell design and apparatus lay-out are very clearly shown here and the videos obviously speak to the success of the design and methodology. The figures (and tables) are well organized and clearly convey the necessary information.

Overall this is an excellent methods article. From the perspective of presenting a thorough description of methodology and instrument design, the current report reads fine as is. Some comments that the authors might want to address are listed below.

We thank Reviewer 2 for their helpful suggestions, which resulted in a much-improved manuscript.

Major Concerns:
None.

Minor Concerns:
* Line 38. Suggest starting the sentence with "Gas hydrates, also called clathrate hydrates, are…." Or similar. The terms "methane hydrate" and "methane clathrate" are used interchangeably throughout the text and figure captions, and I wouldn't presume that all of your audience will know that they're the same thing. Alternatively, the authors could leave the opening sentence as is and just use one term ("methane hydrate" or "methane clathrate") consistently throughout.

We left the first line as is and consistently used “hydrate” throughout. We changed the figure 4 legend to “hydrate stability curve”.

* Line 49. Add "(AFPs)" after "antifreeze proteins", as the acronym is used later in line 57.

Done!

* Line 58. Shouldn't "polyPVP" just say "PVP"? (Isn't "poly" redundant here?)

Yes, thank you. This has been changed.

* Line 428. Check wording ("…and memory effect elimination potential of additives…")

We adjusted this wording to flow better.

Line 504 in clean version: “This method can be used to quickly assess the effect of additives on the dissociation temperature and morphology, and the ability of additives to eliminate memory effect”

* In Figure 3a, perhaps add a couple of words (such as "edge of window" or "edge of acrylic disc", and "droplet" or similar) and arrows to make it immediately apparent which surface corresponds to the droplet. To a first-timer looking at these images, it's easy to mistake the window edge (or disc) for the surface of the drop, because the portion of the image between the window (or disc) and the droplet surface looks quite like a partial coating. It's difficult to judge depth in any of the photos or videos, and simply pointing out what's what in Fig 3a would help prevent any confusion.

Great idea! We added labels in Fig 3a to avoid first-timer confusion. 

* Somewhere in the "Representative results" section, it should be noted what the vertically-curved light-colored streaks are, that are inside the drop at the end of the dissociation video (Vid 3), and at the start of the memory-effect video (Vid 4) when the droplet is pure liquid at the start. I viewed both videos several times and still don't have a clear idea of what the "streaks" are.

Great point! These “streaks” are gas bubbles, which form during depressurization.  We added an explanation in the results.

Line 402 in clean version: “Upon depressurization below 2 MPa, we observed gas bubbling within the droplet from rapid degassing.”

Line 352 in clean version:  STEP 5.9: “Bubbling in the sessile droplet may occur due to dissolved gas escaping.”

* Is the pressure vessel itself 316? I don't see it specified. I would assume 316 for optimal corrosion resistance, or perhaps 304 for easier machining. Section 1.1.2 ("Pressure cell design and validation") assigns 301 for analysis (why 301?). Later in the Table of Materials, many of the tubing, tube fittings, nuts, screws, etc., are listed as 316 or 316L.

You’re correct! It's actually stainless steel 316 rather than 301. We fixed this.

* The authors state that one limitation of the cell is the inability to measure the thickness of the hydrate film (Lines 416-417). This is indeed a limitation as even incipient development of a shell obscures any visual observation of what happens underneath. (In this regard, a high-pressure optical cell based around a Si capillary tube like those designed by I-M Chou et al., that allows for direct loading of fluids and that has almost no optical distortion is quite helpful as one can continually observe what happens within the liquid phase after the hydrate coating forms. But that is not the same as observation of hydrate films on a sessile water droplet.) I would think that if the cross sectional area of the droplet was measured precisely, and assuming the initial mass of H2O in the droplet was known, that a good approximation of the shell thickness could be easily calculated from the cross-sectional change from start to finish simply based on the known densities of liquid water (1.0 g/cm3) versus the density of an empty hydrate lattice (~0.79 g/cm3 at T near 0°C). That's just over 20% volumetric expansion that attends methane clathrate formation from liquid water, i.e. easily visible. The dendritic "whiskers" forming along the right-hand side of the droplet would slightly complicate the calculation, but those whiskers are extremely fine and I doubt would change the calculation significantly manner. An additional assumption would be that the diameter of the droplet is essentially uniform, which is not easily verified by imaging in one plane only as here, but again likely wouldn't change the calculation significantly. Determining extent of reaction (and by correlation shell thickness if hydrate formation only occurs on the surface of droplets) through visual assessment of volume change might be problematic for very thin shells, but could be quite useful for experiments in which reaction is planned to continue for longer periods of time, for instance in determining time to, say, 25% or 50% conversion of water to hydrate in the presence of any given (or no) additives.

This is a great idea! We added this method for estimating hydrate thickness to our discussion.

Line 489 in clean version: “Another limitation to this method is not being able to precisely measure the hydrate shell thickness. However, we can estimate hydrate thickness by subtracting the cross-sectional area before and after hydrate formation, as well as calculate the gas consumption to determine the volume of hydrate formed.”

* Once the hydrate rind forms, how is the reaction expected to proceed from there? By gas diffusion (and diffusion limited) through the outer hydrate shell? By migration of either gas or liquid through microcracks that should presumably form as a result of the volume change that attends reaction? In the videos, it appears that the shell forms first (and develops a bit thicker) on the left-side of the droplet, which may explain why the dendritic whiskers of hydrate form more at the right side of the droplet, if water was expelled after partial development of the shell. With the exception of the brief mention of Ostwald ripening (observed by Chen et al), the subject of nucleation and subsequent growth is notably missing.
Given that this is a methods article I would not expect an in-depth discussion of the methane hydrate formation process on sessile water drops, but even one or two sentences that discuss the author's thoughts on the hydrate formation process could be helpful and would speak to additional uses of the apparatus.

Great point! We believe both processes could be happening here, which we summarized in the discussion.

Line 469 in clean version: “The hydrate shell forms upon rapid temperature decrease with the addition of dry ice to the top of the pressure cell. We allow the shell to form for 2 hours, during which we believe gas permeates through stochastic cracking of the hydrate shell, as well as Ostwald ripening over a longer time period. Indeed, this device could be used to study these phenomena.”

Reviewer #3:
Manuscript Summary:
A protocol is presented for the formation of methane-hydrate on sessile water drops, which can assist other scientists in performing this type of experiments.
We thank Reviewer 3 for their helpful suggestions, which resulted in a much-improved manuscript.

Minor Concerns:
Subsection 1.12 - Isn't treating it as a static problem a rigorous approach?
What is the timescale of "slow pressure changes"?

International codes for pressure vessels using austenitic stainless steel (300 series group) allow static analysis with recommended factors of safety (FS). For instance, ASME Section VIII Divisions 1 recommends FS=3.5 tensile strength and FS=1.12 yield strength for elastic analysis; ASME Section VIII Divisions 2 recommends FS=2.4 tensile strength for locally elastic-plastic analysis; EN 13445 recommends FS=3 tensile strength; Japanese codes on boilers and pressure vessels are developed largely based on ASME codes and with the same FS values. The pressure validation simulation complies with these codes.