# Submission ID #:  62686

# Scriptwriter Name: Domnic Colvin

# Supervisor Name: Anastasia Gomez

# Project Page Link:  https://www.jove.com/account/file-uploader?src=19119278

# Title:   Methane Hydrate Crystallization on Sessile Water Droplets

# Authors and Affiliations:

Abigail Johnson1, Yumeng Zhao2, Jongchan Kim2, Sheng Dai2, Jennifer Glass1

1Environmental and Atmospheric Sciences, Georgia Institute of Technology, Atlanta, GA 30332, USA

2Civil and Environmental Engineering, Georgia Institute of Technology, Atlanta, GA 30332, USA

☐   All author names and affiliations are correct.

# Corresponding Authors:

Jennifer Glass 			(Jennifer.Glass@eas.gatech.edu)

Sheng Dai			(Sheng.Dai@ce.gatech.edu)

# Email Addresses for All Authors:

# abigail_johnson@gatech.edu

# ymzhao@gatech.edu

# geotechjongchan@gatech.edu

# Jennifer.Glass@eas.gatech.edu

# Sheng.Dai@ce.gatech.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  27

Number of Shots:  65 (40 + 25 SC)

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Preparing the Equipment

  - Begin by connecting the methane cylinder regulator to the pump with the 1-by-4-inch copper pipe using a new nut and ferrule set [1-TXT].

    - Talent connecting the methane cylinder regulator with copper pipe. CAUTION: Ensure gas cylinder is closed

  - Glue a flexible tip of IV tubing, cut at an angle, to the end of the cannula to help direct the droplet toward the sapphire window [1]. Attach a 1-milliliter syringe to the cannula [2] and pull in the desired volume of deionized water [3-TXT].

    - Talent gluing the flexible tip of IV tubing to the cannula.

    - Talent attaching a syringe to the cannula.

    - Talent pulling deionized water in the syringe. TEXT: ~50–300 µL

  - Without the needle valve or sapphire window attached, insert the end of the cannula into the top port [1] and practice expelling the droplet onto the center stage [2].

    - Talent inserting the end of cannula into the top port.

    - Talent practicing expelling the droplet onto the center stage.

  - Reattach the sapphire window and washers with M8 screws [1]. Connect the braided stainless-steel hose from the pressure pump to the pressure cell [2] and double-check that all connections from the gas cylinder to the pressure cell are tight [3].

    - Talent reattaching sapphire window and washers with M8 screws.

    - Talent connecting the braided stainless-steel hose from pressure pump to cell.

    - Talent checking all the connections.

  - Open the pressure cell inlet valve [1] and set the pressure cell in the aquarium [2], then insert a fiber optic light source cable into the pressure cell illumination port [3].

    - Talent opening the pressure cell inlet valve.

    - Talent setting the pressure cell in the aquarium.

    - Talent inserting a fiber optic light source into the pressure cell illumination port.

  - Add a 50-by-50 ratio of ethanol and water to the aquarium until it is level with the top of the pressure cell, just below the light source connection [1]. Add more ethanol as the solution level falls in the following weeks [2-TXT].

    - Talent adding ethanol and water in the aquarium.

    - Talent adding more ethanol in the aquarium to make up the volume. TEXT: Replace solution monthly

  - Set the chiller to the temperature that will achieve approximately 0 to minus 3 degrees Celsius inside the cell and start circulating through coils [1]. Turn on the airflow to the front of the aquarium to prevent condensation on the aquarium surface [2].

    - Talent setting the chiller temperature.

    - Talent turning on the air flow to the front of aquarium.

  - Start a temperature log in the data logger software [1]. Set the scanning interval to 30 seconds and wait until the temperature inside the pressure cell is stable at 2 degrees Celsius [2].

    - SCREEN: Starting temperature log in the software.

    - SCREEN: Setting the scanning interval.

Authors: Please create screen capture videos of the shots labeled SCREEN and upload them to your project page: https://www.jove.com/account/file-uploader?src=19119278

- Adding Water Droplet into the Pressure Cell Using Camera View on the Laptop

  - Turn on the light source to approximately 80% [1] and open the camera software [2]. In live view, focus the camera lens at the cell’s inner chamber and adjust the light source for best imaging [3]. Start a new temperature log with a 1 second scanning interval [4].

    - Talent turning on the light source.

    - SCREEN: Opening of camera software. Videographer: Obtain a few shots of talent clicking the mouse and typing on the keyboard to use as b-roll throughout the video.

    - SCREEN: Adjustment of camera lens and light source.

    - SCREEN: Starting new temperature log with 1 second scanning interval.

  - If attached, detach the outlet needle valve in the top port of the pressure cell [1]. Attach a 1-milliliter syringe to the cannula [2] and pull in the desired volume of deionized water [3-TXT].

    - Talent detaching the outlet needle valve.

    - Talent attaching syringe to the cannula.

    - Talent pulling in deionized water in syringe. TEXT: ~50–300 µL

  - Insert the cannula through the top port until the tip is visible in the camera software in live view mode [1]. Expel the fluid droplet from the syringe over the central thermocouple [2], then reattach the needle valve [3].

    - Talent inserting cannula through the top port. Videographer: Also take a shot of computer screen showing the cannula tip in the camera software.

    - Talent expelling the fluid droplet from the syringe over central thermocouple.

    - Talent reattaching the needle valve.

  - Focus the camera on the droplet in the pressure cell [1]. Begin time-lapse imaging every 60 seconds [2].

    - SCREEN: Focusing the camera on the droplet in pressure cell.

    - SCREEN: 60 seconds Time-lapse imaging.

  - Open the pressure transducer software on the laptop [1]. Start collecting data on the chart and the data log at a scanning interval of 1 second and wait until the droplet temperature is stable between 0 to 3 degree Celsius [2].

    - SCREEN: Opening the pressure transducer software.

    - SCREEN: Data collection.

- Pressurizing the Pressure Cell

  - Turn on the pump and the controller [1]. Close the pressure pump’s inlet valve [2]. Open the pump’s outlet valve and the pressure cell’s valves [3].

    - Talent turning on the pump and the controller.

    - Talent closing the pressure pumps inlet valve.

    - Talent opening pump’s outlet valve and pressure cell valves.

  - Tare the pump pressure by pressing Zero on the pressure pump controller [1]. Select Pump A on the pressure pump controller to monitor the pressure [2].

    - SCREEN: Pressing Zero on the pressure pump controller. Authors: Will you be able to acquire screen capture videos for the pressure pump controller?

    - SCREEN: Selecting Pump A.

  - Ensure that the pressure pump is empty if a different fluid other than methane gas was present in the pump. Do this by setting the max flow and Const Flow to 100 milliliters per minute and pressing Run. Leave it running until the pump is empty [1]. Close the pump outlet valve [2] and open the pump inlet valve [3].

    - SCREEN: Setting the flow to ensure the pressure pump is empty.

    - Talent closing the pump outlet valve.

    - Talent opening the pump inlet valve.

  - Open the gas cylinder [1] and set the gas cylinder regulator to 1,000 kilopascals [2]. Press Refill on the pressure pump controller [3]. When the pump is full and near 1,000 kilopascals, close the pump inlet valve and the gas cylinder [4].

    - Talent opening the gas cylinder.

    - Talent setting the gas cylinder regulator.

    - SCREEN: Pressing refill.

    - Talent closing the pump inlet valve and gas cylinder.

  - Slightly open the pump outlet valve to the cell [1]. Monitor the pressure cell pressure in the pressure transducer software as it may decrease due to the relatively lower temperature in the pressure cell [2].

    - Talent opening the pump outlet valve.

    - Talent monitoring the pressure cell pressure.

  - Set the max flow to 10 milliliter per minute by pressing Limits. Then, press 3 for max flow and 1 to set max flow. Put in 10 and press Enter [1]. Similarly, set the max pressure to 5,000 kilopascals on the pressure pump controller by pressing Limits, 1, entering 5000, and pressing Enter [2].

    - SCREEN: Setting the max flow.

    - SCREEN: Setting the max pressure.

  - Set the constant pressure to 1,000 kilopascals on the pressure pump controller by pressing Constant Pressure, A, entering 1000, and pressing Enter. Then, press Run [1].

    - SCREEN: Setting the constant pressure.

  - When 1,000 kilopascals is reached, press Stop on the pump controller [1] and close the pump’s outlet valve [2]. Monitor the pressure in the pressure cell to ensure there are no leaks. If the pressure drops, use the liquid leak detector to find the leak at the connections [3] and carefully tighten the leaking components [4].

    - SCREEN: Stopping the pressure controller.

    - Talent closing the outlet valve.

    - Talent observing leaks with liquid leak detector.

    - Talent tightening the leaking components.

  - If the cell is stable, open the pump outlet [1] and set the Constant Pressure gradually to 2,000, 3000, 4000, and 5000 kilopascals, monitoring the cell stability by pressing Stop after each setting [1].  If the pressure is stable, close the pump outlet and wait for around 12 to 24 hours for the gas to permeate the droplet [2].

    - Talent opening the pump outlet.

    - SCREEN: Gradually increasing constant pressure.

    - Talent closing the pump outlet.

  - Switch the time-lapse to take images every 2 to 5 seconds [1]. Add dry ice to the top of the cell until the hydrate shell is seen in time-lapse. If the dry ice slides, affix tape around the top of the cell [2]. Observe the progress of the methane hydrate formation through time-lapse photos for 2 to 6 hours [3].

    - SCREEN: Switching of time lapse imaging to 2-5 seconds.

    - Talent adding dry ice to the top of the cell.

    - SCREEN: Progress of methane hydrate formation seen in photos.

  - Depressurize the cell to 2,000 kilopascals by opening the pump outlet and setting the Constant Pressure to 2,000 kilopascals, noting when melting occurs [1].

    - SCREEN: Depressurizing the cell to 2000 kPa.

  - After 30 minutes, repressurize the pressure cell to 5,000 kilopascals to observe the memory effect [1]. Note when a hydrate shell begins to reform and allow the shell to form for 30 minutes to 2 hours [2].

    - SCREEN: Repressurizing the cell to 5000 kPa.

    - SCREEN: Re-formation of hydrate shells.

  - Depressurize the cell by opening the pump outlet and setting the Constant Pressure to 0 kilopascals. If there is residual pressure in the pressure cell, slightly open the pressure cell top valve by one sixteenth inches [1]. Save the pressure and temperature data as .csv files [2].

    - SCREEN: Depressurizing the cell to 0 kPa.

    - SCREEN: Saving the data files.

Authors: Please create screen capture videos of the shots labeled SCREEN and upload them to your project page: https://www.jove.com/account/file-uploader?src=19119278

  - Remove the droplet by removing the top pressure cell valve and extracting the droplet with the syringe, cannula, or IV tube. Follow the directions in the text manuscript if there is a concern for contamination between trials [1].

    - Talent removing the top pressure cell valve to remove the droplet.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 169. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Representative Images of Methane Hydrate Shells and Analysis of Pressure-temperature Stability Diagram

  - There is a clear morphologic difference upon dry ice-forced hydrate shell formation where the water droplet transitioned from a smooth, reflective surface [1] to an opaque hydrate shell with a slightly dendritic surface [2].

    - LAB MEDIA: Figure 3A.

    - LAB MEDIA: Figure 3B.

  - The addition of 100 micrograms per milliliter Type I (type-one) antifreeze-proteins altered the hydrate morphology by inducing ridged edges along the droplet and protrusions from the top of the droplet [1].

    - LAB MEDIA: Figure 3C and 3D.

  - After the hydrate shell developed for around 1 hour, the cell was depressurized to 2 Megapascals [1], leading to a 0.2-to-0.5-degree Celsius drop in temperature near the P/T (P-T) stability curve due to exothermic hydrate dissociation [2-TXT].

    - LAB MEDIA: Supplemental Video S3.

    - LAB MEDIA: Figure 4. TEXT: P/T- pressure by temperature.

  - Hydrate dissociation was confirmed by visual melting through time-lapse imaging at the beginning of the decrease in temperature [1]. Negative controls with no droplet and with a droplet that did not form a hydrate shell showed no decrease in temperature during depressurization [2].

    - LAB MEDIA: Figure 4. Video editor: Focus on the stars.

    - LAB MEDIA: Figure 4. Video editor: Focus on the trials 4 and 5.

  - Because the apex of each temperature decrease was above the previously established P/T stability curve [1], a regression curve was calculated based on the apex P/T of these trials [2].

    - LAB MEDIA: Figure 4. Video editor: Focus on the hydrate stability curve #1 shown in dark black line.

    - LAB MEDIA: Figure 4. Video editor: Focus on the hydrate stability curve #2 shown in dotted line.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.