Submission ID #:  62696

Scriptwriter Name: Mithila Boche

Supervisor Name: Anastasia Gomez

Project Page Link: https://www.jove.com/account/file-uploader?src=19122328

Title:   Quantitative 31P NMR Analysis of Lignins and Tannins

Authors and Affiliations:

Nicolò Pajer1, Claudia Crestini1, Dimitris S. Argyropoulos2

1Department of Molecular Sciences and Nanosystems, Ca’ Foscari University of Venezia

2Department of Chemistry and Forest Biomaterials, North Carolina State University

Corresponding Authors:

Claudia Crestini		claudia.crestini@unive.it

Dimitris S. Argyropoulos	dsargyro@ncsu.edu

Email Addresses for All Authors:

nicolo.pajer@unive.it

claudia.crestini@unive.it

dsargyro@ncsu.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes. Done

3. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations? 50 m

Current Protocol Length

Number of Steps:  13

Number of Shots:  23

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Claudia Crestini: Quantitative 31P NMR represents one of the most significant breakthroughs in lignin and tannin analytical chemistry during the last three decades.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Nicolò Pajer: This technique offers fast, reliable, and quantitative information for the various hydroxyl groups in the sample. Suggested B-roll: 3.1.1 for ‘groups in the sample’

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL:

  - Claudia Crestini: This NMR method is of tremendous value in understanding the structure of lignins and tannins. It has also been applied to a variety of other systems that have reactive hydroxyl groups.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: LAB MEDIA: Figure 2 for ‘structure of lignins’ and LAB MEDIA: Figure 1 for ‘reactive hydroxyl groups’

# Protocol

- Sample Pretreatment and NMR Sample Solution Preparation

  - Begin by pretreating 100 milligrams of the lignin or tannin sample by drying overnight in a vacuum oven at 40 degrees Celsius [1].

    - WIDE: Talent placing the sample in a vacuum oven.

  - After drying, rapidly transfer the sample to an anhydrous calcium sulfate desiccator until it reaches room temperature [1].

    - Talent placing the sample in a desiccator.

  - To prepare the sample for NMR spectroscopy, accurately weigh 30 milligrams of the sample in a 2-milliliter vial equipped with a stirring bar [1]. Next, add 500 microliters of the freshly prepared solvent solution to the sample vial [2] and seal the vial with a septum cap [3]. Videographer: This step is important!

    - Talent weighing the sample in a vial.

    - Talent adding solvent system solution to the sample vial.

    - Talent sealing the vial.

  - Using a micropipette, add 100 microliters of the internal standard solution to the sample vial [1]. Then, magnetically stir the resulting dispersion at 500 rotations per minute [2]. Videographer: This step is important!

    - Talent adding the internal standard solution in the sample vial.

    - Talent placing the vial on a magnetic stirrer/ the vial on a magnetic stirrer.

  - When the sample is completely dissolved, transfer 100 microliters of tetramethyl dioxaphospholane (di-oxa-phospholane), or TMDP, to the clear sample solution while working under the hood [1-TXT] and seal the sample solution before placing the sample for vigorous magnetic stirring [2].  Videographer: This step is important!

    - Working under the hood, talent adding TMDP to the clear sample solution. TEXT: TMDP is corrosive, rapidly interact with water

    - The vial on the magnetic stirrer.

  - Using a Pasteur pipette, transfer the sample solution into an NMR tube for the analysis [1]. If a yellow precipitate is observed in the sample, repeat the procedure by ensuring all possible moisture contamination is avoided [2-TXT]. Videographer: This step is important!

    - Talent transferring the sample solution into an NMR tube.

    - A yellow precipitate in the vial. TEXT: Refer to text for details

- NMR Analysis and Spectrum Processing

  - Load the sample tube [1] into the NMR instrument equipped with a broadband probe [2] and set the experimental parameters [3-TXT].

    - WIDE: Talent loading the samples into the NMR instrument.

    - Talent at the computer opening the software. Videographer: Obtain a few shots of talent clicking the mouse and typing on the keyboard to use as b-roll throughout the video.

    - SCREEN: SCREEN 1.mp4. 0:02- 0:14; 0:23-1:36. TEXT: Refer to Table 1 Video Editor: Highlight the sample name being entered at 0:04. Speed up from 0:05 to 0:14. Highlight ‘AcquPars’ and ‘Spectrum’ tab being clicked at 0:24 and 0:43, respectively. Speed up the footage.

  - Using the resonance frequency of deuterated chloroform, set the frequency in the spectrometer [1]. Shim the sample [2] and tune the spectrometer before starting the acquisition [3].

    - SCREEN: SCREEN 2.mp4. 0:02-0:16. Frequency being set. Video Editor: Highlight the text being entered between 0:02-0:03. Feel free to speed up till 0:16

    - SCREEN: SCREEN 3.mp4. 0:02-0:12; 0:27-0:30; Video Editor: Highlight the ‘Topshim’ tab being clicked at 0:03. Speed up the footage between 0:03-0:12. Emphasize ‘Report’ tab being clicked at 0:29.

    - SCREEN: SCREEN 4.mp4 0:17-0:20; 1:12-1:15.

  - Start processing raw data from 31P NMR (P-31-NMR) spectroscopy by performing Fourier transformation. Adjust Phase by manual phase correction by expanding the Processing tab and selecting Phase Correction and Manual Correction [1].

    - SCREEN: SCREEN 5.mp4 0:02-1:06. Processing tab being opened, Phase Correction selected. Video Editor: Highlight tab being clicked at 0:03 and multiple tabs being clicked between 0:35-0:40. Speed up the footage.

  - Correct baseline manually by carefully setting zero points after clicking Processing and selecting Baseline and Multipoint Baseline Correction [1].

    - SCREEN: SCREEN 6.mp4. 0:06-0:58. Processing and Baseline tabs selected; zero points being set in Multipoint Baseline Correction. Video Editor: Speed up the footage between 0:16-0:58.

  - For signal calibration, set the signal for the phosphitylated water at the chemical shift value of 132.2 parts per million by opening the Analysis tab, then select Reference in the Reference tab [1].

    - SCREEN: SCREEN 7.mp4. 0:14-0:45 Analysis and Reference tabs being opened; signal being set. Video Editor: Highlight “Reference’ tab being clicked at 0:16. Speed up the footage

  - For signal integration, open Integral in the Analysis menu. To normalize integration, set the internal standard to 1.0 by clicking on the Peak to select Edit Integral and enter value 1.00 in the Normalized tab. Next, perform spectrum integration according to the chemical shifts reported in the manuscript [1].

    - SCREEN: SCREEN 8.mp4. 0:05-1:17. Edit Integral being selected; value being entered in Normalized tab. Spectrum integration being performed. Video Editor: Highlight tabs being clicked at 0:06 and 0:24. Speed up the footage.

  - Use the equation to calculate the molar concentration of internal standard or IS solution [1] and utilize the calculated value to estimate the equivalent amount of the specific signal per gram of the sample [2].

    - BLACK TEXT WHITE BACKGROUND:

IS concentration M=mass of (g)MWIS(g/mol)∙purity(%)100∙1volume of IS solution (mL)

    - BLACK TEXT WHITE BACKGROUND:

Functional group amount per gram of lignin=normalized peak area ∙IS concentration∙volume of IS added to the sample mLsample lignin or tannin weight g

Functional group amount mmol per gram of lignin=normalized peak areasample weight g ∙IS concentration ∙0.1

# Results

- Results: The Quantitative NMR Analysis of Derivatized Lignin and Tannin Samples

  - The quantitative NMR analysis allowed the detection and quantification of the different hydroxy groups in the lignin sample [1]. The spectrum quantification of the various hydroxy groups in a softwood Kraft lignin derivatized with TMDP was recorded using 300-megahertz [2] and 700-megahertz NMR spectrometer [3].

    - LAB MEDIA: Figure 8.

    - LAB MEDIA: Figure 8 A.

    - LAB MEDIA: Figure 8 D.

  - In the NMR spectra, sharp and strong peaks were detected at 144 [1] and 132 ppm due to the internal standard and the hydroxylation of TMD, respectively [2].

    - LAB MEDIA: Figure 8 A, D.  Video Editor: Emphasize the sharp peak at 144 ppm

    - LAB MEDIA: Figure 8 A, D. Video Editor: Emphasize the sharp peak around 132 ppm

  - The different signals of the hydroxy groups were evident in all the quantitative 31P NMR spectra of lignins  [1].

    - LAB MEDIA: Figure 8A.  Video Editor: Emphasize the peaks at 134, 139, 141, 144 and 150-145 ppm

  - In a quantitative 31P NMR (P-31-NMR) spectrum of a tannin sample derivatized using TMDP [1], a characteristic signal from the different aliphatic OH [2], pyrogallol [3], and catechol units were well visible [4].

    - LAB MEDIA: Figure 8 C.

    - LAB MEDIA: Figure 8 C. Video Editor: Emphasize the peaks at 143-149 ppm

    - LAB MEDIA: Figure 8 C. Video Editor: Emphasize the peaks at 140-143 ppm

    - LAB MEDIA: Figure 8 C. Video Editor: Emphasize the peaks at 138.5-140 ppm

  - The comparison between NMR spectra of lignin before [1] and post oxidation was recorded using a 300-megahertz NMR spectrometer [2] showed the reduction in the intensity of peaks of hydroxy groups [3].

    - LAB MEDIA: Figure 9. Video Editor: Emphasize Figure 9 A

    - LAB MEDIA: Figure 9. Video Editor: Emphasize Figure 9 B

    - LAB MEDIA: Figure 9. Video Editor: Emphasize peaks at 148-145 and 143.8-136      ppm in both graphs.

# Conclusion

- Conclusion Interview Statements

  - Nicolò Pajer:      The crucial steps are those pertaining to the drying and weighing of the sample and the NMR processing parameters to be used, and most importantly, the phasing of the obtained spectra.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.3.1 for ‘weighing of sample’ and 3.6.1 for ‘the phasing’

  - Claudia Crestini: When this method is coupled with two-dimensional NMR such as HSQC and Gel Permeation Chromatography, a very detailed picture of natural polyphenols may emerge, offering unprecedented structural information and new insights.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera