We truly appreciated the comments and insightful suggestions of the reviewers and we revised the manuscript accordingly to clarify all the points mentioned. All changes in the manuscript have been highlighted in yellow.

Editorial comments:

Editorial Changes

Changes to be made by the Author(s):

1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

We proofread the whole manuscript and corrected all the issues we could find.

2. Please revise the following lines to avoid previously published work: 34-35, 62-64, 145-146.

We revised lines 34-35 and 62-64 as follow:

34-35: High-pressure NMR experiments allow a detailed characterization of the factors governing the stability of globular proteins, their folding mechanisms, and oligomerization mechanisms by combining the fine stability tuning ability of pressure perturbation and the site resolution offered by solution NMR spectroscopy.

62-64: The presence of folding intermediates or higher energy states can be detected from large variations in the magnitude of the volume change upon unfolding measured for different residues of a given protein.

Yet, since the lines 145-146 (“With  the pressure  p  in  bar  and temperature T in kelvin, R = 1.987 cal/K, GU0 is in cal/mol and VU is in cal/mol/bar.”) is a technical description of the terms of the equation and we couldn’t find a meaningful way to rewrite it.

4. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials. Please sort the Materials Table alphabetically by the name of the material.

We removed all commercial language from the manuscript.

5. Please ensure that all experimental parameters and details are provided so others can replicate the protocol.

1a) What is the sample size/volume? How much mineral oil is applied? Please quantitate this volume.

We added the following:

1b) Required sample volume is similar to that of a standard 3 mm diameter NMR tube (~300 l).

1c) Introduce the 15N-labeled sample with a glass pipette into the zirconia tube. Make sure the sample seats at the bottom of the tube. Complete with 200 l of mineral oil to prevent the sample from mixing with the transmission liquid (e.g. water). Fill the rest of the tube with transmission liquid.

2a/2b) How gradually is the pressure increased/decreased? What is the rate of change?

We changed the paragraph 2a) as follow:

2a) Test the overall stability of the protein by gradually increasing pressure from 1 bar to 2.5 kbar with 500 bar increments. The speed of the pressure pump is set by default at ~18 bar/s. If the precise folding/unfolding rates are not known, it is recommended to let the sample equilibrate 15-20 min after each 500 bar increment. Record a spectrum at 2.5 kbar.

In the software, please ensure that all button clicks and user inputs are provided.

We added the following description in paragraph 3b):

3b) In Sparky menu, click on “peak” > “Peak list (lt)”. In the peak list window, click on “Options” and select the option to display both “Frequencies (ppm”) and “Data height”. Save the list obtained for each spectrum.

6. As we are a methods journal, please revise the Discussion to explicitly cover the following in detail in 3-6 paragraphs with citations:

a) Critical steps within the protocol

b) Any modifications and troubleshooting of the technique

c) Any limitations of the technique

d) The significance with respect to existing methods

e) Any future applications of the technique

We added the following paragraph in the Discussion section:

The whole pressure system (pump and controller) is relatively compact and can be installed on a standard utility cart for easy access to the spectrometer (Fig. 1). All pulse sequences can be used under pressure without modification, including triple resonance experiments. The only limitation is that pressure-rated zirconia tubes reduce the sensitivity of NMR experiments by almost 50% compared to a standard 3 mm diameter NMR tube. This may present a challenge for protein samples that can’t be concentrated to high-enough level. Compared to other perturbation methods such as temperature or chemical denaturants, hydrostatic pressure presents the advantage of being, with very few exceptions, fully reversible. Because pressure favors the dissociation of protein complexes, there is for example very little risk of sample aggregation, a problem often encountered with high temperature.

We also added the following in 3a)

Note: because pressure induces a non-uniform shift of 1H and 15N chemical shifts, the backbone assignment can’t simply be copied from one spectrum to the next one. It has to be manually adjusted.

7. Please ensure that the references appear as the following: [Lastname, F.I., LastName, F.I., LastName, F.I. Article Title. Source. Volume (Issue), FirstPage – LastPage (YEAR).] For more than 6 authors, list only the first author then et al. Please provide the titles of the publications.

We modified all the references accordingly.

____________________________________

Reviewers' comments:

Reviewer #1:

Manuscript Summary:

The manuscript described a detailed protocol for performing high-pressure NMR in the study of protein structure and dynamics. The authors used three exemplary protein systems, including a well-folded protein, an intrinsically disordered protein, and a protein complex, to showcase how high-pressure NMR can be implemented. The authors also provided an explanation for NMR spectral changes at increasing hydrostatic pressure.

Major Concerns:

No major concern.

Minor Concerns:

Line 96, high pressure can cause protein structural change, manifested as NMR spectral changes. The NMR chemical shift perturbations (CSPs) can be linear or curved. As the CSP pattern can be different for different protein systems, the authors should explain the relationship between structural change and CSP pattern. Line 286, reads "Comparison of the measured chemical shift changes with those calculated from the available database is here crucial to distinguish significant changes from non-specific baseline effect." The authors should elaborate on how to discard non-specific effects and depict the real changes for the intrinsically disordered protein.

We truly appreciate the reviewer's positive comment. The line 286 emphasizing the importance of comparing chemical shift changes with the available databases refers to the analysis of CSP under pressure for intrinsically disordered proteins. We completely removed this section from the present version of the manuscript and refocused our protocol on the study of well-folded proteins under pressure. Comparison of CSP under pressure with databases is typically not done for well-folded proteins. Yet, we added an additional reference and the following sentence in the discussion to highlight the fact that CSP data can be further analyzed to extract additional thermodynamic information.

It should be noted Kalbitzer and coworkers have demonstrated that a more in-depth analysis of chemical shift changes can be performed linking the ratio between the non-linear and linear coefficients (B2/B1) with the ratio of the change in compressibility and volume (/V).

Reviewer #2:

Manuscript summary:

This is an informative article that will help new practitioners of high-pressure NMR spectroscopy or serve as an educational tool for those curious about the method.

Main comments

1) This reviewer strongly recommends adding a brief mention of baroresistant buffers. Without those, the experiments will yield potentially ambiguous results. The pH (and buffer composition) of the representative results should be included.

We thank the reviewer for this insightful suggestion. We added the following paragraph as 1a)

1a) Choice of buffer:  the pKa of anionic buffers such as phosphate and MES is associated with a substantial reaction volume (i.e. the difference in the partial molal volumes of the acid and the ionized products). The pH of such buffers can therefore be significantly affected by a change of pressure (~0.25-0.5 pH unit/kbar). Recommended buffers include equal mixture of anionic and cationic buffers, such as phosphate and Tris.

2) The authors state that the protein is fully unfolded at 2.5 kbar, but this is not consistent with the data in Figure 3A (see, e.g., M186). Is the ~0 value of Iu a fitted parameter? Please clarify.

3) The curves presented in Figure 3A are not well defined. A better case for data analysis would be made if data points were shown every 250 bar between 1 bar and 2.5 kbar, including the data at the high pressure limit.

We apologize for the incomplete description of the fitting procedure and we thank the reviewer for pointing this out. For this specific data set, we don’t have data points collected every 250 bar. We initially collected spectra every 500 bar and after visual inspection, we collected another spectrum at 750 bar, near the inflection point of the unfolding transition. Yet, we changed the fitting procedure to make it simpler and hopefully more clear. Instead of having IU as a fitting parameter, which we agree can be confusing, we rewrote Eq. 1 as follow and added the following clarifications in the Representative Results section:

I=IF1+e-∆GU0+∆VUp-p0/RT	Eq. 1

The protocol described here was used to probe the pressure dependence of RRM2, the second RNA recognition motif hnRNPA1 (residues 95-106), which is almost completely unfolded within the 2.5 kbar range (>90%). 1H-15N spectra were collected at 1 bar, 500 bar, 750 bar, 1 kbar, 1.5 kbar, 2 kbar, and 2.5 kbar bar. Since none of the native crosspeaks were visible above the noise level at 2.5 kbar bar, all corresponding residues were attributed an intensity value of 0 at this pressure (Fig. 3A).

Figure 3A shows the fitted intensity profiles with the modified procedure. The results in terms of G and V are virtually identical.

Minor points

Line 44: include references for the biological importance of the sparsely populated states

Lines 45-46: attach one or more relevant references to each of the quoted experiments rather than bunch them at the end of the sentence.

Lines 143-144 and elsewhere: include the word "standard" (1 bar) for the free energy, where appropriate

The manuscript has been modified to address all the minor points listed above.