## Tabelle1
Potential questions and troubleshooting | Solution
Assay-to-assay variability due to altered cell responsiveness | Ensure that the cell passage cycle number does not exceed 20 to 30 passages. Make frozen stocks at early passages for future experiments.
Rather rely on biological replicates (use of different sera) than technical ones.
Sera contains low levels of specific IgE | A lower final serum dilution can be used (i. e. 1:10) instead of 1:20. Conversely, sera containing high levels of specific IgE can be further diluted (1:30 or 1:40).
Not enough cells to perform the assay | Make sure the confluency in a T-75 flask is around 50-90%. Passage more flasks.
Cytotoxic effects of sera, i. e. due to incomplete complement-inactivation | Perform a cell viability assay in addition to the mediator release assay. Increase Ag8 concentration to avoid incomplete complement-inactivation.
Low signal | Improve signal-to-noise ratio of the assay by diluting the 1x Tyrode´s buffer in deuterium oxide (D2O) instead of dH2O, or by using a sera with higher levels of specific IgE for the allergen of interest.
Allergen is not stable in Tyrode’s buffer (e. g. precipitation) | Make stability tests in 1x Tyrode’s buffer prior to the assay procedure. Substitution of Tyrode’s buffer is not recommended.
Problems finding the right starting concentration for the respective allergen | Adaption of dilution series to cover the full release curve (more dilution steps, 1:20 dilution instead of 1:10).
Poor assay performance indicated by low/no signal | Avoid cytotoxic effects from either sera or antigen stimulation (e.g. enzymatic allergens). Wash and soak the cells carefully. Avoid exposure to air for too long and prevent cells from drying out.
How do I know if the bottom signal plateau is reached? | Add "no antigen" controls to your plate. These are sensitized cell, which were only stimulated with 1x Tyrode´s buffer but without an allergen.
Do I need a positive control in addition to the maximum lysis wells? | As additional positive control a serum and antigen combination known to cause degranulation can be used or an anti-FcεR1 antibody.
How many wells do I need? | That depends on your titration series, the number of antigens and sera you want to analyze. Plan the layout for the 96-well plates according to how many sera/antigens you are going to test. Do not forget to add the "no antigen controls", the background cells (non-sensitized, non-stimulated) as well as the maximum lysis wells.
How many sera should I test? And do I need replicates? | Although the assay is quite robust, there is some assay-to-assay variability due to altered cell responsiveness. Therefore, it is recommended to rather rely on biological replicates (using different sera) than on technical replicates. A minimum of eight different sera is sufficient to analyze allergens. However, as shown in Fig. 4B, significant results can already be obtained using less sera.