# Submission ID #: 62702

# Scriptwriter Name: Swati Madhu

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19124158

# Title: Humanized Mediator Release Assay as a Read-Out for Allergen Potency

# Authors and Affiliations:

Mario Wenger, Athanasios Bethanis, Litty Johnson, Lorenz Aglas

# Department of Biosciences, University of Salzburg

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Lorenz Aglas		lorenz.aglas@sbg.ac.at

# Email Addresses for All Authors:

mario.wenger@stud.sbg.ac.at

athanasios.bethanis@sbg.ac.at

litty.johnson@sbg.ac.at

lorenz.aglas@sbg.ac.at

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy, but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen-captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When the take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  15

Number of Shots:  39

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - Procedures involving human subjects have been approved by the Dutch ethical committee at (insert Institutional Name). Authors: Please enter the required details.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Complement Inactivation of Human Sera

  - Begin by harvesting Ag8 (A-G-8) cells from the cell culture flask [1-TXT] and transfer the cells into a centrifugation tube [2]. Pellet down the cells by centrifugation for 5 minutes at 250 x g at room temperature [3].

    - WIDE: Talent harvesting the cells. TEXT: P3X63Ag8.653 cells

    - Talent transferring the cells in the centrifuge tube.

    - Talent placing the tube in the centrifuge. Videographer: Obtain multiple usable takes because this will be reused in 4.1.1

  - Resuspend the cell pellet to a final concentration of approximately 1 x 106 cells per milliliter in huRBL medium [1-TXT]. Dilute human sera 1 to 10 in Ag8 cell suspension for the final serum dilution of 1 to 20 in the assay [2] and incubate for 1 hour at 37 degrees Celsius and 5 to 7% carbon dioxide [3]. Authors: How would you like JoVE’s voiceover talent to pronounce huRBL?

    - Talent resuspending the pellet. TEXT: See the text for huRBL medium preparation details.

    - Talent diluting the human sera.

    - Talent placing the tube in the incubator. Videographer: Obtain multiple usable takes because this will be reused in 3.3.3 and 4.2.3

- huRBL Cell Culture

  - When the huRBL cells reach 50 to 90% confluency [1], aspirate the medium from a T-75 cell culture flask carefully without touching the adhered huRBL cells [2]. Wash the cells twice by adding 10 milliliters of DPBS (D-P-B-S) to the opposite side of the flask and not directly onto the cells [3].

    - LAB MEDIA: Figure 1B

    - Talent aspirating the medium in the flask.

    - Talent adding DPBS in the flask.

  - Aspirate DPBS [1], add 5 milliliters of pre-warmed 1 times trypsin-EDTA (E-D-T-A) for cell detachment [2] and incubate for 5 minutes at 37 degrees Celsius [3]. Gently tap the flask to detach the cells [4].

    - Talent aspirating DPBS.

    - Talent adding trypsin-EDTA solution in the flask.

    - Talent placing the flask in the incubator.

    - Talent tapping the flask on the bench.

  - Transfer the cell suspension into a 15-milliliter centrifugation tube [1] and fill the tube with huRBL medium or DPBS to dilute the trypsin-EDTA [2]. Centrifuge the cells at 250 x g for 5 minutes at room temperature [3].

    - Talent adding cell suspension in 15 mL tube.

    - Talent adding huRBL medium or DPBS in the tube.

    - Use 2.3.3

  - Aspirate the supernatant [1] and resuspend the pellet in 5 milliliters of huRBL medium for cell counting [2]. After counting the cells, dilute the cells in huRBL medium to obtain a final concentration of 2 x 106 cells per milliliter [3].

    - Talent aspirating the medium.

    - Talent resuspending the pellet.

    - Talent diluting the cells with huRBL medium.

  - Add 50 microliters of huRBL cell suspension per well equivalent to 1 x 105 cells per well in a sterile 96-well plate [1].

    - Talent adding huRBL cell suspension in the 96-well plate.

- Passive Sensitization of huRBL Cells

  - Centrifuge the pre-incubated Ag8-serum suspension [1-TXT] and transfer 50 microliters of the centrifuged Ag8-serum suspension to each well containing huRBL cells without disturbing the Ag8 cell pellet [2].

    - Use 2.1.3 TEXT: Centrifugation: 5 min, 250 x g, RT

    - Talent transferring centrifuged Ag8-serum suspension in the wells.

  - Use sensitized-unstimulated cells without antigen as no antigen control for indication of the bottom signal plateau or background and do not sensitize the background and maximum lysis control wells [1]. Cover the plate with the lid [2] and incubate overnight at 37 degrees Celsius and 5 to 7% carbon dioxide [3].

    - Shot of plate with the wells labeled as no antigen control, background control, and maximum lysis control.

    - Talent placing the lid on the plate.

    - Use 2.3.3

- Antigen-stimulated Degranulation and Mediator Release

  - Aspirate the sera-containing cell medium [1], invert and tap the plate on the absorbent paper to empty the plate for washing huRBL cells [2]. Wash the cells 3 times by adding  200 microliters of Tyrodes’s buffer per well and incubate for approximately 30 seconds per wash for the first two washes [3].

    - Talent aspirating the medium in the wells.

    - Talent inverting and tapping the tube over an absorbent paper.

    - Talent adding Tyrodes’s buffer in the wells.

  - After adding the washing solution for the third time, leave the solution in the wells until ready to add the antigen dilution [1]. Transfer 100 microliters of antigen solution to each well containing the pre-sensitized huRBL cells but do not stimulate the maximum lysis and non-sensitized background cells with antigen [2].

    - Talent adding Tyrodes’s buffer in the wells.

    - Talent adding antigen solution in the wells.

  - Add 100 microliters of Tyrode’s buffer in the maximum lysis control wells, non-sensitized background control wells, and sensitized no-antigen wells [1]. Incubate the cells for 1 hour at 37 °C and 5 to 7% carbon dioxide [2].

    - Talent adding Tyrode’s buffer in the wells.

    - Talent placing the plate in the incubator.

- β-hexosaminidase Activity Measurement

  - Treat the maximum lysis control wells with 10 microliters of 10% Triton X-100 per well [1] and mix properly to lyse the cells completely for 100% release of beta-hexosaminidase [2]. Add 50 microliters of substrate solution into a new non-binding 96-well plate [3-TXT].

    - Talent adding triton x-100 in the wells.

    - Talent mixing triton x-100 by pipetting in the wells.

    - Talent adding substrate solution in the wells. TEXT: See the text for substrate solution preparation details.

  - Transfer 50 microliters of supernatant from the wells of huRBL cells containing plate into the new plate containing the substrate solution [1] and incubate the plate for 1 hour at 37 degrees Celsius to allow conversion of the fluorogenic substrate [2].

    - Talent transferring supernatant from the wells of huRBL cells containing plate to the wells of substrate solution containing plate.

    - Talent placing the plate in the incubator.

  - Add 100 µL of stopping solution per well [1]. Measure the fluorescence with 360 nanometers excitation wavelength and 465 nanometers emission wavelength [2].

    - Talent adding stopping solution in the wells.

    - Talent placing the plate in the plate reader.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: XXX. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Effect of Allergen on β-hexosaminidase Release

  - The bell-shaped curve obtained in the beta-hexosaminidase activity assay [1], indicating the monovalent occupation of antigen epitopes on IgE (Immunoglobulin-E) due to the excess of allergen, which competitively inhibits the allergen-IgE cross-linking at high antigen concentrations [2].

    - LAB MEDIA: Figure 1C

    - LAB MEDIA: Figure 1C Video editor: Please emphasize the antigen-antibody reaction above the bell-shaped curve.

  - The antigen concentration necessary for the half-maximum mediator release was calculated using the linear regression analysis [1]. The cell viability assay was performed to exclude the cytotoxic effects derived from either the sensitizing serum or the antigen used for stimulation [2].

    - LAB MEDIA: Figure 1D Video editor: Please emphasize the equation in red font color and red dotted line in the curve.

    - LAB MEDIA: Figure 1E

  - Five different human serums were used for the beta-hexosaminidase activity assay [1], and 4 out of 5 sera, derived from the birch pollen allergic patients, responded to Bet v-1 stimulation, demonstrating that the Bet v-1 is a potent allergen responsible for IgE-mediated allergic symptoms [2]. Authors: How would you like JoVE’s voiceover talent to pronounce Bet v-1?

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2 Video editor: Please emphasize curves of serum #1 to serum #4

  - The cross-reactivity of IgE to homologous allergens was assessed [1]. The response to Bet v-1 was found in both patients [2], but patient-2 responded to Cor a-1, the Bet v-1-homologous food allergen indicating higher Cor a-1-cross-reactive IgE levels in patient-2 [3]. Authors: How would you like JoVE’s voiceover talent to pronounce Cor a-1?

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video editor: Please emphasize the black line with black square data points in both the graphs

    - LAB MEDIA: Figure 3 Video editor: Please emphasize the gray line with gray triangle data points in both the graphs.

  - The hypoallergenic nature of mutant variants of the allergens was assessed and compared to their wild-type counterpart [1].

    - LAB MEDIA: Figure 4

  - The release curve of the Bet v-1 fold variant shifted towards a higher antigen concentration compared to the wild-type allergen [1], resulting in a significantly higher concentration of antigen to provoke the half-maximal release, which makes the mutant less allergic and better candidate allergen-specific immunotherapy [2].

    - LAB MEDIA: Figure 4A Video editor: Please emphasize the black dotted line with square data points of “rBet v 1 fold variant”

    - LAB MEDIA: Figure 4B Video editor: Please emphasize the bar of fold variant.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.