# Submission ID #:  62718

# Scriptwriter Name: Swati Madhu

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19129038

# Title: Tissue Collection and RNA Extraction from the Human Osteoarthritic Knee Joint

# Authors and Affiliations:

Thomas Wilson1, Navdeep Kaur1, Jason Davis2, Shabana Amanda Ali1,3

1Bone and Joint Center, Henry Ford Health System

2Department of Orthopedic Surgery, Henry Ford Health System

# 3Center for Molecular Medicine and Genetics, Wayne State University

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Shabana Amanda Ali		sali14@hfhs.org

# Email Addresses for All Authors:

twilso20@hfhs.org

nkaur3@hfhs.org

jdavis7@hfhs.org

sali14@hfhs.org

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit. If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  12

Number of Shots:  37

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - Procedures involving human subjects have been approved by the Institutional Review Board (IRB) at the Henry Ford Health System, Detroit, MI, USA.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Sample Processing

  - Begin by identifying the hard tissues [1] like cartilage, bone, meniscus [2], and soft tissues like an infrapatellar fat pad, anterior cruciate ligament, synovium, and vastus medialis oblique muscle from the specimen based on the differences in the size, shape, color, and texture [3].

    - WIDE: Talent in front of the tissue section.

    - Talent indicating the hard tissue in the specimen.

    - Talent indicating each soft tissue one by one in the specimen.

  - Cut each of the tissue into 3 equal sections [1]. Rinse the tissue sections with sterile PBS (P-B-S) to remove any residue or debris [2]. For RNA (R-N-A) extraction, cut each of the three tissue sections into smaller pieces of approximately 1 to 2 cubic millimeters [3]. Transfer the smaller pieces to a 2-milliliter cryovial [4].

    - Talent cutting the tissue in 3 equal sections.

    - Talent rinsing the tissue with sterile PBS.

    - Talent cutting the tissue sections into small pieces.

    - Talent placing the tissue section in a cryovial.

  - After securing the caps tightly, flash freeze the vials by submerging in liquid nitrogen for 30 seconds [1]. Then, transfer the vial to the minus 80 degrees Celsius freezer for long-term storage and repeat this procedure for all the tissues [2].

    - Talent submerging the vials in liquid nitrogen.

    - Talent placing the vial in a -80°C freezer.

- Hard Tissue Homogenization

  - Homogenize the hard tissue using a mortar and pestle [1-TXT]. Before homogenization, chill the mortar, pestle, and spatula using liquid nitrogen to prevent the sample from thawing [2]. Process only one sample at a time [3]. Transfer the tissue sample to mortar using a chilled spatula [4].

    - Shot of mortar and pestle. TEXT: Hrad tissues: Articular Cartilage, Subchondral Bone, Meniscus

    - Talent placing the mortar, pestle, and spatula in liquid nitrogen.

    - Talent taking one vial out from -80°C freezer.

    - Talent adding tissue in the mortar.

  - Pour liquid nitrogen on top of the tissue [1]. After the liquid nitrogen evaporates, crush the tissue with a pestle [2]. Repeatedly add liquid nitrogen while grinding the tissue to obtain fine tissue powder [3]. Transfer the fine tissue powder in a 1.5-milliliter microcentrifuge tube pre-chilled by submerging in liquid nitrogen for 30 seconds [4].

    - Talent adding liquid nitrogen to the tissue in the mortar.

    - Talent crushing the tissue.

    - Talent adding liquid nitrogen to the crushed tissue.

    - Talent transferring the powder from the mortar into the vial.

  - Add 1 milliliter of the ice-cold acid-guanidinium-phenol solution to each tube [1] and incubate the tubes on ice for 20 minutes [2]. Before homogenizing different hard tissue, thoroughly clean the mortar, pestle, and spatula with 70% ethanol and RNase (R-N-ase) decontaminant followed by DEPC (D-E-P-C)-treated water [3].

    - Talent adding the acid-guanidinium-phenol solution to each tube with the bottle of acid-guanidinium-phenol solution kept on ice in the frame.

    - Talent placing the tubes on the ice.

    - Talent spraying the mortar, pestle, and spatula with DEPC-treated water.

  - Soak the mortar, pestle, and spatula in 70% ethanol [1]. Then, wipe any residual liquid with a clean, lint-free tissue [2].

    - Talent soaking the mortar, pestle, and spatula in 70% ethanol.

    - Talent wiping the mortar, pestle, and spatula with tissue paper.

- Soft Tissue Homogenization

  - Homogenize the soft tissue using the tissue homogenizer [1-TXT]. For disinfecting the homogenizer, wash the probe using the running tubes of 70% ethanol and RNase decontaminant for 30 seconds per wash [2]. Then, wash with DEPC-treated water followed by an additional 70% ethanol, each for 30 seconds [3].

    - Shot of the tissue homogenizer. TEXT: Soft tissues: Infrapatellar Fat pad, ACL, Synovium, VMO.

    - Talent washing the probe with 70% ethanol.

    - Talent washing the probe with DEPC-treated water.

  - Wipe any residual liquid with a clean, lint-free tissue [1]. Add 1 milliliter of acid-guanidinium-phenol solution to pre-labeled 5-milliliter round bottom tubes [2] and transfer the tissue sample into the tube [3].

    - Talent wiping the probe with a clean tissue.

    - Talent adding acid-guanidinium-phenol solution to pre-labeled 5 mL round-bottom tubes.

    - Talent placing the tissue sample in the tube.

  - Set the pulse duration for 30 seconds [1]. Place the tube on ice throughout the procedure [2] and homogenize the tissue for a maximum of five 30-second pulses [3] or until the tissue is visually dissolved [4].

    - Talent setting the time for the pulse in the tissue homogenizer.

    - Talent placing the tube in the icebox kept on the stage of tissue homogenizer.

    - The tissue being homogenized.

    - Completely dissolved tissue.

  - Incubate the homogenized tissue on the ice until all the tissue samples are processed [1]. Disinfect and clean the homogenizer before processing the next tissue sample [2]. Using sterile forceps, remove any tissue chunk present in the teeth of the probe [3].

    - Talent placing tubes of dissolved tissue on the ice.

    - Talent cleaning the probe.

    - Talent removing tissue chunk from the probe with forceps.

  - Incubate all the homogenized tissue on the ice for additional 20 minutes [1] and then transfer the tissue sample to a pre-labeled-pre-chilled 1.5-milliliter microcentrifuge tube [2].

    - Tubes on the ice.

    - Talent adding homogenized tissue sample in 1.5 mL microcentrifuge tube.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 121. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Tissue Identification and RNA Quality Assessment

  - Seven unique human knee joint tissues obtained from the patients were processed within 4 hours of surgical removal. The tissues were identified visually and by H-E (H and E) staining [1].

    - LAB MEDIA: Figure 4

  - The H-E stained hard tissue section, articular cartilage, subchondral bone [1], meniscus were identified at 6x magnification primarily [2] and then were visualized at 40x magnification [3].

    - LAB MEDIA: Figure 4A

    - LAB MEDIA: Figure 4B

    - LAB MEDIA: Figure 4A’,4A’’, and 4B’

  - Similarly, the H-E stained soft tissue sections, an infrapatellar fat pad [1], anterior cruciate ligament [2], synovium [3], and vastus medialis oblique muscle were initially identified at 6x magnification [4] and then at 40x magnification [5].

    - LAB MEDIA: Figure 4C

    - LAB MEDIA: Figure 4D

    - LAB MEDIA: Figure 4E

    - LAB MEDIA: Figure 4F

    - LAB MEDIA: Figure 4C’, 4D’, 4E’, and 4F’

  - After the RNA extraction, the quality assessment indicated [1] the presence of highly pure [2] as well as low-quality RNA, which suggests that despite using an optimized method, external factors, like disease severity, may impact the RNA quality across different tissues [3].

    - LAB MEDIA: Table 1

    - LAB MEDIA: Table 1 Video editor: Please emphasize the High quality columns in the table.

    - LAB MEDIA: Table 1 Video editor: Please emphasize the Low quality columns in the table.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.