# Submission ID #: 62733

# Scriptwriter Name: Shehnaz Lokhandwala

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19133613

# Title: Measuring the pH, Redox Chemistries, and Degradative Capacity of Macropinosomes using Dual-Fluorophore Ratiometric Microscopy

# Authors and Affiliations:

Liam Wilkinson1,2, Johnathan Canton2,3

1Department of Biochemistry & Microbiology, Faculty of Science, University of Victoria

2Department of Comparative Biology and Experimental Medicine, Faculty of Veterinary Science, University of Calgary

3Calvin, Joan and Phoebe Snyder Institute for Chronic Diseases, University of Calgary

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Johnathan Canton	(johnathan.canton@ucalgary.ca)

# Email Addresses for All Authors:

johnathan.canton@ucalgary.ca

lwilkinson220@gmail.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  20

Number of Shots:  40

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

Authors: Acquire screen capture videos for all shots labeled SCREEN and upload them to your project page: https://www.jove.com/account/file-uploader?src=19133613

- Measuring Macropinosome pH

  - One day before the assay, seed Raw264.7 cells at a density of 5 x 104 cells in 100 microliters per well in a glass-bottom 96-well plate with black sides [1-TXT]. Authors: How would you like our voiceover talent to pronounce Raw264.7? Is it raw-two-six-four-point-seven or raw-two-sixty-four-point-seven?

    - WIDE: Talent seeding cells in a 96-well plate. TEXT: See text for Raw264.7 cell culture details Videographer: Obtain multiple usable takes because this will be reused in 4.1.1 and 5.1.1

  - On the day of the assay, check whether the wells are at least 70% confluent [1], then wash all the wells with 100 microliters of HBSS (H-B-S-S) prewarmed at 37 degrees Celsius [2].

    - Talent checking the cells under a microscope. Authors: Would you like to include an image of how the cells should look before the assay here? If yes, please upload such an image to your project page.

    - Talent washing the wells with HBSS. Videographer: Obtain multiple usable takes because this will be reused in 4.2.1 and 5.1.2

  - Next, add 100 microliters of HBSS containing 0.025 milligrams per milliliter of TMR(T-M-R)-labeled 70-kilodalton dextran and 0.025 milligrams per milliliter of fluorescein-labeled 70-kilodalton dextran in each well [1-TXT], then incubate the cells at 37 degrees Celsius for 15 minutes [2].

    - Talent adding HBSS + TMR-dextran + fluorescein-dextran in each well. TEXT: TMR: Tetramethylrhodamine

    - Talent placing the plate in an incubator. Videographer: Obtain multiple usable takes because this will be reused in 4.3.2 and 5.2.2.

  - After the incubation is complete, remove the plate from the incubator [1] and wash the cells 6 times with 100 microliters of HBSS [2].

    - Talent removing the cells from the incubator.

    - Talent washing the cells with HBSS. Videographer: Obtain multiple usable takes because this will be reused in 4.4.1 and 5.3.1

  - After the last wash, add 100 microliters of prewarmed HBSS to the cells [1] and place the plate on a microscope with a heated stage and chamber [2].

    - Talent adding HBSS to the cells. Videographer: Obtain multiple usable takes because this will be reused in 4.4.2 and 5.3.2

    - Talent placing the plate on the microscope. Obtain multiple usable takes because this will be reused in 4.4.3 and 5.3.3.

  - After adjusting the excitation and emission parameters for TMR and fluorescein as needed [1], acquire an image from each well, alternating between the two fluorophores in between each well [2].

    - SCREEN: Adjusting excitation/emission parameters for TMR and fluorescein.

    - SCREEN: Acquiring an image from each well, alternating between TMR and fluorescein in between each well.

  - After the first acquisition, check whether all the wells remained in focus across the entire plate [1], then acquire images of each well at 1- to 15-minute intervals for the desired length of time [2].

    - SCREEN: Checking if all the wells remained in focus.

    - SCREEN: Acquiring images of each well at 1-15 min intervals.

- In Situ Calibration of Macropinosome pH

  - During the image acquisition, adjust the pH of a 50-milliliter aliquot of a potassium-rich solution buffered with 25 millimolar HEPES (hep-ease) to 7.5 using 10 molar hydrochloric acid or 10 molar potassium hydroxide, as needed [1-TXT].

    - WIDE: Talent adjusting pH of K+-rich solution/HEPES to 7.5. TEXT: See text for K+-rich solution preparation details

  - Then, adjust the pH of three 50-milliliter aliquots of the potassium-rich solution buffered with 25 millimolar MES (M-E-S) to pH 6.5 [1], pH 5.5, and pH 5.0 [2].

    - Talent adjusting pH of one aliquot of K+-rich solution/MES to 6.5.

    - Shot of the three aliquots clearly labeled with their pH.

  - Once the image acquisition is complete [1], remove the HBSS from the 96-well plate containing the cells [2] and add the potassium-rich solution at pH 7.5 [3]. Then, add nigericin at a final concentration of 10 micrograms per milliliter [4]. Authors: How would you like our voiceover talent to pronounce nigericin?

    - Talent removing the plate from the microscope.

    - Talent removing the HBSS from the plate.

    - Talent adding K+-rich solution at pH 7.5 to the wells.

    - Talent adding nigericin to the wells.

  - Place the plate back on the microscope [1] and acquire images of each well using the same acquisition settings as demonstrated previously [2-TXT].

    - Talent placing the plate back onto the microscope.

    - Talent at the computer, using software to acquire images, monitor visible in frame. TEXT: Repeat for the calibration buffers at pH 6.5, 5.5 and 5.0

- Measuring Oxidative Events within Macropinosomes

  - To measure oxidative events within macropinosomes, seed Raw264.7 cells in a 96-well plate one day before the assay as demonstrated previously [1].

    - WIDE: Use 2.1.1. Talent seeding cells in a 96-well plate.

  - Then, on the day of the assay, wash all the wells with 100 microliters of HBSS prewarmed to 37 degrees Celsius [1].

    - Use 2.2.2. Talent washing the wells with HBSS.

  - Next, add 100 microliters of HBSS containing 0.025 milligrams per milliliter of TMR-labeled 70-kilodalton dextran and 0.025 milligrams per milliliter of H2DCFDA(H-two-D-C-F-D-A)-labeled 70-kilodalton dextran to each well [1-TXT], then incubate the cells at 37 degrees Celsius for 15 minutes [2].

    - Talent adding HBSS + TMR-dextran + H2DCFDA-dextran in each well. TEXT: See text for H2DCFDA succinimidyl ester labeled dextran preparation details

    - Use 2.3.2. Talent placing the plate in an incubator.

  - After removing the plate from the incubator, wash the cells 6 times with 100 microliters of HBSS [1]. After the last wash, add 100 microliters of HBSS to each well [2] and place the plate on the microscope [3].

    - Use 2.4.2. Talent washing the cells with HBSS.

    - Use 2.5.1. Talent adding HBSS to the cells.

    - Use 2.5.2. Talent placing the plate on the microscope.

  - After adjusting the excitation and emission parameters for TMR and H2DCFDA as needed [1], acquire images of each well at 1- to 15-minute intervals as demonstrated previously [2].

    - SCREEN: Adjusting excitation/emission parameters for TMR and H2DCFDA.

    - Talent at the computer, using the software to acquire images at 1-15 min intervals, monitor visible in frame.

- Measuring Protein Digestion within Macropinosomes

  - To measure protein digestion within macropinosomes, seed Raw264.7 cells one day before the assay as demonstrated previously [1]. Then, on the day of the assay, wash all the wells with 100 microliters of HBSS prewarmed at 37 degrees Celsius [2].

    - WIDE: Use 2.1.1. Talent seeding cells in a 96-well plate

    - Use 2.2.2. Talent washing the wells with HBSS.

  - Next, add 100 microliters of HBSS containing 0.025 milligrams per milliliter of TMR-labeled 70-kilodalton dextran and 0.2 milligrams per milliliter of BODIPY-labeled ovalbumin to each well [1], then incubate the plate at 37 degrees Celsius for 15 minutes [2]. Authors: How would you like our voiceover talent to pronounce BODIPY? Is it B-O-D-I-P-Y or bow-dee-pee?

    - Talent adding HBSS + TMR-dextran + BODIPY-albumin in each well.

    - Use 2.3.2. Talent placing the plate in an incubator.

  - After removing the cells from the incubator, wash them 6 times with 100 microliters of HBSS [1]. After the last wash, add 100 microliters of HBSS to each well [2] and place the plate on the microscope [3].

    - Use 2.4.2. Talent washing the cells with HBSS.

    - Use 2.5.1. Talent adding HBSS to the cells.

    - Use 2.5.2. Talent placing the plate on the microscope.

  - After adjusting the excitation and emission parameters for TMR and BODIPY as needed, acquire images of each well at 1- to 15-minute intervals as demonstrated previously [1].

    - SCREEN: Adjusting excitation/emission parameters for TMR and BODIPY

    - Talent at the computer, using software to acquire images, monitor visible in frame.

## Protocol Script Questions

# Authors: Please use the step and shot numbers from the script above (not step numbers from the manuscript) when answering the questions below. Do not include steps that will be screen-captured and do not list entire sections.

- Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps (steps are indicated with the 2-digit numbers, like 2.1, 2.2, etc.).

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

- If a dissection or stereo microscope is required for your protocol, please list all shots that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 198. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Measuring the pH, Oxidative Events, and Protein Degradation in Macropinosomes using Dual-Fluorophore Ratiometric Microscopy

  - When measuring the pH [1], oxidative events [2], or protein degradation in macropinosomes [3], the dynamics of acidification cannot be measured for a certain time period corresponding to the dextran loading phase, which varies depending on the cell type used [4].

    - LAB MEDIA: Figure 2C, 3C and 3D. Video Editor: Emphasize Figure 2C

    - LAB MEDIA: Figure 2C, 3C and 3D. Video Editor: Emphasize Figure 3C

    - LAB MEDIA: Figure 2C, 3C and 3D. Video Editor: Emphasize Figure 3D

    - LAB MEDIA: Figure 2C, 3C and 3D. Video Editor: Emphasize the gray area from ~0-15 minutes in each figure

  - When measuring the macropinosome pH [1], the fluorescein to TMR ratio will become progressively smaller and will plateau within the first 15 minutes of acquisition. This plateau corresponds to a pH of approximately 5, which roughly matches the pH of lysosomes [2].

    - LAB MEDIA: Figure 2C.

    - LAB MEDIA: Figure 2C. Video Editor: Emphasize the black line connecting the three data points.

  - At the end of each acquisition, an in-situ calibration is performed [1]. The fluorescein to TMR ratio should be largest with the calibration buffer at pH 7.5 [2] and become progressively smaller as the calibration buffers become more acidic [3]. This allows for the generation of a calibration curve [4].

    - LAB MEDIA: Figure 2B.

    - LAB MEDIA: Figure 2B. Video Editor: Emphasize the highest data point on the curve

    - LAB MEDIA: Figure 2B. Video Editor: Emphasize the data points on the curve successively, moving from higher to lower pH

    - LAB MEDIA: Figure 2B. Video Editor: Emphasize the black curve.

  - When measuring oxidative events within macropinosomes [1], the ratio of H2DCFDA to TMR will become progressively larger [2] and will likely plateau within the first 20 to 30 minutes in inactivated Raw264.7 cells [3].

    - LAB MEDIA: Figure 3C.

    - LAB MEDIA: Figure 3C. Video Editor: Emphasize the upward black line connecting the first and second data points (~15-30 minutes)

    - LAB MEDIA: Figure 3C. Video Editor: Emphasize the black line connecting the second and third data points (30-45 minutes)

  - When measuring macropinosomal protein digestion [1], a progressively strong fluorescent signal will be liberated as the ovalbumin is digested [2]. In Raw264.7 cells, the increase in fluorescence liberated from the digested BODIPY-labeled ovalbumin will plateau within the first 30 minutes [3].

    - LAB MEDIA: Figure 3D.

    - LAB MEDIA: Figure 3D. Video Editor: Emphasize the upward black line connecting the first and second data points (~15-30 minutes)

    - LAB MEDIA: Figure 3D. Video Editor: Emphasize the black line connecting the second and third data points (30-45 minutes)

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.