# Submission ID #:  62734

# Scriptwriter Name: Swati Madhu

# Project Page Link:  https://www.jove.com/account/file-uploader?src=19133918

# Title: Isolated Lung Perfusion System in the Rabbit Model

# Authors and Affiliations:

Alejandro Pacheco Baltazar2, José Luis Arreola-Ramírez1, Jesús Alquicira-Mireles1, Patricia Segura-Medina1

1Departamento de Investigación en Hiperreactividad Bronquial, Instituto Nacional de Enfermedades Respiratorias

# 2Facultad de Medicina, Universidad Nacional Autónoma de México

☐   All author names and affiliations are correct.

# Corresponding Authors:

# José Luis Arreola-Ramírez	(arreolaj2002@yahoo.com.mx)

# Email Addresses for All Authors:

almijes02@hotmail.com

psegura@unam.mx

alpachevo@gmail.com

arreolaj2002@yahoo.com.mx

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  20

Number of Shots:  47

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - Procedures involving animal subjects have been approved by Ethics Committee of the Instituto Nacional de Enfermedades Respiratorias.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Apparatus Preparation

  - To begin with, assemble the working apparatus [1], ensuring that it contains the main steel column mounted on a base plate holding the artificial thorax, with the pneumotachometer and weight transducer located above the column and behind the preheating coil with a bubble trap [2].

    - WIDE: Talent in front of the apparatus.

    - Talent indicating steel column, pneumotachometer, and weight transducer by pointing the figure at them.

  - Connect one differential pressure transducer to the pneumotachometer [1] and another to the chamber pressure [2]. Set a different couple of pressure transducers behind the thorax to measure perfusion and venous pressures [3].

    - Talent connecting the pressure transducer to the pneumotachometer.

    - Talent connecting the pressure transducer to the chamber pressure.

    - Talent connecting the pressure transducer behind the thorax.

  - Connect the changeover stock below the oxygenator with a level electrode and the ventilation system beside the apparatus [1].

    - Talent connecting the changeover stock below the oxygenator with a level electrode and the ventilation system beside the apparatus.

- Cardiopulmonary Block Extraction

  - After shaving the surgical site of the anesthetized rabbit, make a ventral median line incision of 3 to 5-centimeter from the diaphragm up to the neck [1-TXT]. Use the operating scissors to cut the anterior two-thirds of the trachea between the cartilage rings [2].

    - Talent making an incision. TEXT: See the text for anesthesia details.

    - Talent cutting the trachea.

  - Insert a 5-millimeter tracheal cannula through the tracheal fibrous membrane [1] and fix the cannula carefully with a 4-0 silk suture [2]. Place the forceps or tweezers underneath the trachea to ensure the cannula does not bend against the trachea [3].

    - Talent inserting the tracheal cannula through the tracheal fibrous membrane.

    - Talent suturing to fix the cannula.

    - Talent placing the forceps underneath the trachea.

  - Connect the respiration pump to the tracheal cannula [1] and initiate the ventilation quickly after the tracheotomy and before the thorax is opened to maintain positive pressure in the lungs for preventing lung collapse during the surgery [2]. Set the tidal volume at 10 milliliters per kilogram [3].

    - Talent connecting the respiration pump to the tracheal cannula.

    - Talent initiating the ventilation.

    - Talent setting the tidal volume.

  - To access the thoracic cavity, use a scalpel or scissors to open the thorax wall and perform a medial sternotomy up to the upper third of the thorax [1]. Hold the thorax halves open with two retractors [2]. Localize the superior and inferior vena cava and refer them with threads [3].

    - Talent cutting the upper third of the thorax with scissors.

    - Talent placing the retractors to keep thorax open.

    - Talent referring the superior and inferior vena cava with threads.

  - Before the exsanguination of the animal, identify the right ventricle and inject 1000 International Units per kilogram of heparin [1]. Immediately after the injection, ligate the superior and inferior vena cava with the pre-looped thread [2].

    - Talent injecting heparin.

    - Talent ligating the superior and inferior vena cava with the pre-looped thread.

  - After exsanguination, for harvesting the cardiopulmonary block, use direct digital dissection or spring scissors to separate the connective tissue [1] and remove the lungs from the thorax [2]. Next, dissect the vasculature and esophagus [3].

    - Talent separating the connective tissue.

    - Talent removing the lungs from the thorax.

    - Talent dissecting the vasculature and esophagus.

  - Cut through the manubrium sterni to extend the medial sternotomy towards the tracheal cannula, releasing the trachea on both sides from connecting tissue [1]. Now, resect the trachea above the tracheal cannula [2] and gently pull up the cannula in a craniocaudal axis [3].

    - Talent extending the medial sternotomy towards the tracheal cannula.

    - Talent resecting the trachea above the tracheal cannula.

    - Talent pulling up the cannula.

  - Next, lift the isolated lungs out of the thorax [1] and carefully place the lungs over a sterile gauze on a petri dish [2]. To prevent the atelectasis, ventilate the lungs using positive-pressure ventilation with positive end-expiratory pressure set at 2 Centimeters of Water Column [3].

    - Talent lifting the isolated lungs out of the thorax.

    - Talent placing the lungs over a sterile gauze on a petri dish.

    - The lung being ventilated.

  - Cut the ventricles off the heart at the level of the atrioventricular groove [1]. After opening the two ventricles, for the rabbit with the basket, introduce the pulmonary artery cannula through the right pulmonary artery [2-TXT] and the left atrium cannula through the mitral valve into the left atrium [3-TXT].

    - Talent cutting the ventricles.

    - Talent introducing the pulmonary artery cannula through the right pulmonary artery for the rabbit with a basket. TEXT: Cannula outer diameter: 4.6 mm

    - Talent introducing the left atrium cannula through the mitral valve into the left atrium for the rabbit with a basket. TEXT: Cannula outer diameter: 5.9 mm

  - Fix the cannulae with a 4-0 silk suture, including the surrounding tissues in the ligatures of the pulmonary artery and left atrium to avoid structural distension [1]. Inject 250 milliliters of saline isotonic solution through the arterial cannulae to flush the remaining blood from the vascular bed [2].

    - Talent fixing the cannulae.

    - Talent injecting saline isotonic solution through the arterial cannulae and blood being flushed from the vascular bed.

- Perfusion Technique

  - For the perfusion setup, place the isolated lungs carefully into the lung chamber [1]. Attach the trachea to the transductor on the chamber cover [2] and connect the cannulated vessels to the perfusion system [3]. Then, close and secure the chamber and with the rotary lock [4].

    - Talent placing the isolated lungs carefully into the lung chamber.

    - Talent attaching the trachea to the transductor on the cover of the chamber.

    - Talent connecting the cannulated vessels to the perfusion system.

    - Talent closing the chamber and close and securing it with the rotary lock.

  - Next, attach the chamber lid [1] and switch over the stopcock to shift from positive to negative pressure ventilation [2]. Perfuse the lungs with 200 milliliters of artificial blood-free perfusate, starting with the flow at 3 milliliters per minute per kilogram [3-TXT].

    - Talent attaching the chamber lid.

    - Talent switching the stopcock.

    - The flow of perfusate through the pipes. TEXT: See the text for perfusate preparation.

  - Then slowly step up the flow over 5 minutes to 5 milliliters per minute per kilogram and for the next 5 minutes, allow the flow to reach 8 milliliters per minute per kilogram, followed by a maximum flux of 10 milliliters per minute per kilogram for 5 minutes [1-TXT]. Authors: are steps 4.3 to 4.7 are controlled by the software on the computer? If yes, please record the screen capture for these steps, create a screen capture summary for these step with time stamps and upload them on your project page: https://www.jove.com/account/file-uploader?src=19133918. (I will attach the SCREEN capture guidelines additionally in the email. If you have any question or things are unclear, please contact me) If no, ignore this.

    - Perfusing lung. TEXT: Avoid air from entering the circuit.

  - Ventilate the lungs with humidified air at a frequency of 30 beats per minute, a tidal volume of 10 milliliters per kilogram, and an end-expiratory pressure of 2 Centimeters of Water Column [1].

    - The lungs being ventilated.

  - For achieving zone 3 conditions, wait for 10 to 15 minutes to obtain an equilibrium characterized by an isogravimetric state, ensuring that the venous pressure is higher than the alveolar pressure and the arterial pressure remains higher than both [1].

    - Screen or display showing venous pressure and alveolar pressure.

  - Ensure that the weight of the lung remains constant [1] and the arterial and left atrial pressures are stable to achieve zone 3 conditions to open up a maximum number of pulmonary vessels and maintain the microvascular bed content during the experiment [2].

    - The display showing lung weight with lung in the frame.

    - The display showing pressure.

  - For the electronic control and signal processing, ensure that the respiratory flow, weight changes, microvascular pressure, tidal volume, vascular resistance, among others, are registered on a multiple central electronics unit [1] that integrates signals coming from the transducers and displays them on the evaluation system [2].

    - The display of central electronics unit showing described parameters.

    - Values of different parameters on display.

## Protocol Script Questions

# Authors: Please use the step and shot numbers from the script above (not step numbers from the manuscript) when answering the questions below. Do not include steps that will be screen-captured and do not list entire sections.

- Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps (steps are indicated with the 2-digit numbers, like 2.1, 2.2, etc.).

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

- If a dissection or stereo microscope is required for your protocol, please list all shots that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 186. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Effects of Perfusion on the lung

  - The concentration of 5-HT (5-H-T) and monoamine oxidase involved in the lung metabolism and vascular permeability were assessed [1].

    - LAB MEDIA: Figure 2

  - The concentration of 5-HT and monoamine oxidase peaked after 15 minutes of preservation [1] and then decreased during the next 6 hours [2]. Afterward, perfusion levels showed a non-statistically significant increase up to the 24 hours [3].

    - LAB MEDIA: Figure 2 Video editor: Please emphasize the T0 bars in both graphs.

    - LAB MEDIA: Figure 2 Video editor: Please emphasize the T1 and T6 bars in both graphs.

    - LAB MEDIA: Figure 2 Video editor: Please emphasize the T12 and T24 bars in both graphs.

  - The release rates of 5-HT and monoamine oxidase indicated that during the first hour of the preservation, 5-HT levels rose higher than monoamine oxidase [1] and decreased within 6 hours after being recaptured by endothelial cells and platelets as well as monoamine oxidase mediated catabolism [2].

    - LAB MEDIA: Figure 3 Video editor: Please emphasize the black square at T1.

    - LAB MEDIA: Figure 3 Video editor: Please emphasize the black square at T6.

  - Neutral endopeptidase activity increased at 9 hours and then decreased and remained stable during 12 to 24 hours [1]. Angiotensin-converting enzyme activity decreased after 4 hours, then increased and remained stable through time till 24 hours [2].

    - LAB MEDIA: Figure 4A

    - LAB MEDIA: Figure 4B

  - The effect of pulmonary preservation in capillary permeability was assessed for 24 hours which indicated that the perfused lung suffered a progressive increase on mKfc [1]. Authors: How would you like JoVE’s voiceover talent to pronounce mKfc?

    - LAB MEDIA: Figure 5

  - The effect of different additives in the capillary permeability of the isolated lung perfusion system under diverse conditions was checked [1], and a maximum increase in the permeability was observed with atropine [2].

    - LAB MEDIA: Figure 6

    - LAB MEDIA: Figure 6 Video editor: Please emphasize the atropine bar.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.