Please note that the reviewers raised some significant concerns regarding your method and your manuscript. Please revise the manuscript to thoroughly address these concerns. Additionally, please describe the changes that have been made or provide explanations if the comment is not addressed in a rebuttal letter. We may send the revised manuscript and the rebuttal letter back to peer review.


Editorial comments:
1. Please make the changes/revisions in the attached manuscript file, which has been formatted to fit the journal standard.

Changes / revisions were done accordingly.

2. Please revise the following lines to avoid previously published work: 35-36, 92-94

We rephrased the sentences.

3. Line 125: Vortex for how long?

20 sec, changed in the ms.

4. Line 271-274: Please rephrase the lines to add more clarity.

Sentence was rephrased.

5. Please ensure that all the comments addressed in the rebuttal are included in the appropriate section of the manuscript.

All comments of the reviewer / editor are addressed in the revised manuscript.

____________________________________
Reviewers' comments:
Reviewer #1:
The authors much improved the manuscript during the revision, but there remains typos and other issues that should be addressed before publication:

L27: "ployglutamate" to "polyglutamate"

Changed accordingly

L30: "towards the" to "for the"

Changed accordingly

L47: "like" to "such as"

Changed accordingly

L55: -310 mV is too high. -340 or -350 mV is consistent with other reviews, e.g. Greening et al. MMBR 2016, Grinter et al., FEMS Microbiol Rev 2021.

Thank you! The ms was changed accordingly.

L55: ", in its plainest form," can be removed

Changed accordingly

L61: Add 'potentially' before Firmicutes as this hasn't been proven experimentally

Changed accordingly

L63: Explain that the derivative contains a 3-phosphoglycerate not 2-phospholactate tail.

Changed accordingly

L63: "derivate" to "derivative"

Changed accordingly

L73: "potentials" to "potential"

Changed accordingly

L76: "mycobacterial taxa" to "mycobacteria"

Changed accordingly

L77: "phylum Actinomycetes" to "phylum Actinobacteria"

Changed accordingly

L78: Better citations here would be Greening et al., Front Microbiol 2017 and Mathew et al., Chem Comm 2018.

Thank you! The ms was changed accordingly and the references added.

L82: Remove "whereby they are not fully elucidated yet". Only the archaeal pathway remains unresolved.

Changed accordingly

L83: This refers to the archaeal pathway only. I recommend referencing Grinter et al., FEMS Microbiol 2021 for the other pathways.

Thank you! The ms was changed accordingly.

L83: Modify "flavin biosynthesis" to "5-deazaflavin biosynthesis" and "lactate" to "2-phospholactate"

Changed accordingly

L84: It should be Fo not F0 in all instances

Changed accordingly

L87: Protein names shouldn't be italicised in all instances

Changed accordingly

L100: "fluorescent character" to "fluorescence" or "fluorescent characteristics"

Changed accordingly

L100: The second sentence isn't well explained and needs some expansion.

We are sorry and rephrased and extended the sentence.

L118: "the appropriate tubes" to "appropriate tubes"

Changed accordingly

L120: Change x to multiply sign × in all instances

Changed accordingly

L142: Remove the hyphen after mL

Changed accordingly

L193: "gas-chromatography" to "gas chromatography"

Changed accordingly

L246: This is a vague and repetitive sentence. What does "might be interesting" mean? An issue with microscopy is that it doesn't directly confirm the presence of F420 in contrast to a HPLC-based method. Given other molecules might cause similar fluorescence.

Thank you for the input. We changed the sentence to be more precise.

L254: This inference isn't statistically supported given you didn't perform replicates. Extraction efficiency looks high between all three methods. Perhaps change "most effective" to "highly effective".

The reviewer is right. Changed accordingly.

L273: Amend to "The detection of high levels of F420 in soil and other samples supports Ney et al., who proposed that the cofactor is widespread in aerobic soil bacteria based on genomic and metagenomic analysis."

Thank you! The ms was changed accordingly.

Figure 3: The axis titles are too small, axis labels lack ticks, subscripts should be used for 420 in all cases, and underscores should be replaced with emdashes. F420-1 not F420_1.

Axis titles were changed, ticks added, subscripts for 420 used and F420_1/2/3 etc changed to F420-1 etc.

Table 1: Add chemical abbreviation for potassium dihydrogenphosphate. EDTA is misspelt in multiple ways. Polysorbate is misspelt. What is ammoniac?
We are sorry! Abbreviation was added, misspellings corrected (incl. ammonia).

Table 2: Equipment is misspelt
Thank you! The Table was changed accordingly.

Reviewer #3: 
Manuscript Summary:
A protocol is described that can detect the F420 content with is characteristic polyglutamate tail in various samples

Major Concerns:
The actions taken by the authors to accommodate the reviewers' comments are appreciated but there are still issues to be resolved.

What is still missing is:
=> a better framing of this protocol within the current related protocols
The text: Detection of cofactor F420 is often based on its fluorescent character. Thereby, its oligo glutamate derivates were separated using RP-HPLC24,25. Recently Ney et al. used tetrabutylammoniumhydroxid as an ion-pairing reagent for the negatively charged glutamate tail to enhance separation on RP-HLPC successfully4 might not be efficient to substantiate why your protocol is 'better'.

Thank you for this suggestion. We highlighted the extraction from environmental samples, which is the most important innovation of the described method, in comparison to pure culture-samples. This protocol yields reproducible amounts of cofactor F420 from environmental samples, as visible by excellent linear regression after analysis from spiked samples.

Furthermore:
"It turned out that a weak anion mixed-mode polymeric sorbent was most suitable

=> which criteria were used to determine that this sorbent was 'most suitable'

Thank you for this note, we rephrased the sentence in line 219 – 221 to: “Subsequently, cell extracts were subjected to a solid phase extraction (SPE) procedure. For this purpose, different ion exchangers were tested. It turned out that a weak anion mixed-mode polymeric sorbent yielded the highest amount of cofactor F420 after elution”

"can not only provide information on the overall concentration of cofactor F420 but also on polygutamate tail length distribution."
=> explain a bit more here (again) why knowledge of this polyglutamate tail length would be so interesting to know
Thank you for this information, we rephrased the sentence from line 97 – 100 in the introduction to highlight the importance of different tail lengths.

Finally:
=> The discussion does not really read as discusion but more as a summary.

The focus of this journal is the clear presentation of methods to facilitate their use. Therefore, our discussion aimed to explain the advantages and to outline possible future applications of the presented method. However, we carefully revised the discussion section and hope, that we could improve the quality of the ms.

Minor Concerns:
Line 72 which facilitates the "identification" of methanogens microscopically => 'detection' is better than 'identification'

Changed accordingly