Table 1:

| Buffer | Composition |
| --- | --- |
| Lysis buffer (2x stock solution) | 200 mM potassium dihydrogenphosphate (KH2PO4) 50 mM ethylenediaminetetraacetic acid (EDTA) 1% (w/v) polysorbate 80 (Tween 80) adjusted to pH 7.0 with 5 M sodium hydroxide solution |
| SPE conditioning solution | Methanol (HPLC grade) |
| SPE equilibration solution | distilled water 0.2 µm filtered |
| SPE wash solution 1 | 25 mM ammonium acetate |
| SPE wash solution 2 | Methanol (HPLC grade) |
| SPE elution buffer | 2% (v/v) ammonia in methanol by diluting 20%–25% aqueous ammonia solution in methanol |
| HPLC mobile phase A | 10 mM tetrabutylammoniumhydroxide (TBAH) 20 mM di-ammonium hydrogenphosphate ((NH4)2HPO4) adjusted to pH 7.0 with 85% phosphoric acid |
| HPLC mobile phase B | Acetonitrile (HPLC grade) |