# Submission ID #: 62741

# Scriptwriter Name: Swati Madhu

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19136053

Title: Light Sheet Microscopy of Fast Cardiac Dynamics in Zebrafish Embryos

# Authors and Affiliations:

Anjalie Schlaeppi, Alyssa Graves, Michael Weber, Jan Huisken

# Morgridge Institute for Research

# Corresponding Authors:

# Anjalie Schlaeppi 	ASchlaeppi@morgridge.org

# Email Addresses for All Authors:

ASchlaeppi@morgridge.org

AGraves@morgridge.org

MWeber@morgridge.org

JHuisken@morgridge.org

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Yes

If Yes, can you record movies/images using your own microscope camera? No

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit. If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Please list the make and model of your microscope.

Olympus SZX7 and Olympus SZX16

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all done.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations? No

Current Protocol Length

Number of Steps:  21

Number of Shots:  50

# Introduction

- Introductory Interview Statements

Authors: The interview statements were edited for length. Per journal guidelines, each interview statement should be limited to about 30 words.

REQUIRED:

  - Jan Huisken:  Our protocol presents an optimized tool to study the zebrafish heart in vivo and describes embedding and immobilization techniques along with the data acquisition and analysis pipeline for cardiac imaging.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Anjalie Schlaeppi: Zebrafish is a cardiac model system with a large potential for applications like drug screens. Protocols that enable gentle imaging under physiological conditions are crucial when studying heart diseases.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 5.1.1

OPTIONAL:

  - Alyssa Graves: The workflow presented here focuses on zebrafish embryonic heart imaging, but the modified version can be applied to various other samples and experiments, including worm, squid, and hydra.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 5.3.2

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at the University of Wisconsin-Madison

# Protocol

- Preparation of Zebrafish

  - Begin by collecting the embryos obtained from the breeding of the desired transgenic lines [1]. Keep the embryos at 28 degrees Celsius in a Petri dish filled with E3 (E-3) fish medium [2].

    - WIDE: Talent collecting the embryos.

    - Talent placing the embryos in the petri dish containing fish medium.

  - Use a bore glass needle mounted onto a micromanipulator and connected to a pico-injector to inject 30 picograms of alpha-bungarotoxin mRNA into the yolk of one-or two-cell stage embryos to immobilize the fish [1].

    - SCOPE: mRNA being injected into the embryos.

  - Keep the eggs at 28 degrees Celsius in a Petri dish filled with E3 medium [1] and transfer the eggs every 24 hours to a new dish containing fresh E3 medium until imaging [2].

    - Talent placing the embryos in the petri dish containing fish medium.

    - Talent transferring the embryos to a new dish containing fresh medium.

  - To prevent pigment formation, if the zebrafish background is not albino, transfer fish at 24 hours post-fertilization to a new dish containing E3 medium with 0.2 millimolar tyrosinase inhibitor-1-phenyl-2-thiourea [1].

    - Talent transferring the fish into a new dish contains E3 with 0.2 mM tyrosinase inhibitor-1-phenyl-2-thiourea.

- Fluorinated Ethylene Propylene Tubes Preparation

  - To straighten the fluorinated ethylene propylene tube, place the tube in a glass or steel autoclave-safe tubing with the correct inner diameter to fit the polymer tubes [1-TXT] and autoclave at 180 degrees Celsius for 2 hours [2]. Once the tubes reach room temperature, remove the straightened polymer tube [3].

    - Talent placing the tube in the tubing. TEXT: Tubing diameter: 1.6 or 2.4 mm Videographer: This shot is important!

    - Talent placing the tubing in the autoclave.

    - Talent removing the tube from the tubing.

  - For cleaning the tube, use a 50-milliliter syringe to flush the tube twice with 1 molar NaOH [1]. Cut the tube to the size of a 50-milliliter centrifuge tube [2], place in a centrifuge tube filled with 0.5 molar NaOH [3], and ultrasonicate for 10 minutes [4].

    - Talent flushing the tube with 1M NaOH.

    - Talent cutting the tube.

    - Talent placing the cut tubes in the centrifuge tube.

    - Talent placing the centrifuge tube in the sonicator.

  - Flush the fluorinated ethylene propylene tube with double-distilled water followed by 70% ethanol [1]. Transfer tubes to a fresh centrifuge tube containing 70% ethanol [2] and ultrasonicate for 10 minutes [3].

    - Talent flushing the tubes with double-distilled water or 70% ethanol.

    - Talent placing the tubes in 70% ethanol-containing tube.

    - Talent placing the centrifuge tube in the sonicator.

  - After ultrasonication, flush the tube for the last time with double-distilled water [1] and store it in a centrifuge tube containing double-distilled water [2].

    - Talent flushing the tubes with double-distilled water. Videographer: This shot is important!

    - Talent placing the tubes in the centrifuge tube containing double-distilled water.

- 2% Agarose Dish and Embedding Media Preparation

  - After dissolving low melting point agarose in E3 medium, pour the melted agarose in a glass or plastic Petri dish to make a 1 to 2-millimeter coat [1]. Once the agarose is solidified, gently pour the E3 medium on top of the agar to prevent drying [2].

    - Talent pouring melted agarose in the petri dish.

    - Talent pouring E3 medium on the solidified agarose.

  - Seal the plate with paraffin film [1] and store at 4 degrees Celsius [2]. Thaw the stock solution of tricaine [3] and add 0.02% tricaine to the E3 medium to use as embedding medium [4].

    - Talent sealing the plate with paraffin film.

    - Talent placing the sealed plate in the refrigerator.

    - Thawed/melted tricaine solution.

    - Talent adding tricaine to E3 medium.

- Sample Mounting

  - Use a disposable glass pipette to transfer fish to the embedding medium [1]. Verify that the fish has stopped moving and the heart is beating at a similar speed compared to the control [2]. Cut the fluorinated ethylene propylene tube to the ideal length with a razor blade [3].

    - Talent transferring the fish to the embedding medium.

    - SCOPE: Fish movement stopping and heart is beating steadily.

    - Talent cutting the tube.

  - Prepare a syringe with a blunt end cannula [1]. Fill the syringe with air [2], then mount the tube onto the needle [3] and gently flush out any remaining water by emptying the syringe [4].

    - Talent preparing a syringe with a blunt end cannula. Videographer: This shot is important!

    - Talent pulling the plunger of a syringe.

    - Talent mounting the tube onto the needle.

    - Talent pushing the plunger, and the water is coming out.

  - Next, fill the fluorinated ethylene propylene tube mounted on a syringe with media [1]. Insert an embryo in the tube, keeping the fish head close to the tube end, avoiding bubble formation [2-TXT]. Using a razor blade, carefully cut the tube at the edge of the blunt end cannula or needle [3].

    - Talent filling the tube with media.

    - SCOPE: Embryo being pulled in the tube. TEXT: Discard the bubble containing sample. Videographer: This shot is important!

    - Talent cutting the tube at the edge of the blunt end cannula or needle.

  - After discarding any liquid on the top of the agar-coated dish, plunge the tube straight into the agar [1]. Rotate the tube and take it out to release the plug from the agarose bed [2]. Verify the presence of the agar plug at the end of the tube [3].

    - Talent inserting the tube in the agar-coated dish.

    - Talent rotating the tube and taking the tube out of the agar-coated dish.

    - SCOPE: Tube with the agar plug.

  - For long-term imaging, cut 3 to 5 holes into the tube at each cardinal direction at least 5 millimeters above the end of the fish by placing a razor blade perpendicular to the axis of the tube [1] and make an incision into the tube at 30 degrees until reaching the mounting media [2]. Then, make a second incision at 180 degrees to create a hole [3].

    - SCOPE: The razor blade is positioned perpendicular to the axis of the tube.

    - SCOPE: The incision is made into the tube at 30 degrees.

    - SCOPE: The incision is made into the tube at 180 degrees. Videographer: This shot is important!

  - Transfer the mounted embryo into a 1.5-milliliter microcentrifuge tube containing embedding media until ready to image [1].

    - Talent placing the mounted embryo in a 1.5 mL microcentrifuge tube containing embedding media.

- Sample Positioning

  - Mount the tube in the sample holder [1] and fill the imaging chamber with embedding media [2]. Place the sample holder on the stage with the sample dipping into the chamber [3].

    - Talent placing the tube in the sample holder.

    - Talent filling the imaging chamber with embedding media.

    - Talent placing sample holder on the stage with the sample dipping into the chamber.

  - Check the health of embedded fish by visually assessing the heart rate and if the heartbeat is too slow, discard the fish [1]. Rotate the fish so that both eyes are in the focal plane and always use the same sample position for reproducible imaging [2].

    - The heart beating steadily.

    - Step_622_632_711.mp4: 00:01 to 00:15 and 00:30 to 00:50 Video editor: Please speed up the video!

  - Then, rotate the fish approximately 20 to 30 degrees counterclockwise for 48 post-fertilization imaging [1].

    - Step_622_632_711.mp4: 00:54 to 01:10 Video Editor: This shot is important!

- Image Acquisition and Processing

  - When the fish has adapted to the laser power, select the illumination side that gives the best image quality [1]. At each z-plane, record 4 to 5 heartbeats at 300 frames per second or more [2].

    - Step_622_632_711.mp4: 01:26 to 01:35

    - Step_712.mp4: 00:02 to 00:05 Video Editor: Please emphasize the black acquire icon being clicked in the green box at the left side of the screen and then just below it, the “acquiring? “converting from black to red.

  - To record the beating heart, move the sample stepwise through the light sheet and use a z-spacing of 1 to 2 micrometers to cover the entire depth of the heart. Load the 4D (4-D) file into a 3D rendering software to explore the data and generate movies of the rendered zebrafish heart [1].

    - Step_722.mp4: 00:01 to 00:30

# Results

- Results: Imaging of the Developing Heart

  - At 48 hours post-fertilization, the heart has just undergone looping and has two chambers, the ventricle and the atrium but has yet to develop valves [1]. The different heart structures such as ventricle, atrioventricular canal, atrium [2], inflow tract, and outflow track are easily distinguishable [3].

    - LAB MEDIA: Figure 5 and 2D_movie_81.avi: 00:00 to 00:03

    - LAB MEDIA: Figure 5a Video editor: Please emphasize the ventricle, AVC, and atrium indicated by white arrows.

    - LAB MEDIA: Figure 5b Video editor: Please emphasize the inflow and outflow tracks indicated by the white arrow and white dashed arrow, respectively.

  - The data indicated precise beating and revealed complex interactions between the heart’s two cell layers, the myocardium, a single-cell muscle layer contracting and generating force [1], and the endocardium, a single cell layer connecting the heart to the heart vasculature [2].

    - LAB MEDIA: Figure 5c and/or 3D_movie_82.mov: 00:00 to 00:03 Video editor: Please emphasize the outer, red-colored area in the images, and if possible, in the video as well.

    - LAB MEDIA: Figure 5b and/or 3D_movie_82.mov: 00:03 to 00:06 Video editor: Please emphasize the inner, cyan-colored area in the images, and if possible, in the video as well.

# Conclusion

- Conclusion Interview Statements

  - Anjalie Schlaeppi: The most important is to always verify sample health and consistent heartbeat under a stereoscope.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 5.1.2 and 6.2.1

  - Jan Huisken: While conventional techniques often affect the heart shape or function, our method delivers dynamic, unperturbed data of the beating heart that help us understand the essentials of the early embryonic heart.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.