# Submission ID #: 62753

# Scriptwriter Name: Shehnaz Lokhandwala

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19139713

# Title: Rapid, Affordable, and Uncomplicated Production of Bacterial Cell-free Lysate

# Authors and Affiliations:

Robert M. Cooper1,*, Taishi Tonooka1,2,*, Andriy Didovyk1,5,*, Jeff Hasty1,3,4

1Biocircuits Institute, University of California, San Diego, USA

2Kyoto Institute of Technology, Kyoto, Japan

3Molecular Biology Section, University of California, San Diego, La Jolla, USA

4Department of Bioengineering, University of California, San Diego, La Jolla, USA

5Present address: Vertex Pharmaceuticals, San Diego, CA, USA

# *These authors contributed equally

☐   All author names and affiliations are correct.

# Corresponding Authors:

Robert M. Cooper				(rcooper@ucsd.edu)

# Email Addresses for All Authors:

tonooka@kit.ac.jp

didovyk@ucsd.edu

jhasty@eng.ucsd.edu

# rcooper@ucsd.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit. If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  17

Number of Shots:  40

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Cell Preparation

  - Begin by using an inoculating loop to streak the cells of an autolysate E. coli (E-coal-eye) strain onto LB (L-B) agar plates containing 50 micrograms per milliliter ampicillin [1], then incubate the plates at 37 degrees Celsius overnight [2].

    - WIDE: Establishing shot of talent streaking the cells.

    - Talent placing the agar plate in an incubator.

  - The following day, using a pipet tip, pick a single colony from the agar plate [1] and add it into a culture tube containing LB ampicillin medium [2]. Grow this starter culture at 37 degrees Celsius overnight [3].

    - Talent picking a colony.

    - Talent adding it into the starter culture.

    - Talent placing the culture in a 37 °C incubator.

  - The next day, add 400 microliters of the starter culture into a 1-liter Erlenmeyer flask containing 400 milliliters of 2xYTPG (two-X-Y-T-P-G) medium supplemented with 50 micrograms per milliliter ampicillin [1-TXT]. Incubate the culture at 37 degrees Celsius with shaking at 300 rpm [2].

    - Talent adding the starter culture to the Erlenmeyer flask. TEXT: See text for all media and buffer preparations

    - Talent incubating the flask at 37 °C.

  - Using a spectrophotometer and an optical cuvette with a 1-centimeter path length [1], periodically measure the culture’s optical density at 600 nanometers [2].

    - Talent adding culture to the optical cuvette.

    - Talent measuring the OD in the spectrophotometer.

  - When the optical density exceeds 1, begin diluting the culture 5-fold before measurements to ensure that the measurements remain within the linear range of a typical laboratory spectrophotometer [1].

    - Talent diluting the culture 5-fold in the cuvette.

  - Once the optical density of the 5-fold diluted culture reaches 0.3 [1], remove the flask from the incubator and proceed to prepare the lysate [2].

    - Shot of the spectrophotometer reading of 0.3.

    - Talent removing the culture flask from the incubator.

- Lysate Preparation

  - To prepare the lysate, harvest the cells by centrifugation at 1800 × g for 15 minutes at room temperature [1]. Pour off the supernatant [2] and remove the remaining liquid using a pipet [3].

    - WIDE: Talent centrifuging the culture.

    - Talent pouring off the supernatant.

    - Talent removing the remaining supernatant using a pipet.

  - Using a vortex mixer, resuspend the pellet in 45 milliliters of cold S30A (S-thirty-A) buffer [1]. Then, weigh an empty 50-milliliter centrifuge tube [2] before transferring the cells into the tube [3]. Centrifuge the cells again and discard the supernatant [4]. Aspirate any remaining supernatant using a pipette [5].

    - Talent resuspending the cells by vortexing.

    - Talent weighing an empty 50-mL tube.

    - Talent transferring the cells into the new tube.

    - Talent centrifuging the cells.

    - Talent aspirating the supernatant.

  - Weigh the tube again and subtract the weight of the empty tube from the weight displayed to obtain the weight of the pellet [1].

    - Talent weighing the tube with the pellet.

  - For every 1 milligram of cell pellet, add 2 microliters of cold S30A buffer supplemented with 2 millimolar dithiothreitol [1], then resuspend the cells by vigorous vortexing [2].

    - Talent adding S30A buffer with DTT.

    - Talent vortexing the cells.

  - Next, freeze the cells by placing them in a negative 20- or negative 80-degree Celsius freezer [1] until the pellet is thoroughly frozen [2]. Then, thaw the cells in a room temperature water bath [3] and vortex vigorously for 2 to 3 minutes [4].

    - Talent placing the cells in a freezer.

    - Shot of frozen pellet.

    - Talent thawing cells in a water bath.

    - Talent vortexing the thawed pellet.

  - To further shear the genomic DNA and release the ribosomes, incubate the cells at 37 degrees Celsius for 45 minutes with shaking at 300 rpm [1]. Then, clear the sample of heavy cellular debris by centrifuging in transparent centrifuge tubes at 30,000 × g for 45 minutes at 4 degrees Celsius [2].

    - Talent incubating the cells with shaking.

    - Talent centrifuging the sample.

  - Carefully transfer the supernatant to a new tube with a pipet, taking care not to disturb the pellet. If the transferred supernatant is contaminated with material from the pellet, repeat the centrifugation [1].

    - ECU: Talent transferring the supernatant to a new tube.

  - Transfer the supernatant to 1.5-milliliter centrifuge tubes [1] and centrifuge once more at 21,000 × g for 5 minutes [2].

    - Talent transferring the supernatant into 1.5-mL tubes.

    - Talent centrifuging the tubes.

  - Aliquot the cleared autolysate into desired volumes and store at -80 degrees Celsius  until use [1].

    - Talent aliquoting the lysate.

- Cell-free gene expression

  - For cell-free gene expression using the autolysate, mix 8 microliters of autolysate [1] and 8.9 microliters of premix on ice [2-TXT].

    - WIDE: talent adding lysate to a tube.

    - Talent adding premix to the tube. TEXT: See text for preparing the premix

  - Add DNA to a final concentration of 8 nanomoles [1], any other reagents, and water to obtain a final volume of 20 microliters [2]. Authors: Could you clarify what these reagents are?

    - Talent adding DNA.

    - Talent adding water.

  - Add the reaction to a 384-well microplate [1] and use a plate reader [2] to measure the fluorescence time course and endpoints [3-TXT].

    - Talent placing the reaction in a 384-well microplate.

    - Talent placing the plate in a plate reader.

    - Shot of the plate reader screen showing the fluorescence time course and endpoints. TEXT: For GFP: Excitation wavelength = 485 nm, Emission wavelength = 520 nm

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 60. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Green Fluorescent Protein (GFP) Expression Using the Autolysate

  - GFP (G-F-P) expression using the autolysate with a dilution series of plasmid DNA [1] results in strong expression even with 1 nanomolar DNA [2].

    - LAB MEDIA: Figure 1B. Video Editor: Emphasize the legend showing the different dilutions of DNA used

    - LAB MEDIA: Figure 1B. Video Editor: Emphasize the red curve (0.96 nM)

  - Upon comparing the GFP expression between a commercially available lysate and the autolysate [1], the autolysate produced a greater total yield [2] and achieved a greater maximum production rate [3] than the commercially available lysate [4].

    - LAB MEDIA: Figure 1C and 1D.

    - LAB MEDIA: Figure 1C and 1D.  Video Editor: Emphasize the blue curve in Figure 1C

    - LAB MEDIA: Figure 1C and 1D.  Video Editor: Emphasize the blue curve in Figure 1D

    - LAB MEDIA: Figure 1C and 1D. Video Editor: Emphasize the red curves in both figures

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.