# Submission ID #: 62753

# Scriptwriter Name: Shehnaz Lokhandwala

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19139713

# Title: Rapid, Affordable, and Uncomplicated Production of Bacterial Cell-free Lysate

# Authors and Affiliations:

Robert M. Cooper1,*, Taishi Tonooka1,2,*, Andriy Didovyk1,5,*, Jeff Hasty1,3,4

1Biocircuits Institute, University of California, San Diego

2Kyoto Institute of Technology

3Molecular Biology Section, University of California, San Diego

4Department of Bioengineering, University of California, San Diego

5Present address: Vertex Pharmaceuticals, San Diego

# *These authors contributed equally

# Corresponding Authors:

Robert M. Cooper				(rcooper@ucsd.edu)

# Email Addresses for All Authors:

# rcooper@ucsd.edu

tonooka@kit.ac.jp

didovyk@ucsd.edu

jhasty@eng.ucsd.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group?

☒ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  18

Number of Shots:  42

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Using this protocol, high quality bacterial cell lysates can be produced using only broadly available common laboratory equipment, making cell-free gene expression easily accessible to most researchers [1].

    - 2.3.2, 3.1.1

  - Combining programmed cellular autolysis with a freeze-thaw or freeze-dry cycle allows creating a practical, labor- and cost-effective approach for rapid production of bacterial lysates for cell-free gene expression [1].

    - 3.5.1-3.5.3, 3.7.1

# Protocol

- Cell Preparation

  - Begin by using an inoculating loop to streak the cells of an autolysis E. coli (E-coal-eye) strain onto LB (L-B) agar plates containing 50 micrograms per milliliter ampicillin [1], then incubate the plates at 37 degrees Celsius overnight [2].

    - WIDE: Establishing shot of talent streaking the cells.

    - Talent placing the agar plate in an incubator.

  - The following day, using a pipet tip, pick a single colony from the agar plate [1] and add it into a culture tube containing LB medium with ampicillin [2]. Grow this starter culture at 37 degrees Celsius overnight [3].

    - Talent picking a colony.

    - Talent adding it into the starter culture.

    - Talent placing the culture in a 37 °C incubator.

  - The next day, add 400 microliters of the starter culture into a 1-liter Erlenmeyer flask containing 400 milliliters of 2x (two-X) YTPG (Y-T-P-G) medium supplemented with 50 micrograms per milliliter ampicillin [1-TXT]. Incubate the culture at 37 degrees Celsius with shaking at 300 rpm [2].

    - Talent adding the starter culture to the Erlenmeyer flask. TEXT: See text for all media and buffer preparations

    - Talent incubating the flask at 37 °C.

  - Using a spectrophotometer and an optical cuvette with a 1-centimeter path length [1], periodically measure the culture’s optical density at 600 nanometers [2].

    - Talent adding culture to the optical cuvette.

    - Talent measuring the OD in the spectrophotometer.

  - When the optical density exceeds 1, begin diluting the culture 5-fold [1] before measurements to ensure that the measurements remain within the linear range of a typical laboratory spectrophotometer [2].

    - Talent diluting the culture 5-fold in the cuvette.

    - Talent measuring the OD in the spectrophotometer.

  - Once the optical density of the 5-fold diluted culture reaches 0.3 [1], remove the flask from the incubator and proceed to prepare the lysate [2].

    - Shot of the spectrophotometer reading of 0.3.

    - Talent removing the culture flask from the incubator.

- Lysate Preparation

  - To prepare the lysate, harvest the cells by centrifugation at 1800 × g for 15 minutes at room temperature [1]. Pour off the supernatant [2] and remove the remaining liquid using a pipet [3].

    - WIDE: Talent centrifuging the culture.

    - Talent pouring off the supernatant.

    - Talent removing the remaining supernatant using a pipet.

  - Add 45 milliliters of cold S30A (S-thirty-A) buffer to the pellet [1] and resuspend the pellet by vortexing [2]. Then, weigh an empty 50-milliliter centrifuge tube [3] before transferring the cells into the tube [4]. Centrifuge the cells again and discard the supernatant [5]. Aspirate any remaining supernatant using a pipette [6].

    - Talent adding S30A buffer to the pellet.

    - Talent resuspending the cells by vortexing.

    - Talent weighing an empty 50-mL tube.

    - Talent transferring the cells into the new tube.

    - Talent centrifuging the cells.

    - Talent aspirating the supernatant.

  - Weigh the tube again and subtract the weight of the empty tube from the weight displayed to obtain the weight of the pellet [1].

    - Talent weighing the tube with the pellet.

  - For every 1 milligram of cell pellet, add 2 microliters of cold S30A buffer supplemented with 2 millimolar dithiothreitol [1], then resuspend the cells by vigorous vortexing [2].

    - Talent adding S30A buffer with DTT.

    - Talent vortexing the cells.

  - Next, freeze the cells by placing them in a negative 20- or negative 80-degree Celsius freezer [1] until the pellet is thoroughly frozen [2]. Then, thaw the cells in a room temperature water bath [3] and vortex vigorously for 2 to 3 minutes [4].

    - Talent placing the cells in a freezer.

    - Shot of frozen pellet.

    - Talent thawing cells in a water bath.

    - Talent vortexing the thawed pellet.

  - To further shear the genomic DNA and release the ribosomes, incubate the cells at 37 degrees Celsius for 45 minutes with shaking at 300 rpm [1]. Then, clear the sample of heavy cellular debris by centrifuging in transparent centrifuge tubes at 30,000 × g for 45 minutes at 4 degrees Celsius [2].

    - Talent incubating the cells with shaking.

    - Talent centrifuging the sample.

  - Carefully transfer the supernatant to a new tube with a pipet, taking care not to disturb the pellet. If the transferred supernatant is contaminated with material from the pellet, repeat the centrifugation [1].

    - ECU: Talent transferring the supernatant to a new tube.

  - Transfer the supernatant to 1.5-milliliter centrifuge tubes [1] and centrifuge once more at 21,000 × g for 5 minutes [2].

    - Talent transferring the supernatant into 1.5-mL tubes.

    - Talent centrifuging the tubes.

  - Aliquot the cleared autolysate into desired volumes and store at -80 degrees Celsius  until use [1].

    - Talent aliquoting the lysate.

- Cell-free gene expression

  - For cell-free gene expression using the autolysate, mix 8 microliters of autolysate [1] and 8.9 microliters of premix on ice [2-TXT].

    - WIDE: talent adding lysate to a tube on ice.

    - Talent adding premix to the tube. TEXT: See text for preparing the premix

  - Add DNA to a final concentration of 8 nanomoles [1], any other necessary reagents, and water to obtain a final volume of 20 microliters [2-TXT].

    - Talent adding DNA.

    - Talent adding water. TEXT: Other reagents: IPTG, quorum sensing molecules, etc.

  - Add the reaction to a 384-well microplate [1] and use a plate reader [2] to measure the fluorescence time course and endpoints [3-TXT].

    - Talent placing the reaction in a 384-well microplate.

    - Talent placing the plate in a plate reader.

    - Shot of the plate reader screen measuring the fluorescence time course. TEXT: For GFP: Excitation wavelength = 485 nm, Emission wavelength = 520 nm

# Results

- Results: Green Fluorescent Protein (GFP) Expression Using the Autolysate

  - GFP (G-F-P) expression using the autolysate with a dilution series of plasmid DNA [1] results in strong expression even with 1 nanomolar DNA [2].

    - LAB MEDIA: Figure 1B. Video Editor: Emphasize the legend (inset) showing the different dilutions of DNA used

    - LAB MEDIA: Figure 1B. Video Editor: Emphasize the red curve (0.96 nM)

  - Upon comparing the GFP expression between a commercially available lysate and the autolysate [1], the autolysate produced a greater total yield [2] and achieved a greater maximum production rate [3] than the commercially available lysate [4].

    - LAB MEDIA: Figure 1C and 1D.

    - LAB MEDIA: Figure 1C and 1D.  Video Editor: Emphasize the blue curve in Figure 1C

    - LAB MEDIA: Figure 1C and 1D.  Video Editor: Emphasize the blue curve in Figure 1D

    - LAB MEDIA: Figure 1C and 1D. Video Editor: Emphasize the red curves in both figures

# Conclusion

- Conclusion Interview Statements

  - The three most critical variables are cell pellet to buffer ratio [1], transferring debris-free supernatant [2], and using optimal PEG and magnesium concentration in the final reaction [3].

    - 3.4.1

    - 3.7.1

    - 4.1.2

  - Once the extract has been prepared, a large arsenal of existing protocols developed for E.coli cell-free expression systems can be used, such as ClpXP-mediated degradation or AHL (A-H-L)-mediated quorum sensing [1].

    - 3.9.1