# Submission ID #:  62758

# Scriptwriter Name: Nilesh Kolhe

# Supervisor Name: Shehnaz Lokhandwala

# Project Page Link: https://www.jove.com/account/file-uploader?src=19141238

Title: Förster Resonance Energy Transfer Measurements in Living Plant Cells

Authors and Affiliations: Sonja Michele Schmidtpott, Thorsten Seidel

Dynamic Cell Imaging, Biochemistry and Physiology of Plants, Faculty of Biology, Bielefeld University

# Corresponding Authors:

# Thorsten Seidel	    	tseidel@uni-bielefeld.de

# Email Addresses for All Authors:

# tseidel@uni-bielefeld.de

# sonja.michele_schmidtpott@uni-bielefeld.de

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all done

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group?

Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  19

Number of Shots:  53

# Introduction

- Introductory Interview Statements

  - Thorsten Seidel: The protocol provides a simple procedure to make FRET-experiments by sensitized emission more reproducible and comparable [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Sonja Schmidtpott: The main advantage of FRET is measurements in real time, so that dynamic processes can be addressed [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Protocol

- Laser Adjustment

  - For laser adjustment using a transmission photomultiplier, place the 8-well slide containing the transfected protoplasts under the microscope [1-TXT].

    - WIDE: Establishing shot of talent placing the slide under the microscope. TEXT: See text for protoplast transfection details

  - After selecting an empty well [1], choose line-scanning mode [2] and histogram view [3], decrease the laser intensity to the minimum [4], and adjust the detector gain to detectable background noise [5].

    - SCREEN: 2.2.1.mp4. 0:02-0:06. Video Editor: Emphasize/zoom in on the A3 well selection

    - SCREEN: 2.2.1.mp4. 0:06-0:10.

    - SCREEN: 2.2.1.mp4. 0:10-0:12.

    - SCREEN: 2.2.1.mp4. 0:12-0:34. Video Editor: speed up as necessary, emphasize/zoom in on the decreasing laser intensity

    - SCREEN: 2.2.1.mp4. 0:34-0:44. Video Editor: speed up as necessary, emphasize/zoom in on adjustment of the gain

  - Next, increase the laser intensity in steps of 0.5% [1] while recording the corresponding signal [2-TXT].

    - SCREEN: 2-3-1 458.mp4. 0:14-0:28. Video Editor: Emphasize/zoom in on the laser intensity being changed from 0.1 to 0.5 in the channels window

    - SCREEN: 2-3-1 458.mp4. 0:28-0:48. TEXT: Repeat these steps for the second laser line Video Editor: Emphasize/zoom in on the file being saved between 0:28-0:31, then speed up as necessary

  - For laser adjustment using the reflective mode, select an empty well [1], then apply a reflection filter [2], switch on the reflection mode [3], and ensure that the detector wavelength range covers the wavelength of the laser [4].

    - SCREEN: 2-4-1.mp4. 0:01-0:07. Video Editor: Emphasize/zoom in on the A3 well selection

    - SCREEN: 2-4-1.mp4. 0:07-0:12.

    - SCREEN: 2-4-1.mp4. 0:12-0:14. Video Editor: Emphasize/zoom in on the Reflection box being ticked

    - SCREEN: 2-4-1.mp4. 0:14-0:25. Video Editor: Emphasize/zoom in on the wavelength (white bar) being adjusted between 0:19-0:25

  - Choose the line-scanning mode and histogram view [1], decrease the laser intensity to the minimum [2], and adjust the detector gain to detectable background noise [3].

    - SCREEN: 2-5-1.mp4. 0:01-0:08.

    - SCREEN: 2-5-1.mp4. 0:08-0:22. Video Editor: Emphasize/zoom in on the laser intensity being changed from 1.0 to 0.2 between 0:08-0:12, then speed up if necessary

    - SCREEN: 2-5-1.mp4. 0:22-0:30. Video Editor: Emphasize/zoom in on the increasing gain in the channels window

  - Next, move the objective to the lowest position [1] before moving it back up [2] until the reflection of the coverslip is visible [3]. Then, increase the laser intensity in steps of 0.5% [4] while recording the corresponding signal [5].

    - Talent moving the objective to the lowest position. Videographer: Obtain multiple usable takes because this will be reused in 3.3.1

    - Talent moving the objective up. Videographer: Obtain multiple usable takes because this will be reused in 3.3.2

    - SCREEN: reflection.mp4. 0:00-0:03.

    - SCREEN: 2-6-4.mp4. 0:16-0:26. Video Editor: Emphasize/zoom in on the laser intensity being changed from 0.1 to 0.5 in the channels window

    - SCREEN: 2-6-4.mp4. 0:26-0:44. Video Editor: Emphasize/zoom in on the file being saved between 0:26-0:31, then speed up as necessary

  - For data evaluation [1], tabulate and sort the data by signal intensities, then plot the signal intensities against the relative laser power [2] and choose the laser intensities resulting in a similar signal intensity [3].

    - SCREEN: 2-7-1.mp4. 0:00-0:15. Video Editor: speed up, as necessary

    - SCREEN: 2-7-1 datasheet.mp4. 0:17-1:01. Video Editor: speed up, as necessary

    - SCREEN: 2-7-1 datasheet.mp4. 1:12-1:25.

- Adjustment of Photomultipliers

  - For adjustment of the photomultipliers [1], select an empty well [2], then apply a reflection filter [3], switch to reflection mode [4], and ensure that the detector wavelength range covers the wavelength of the laser [5].

    - WIDE: Talent at the computer, opening software, monitor visible in frame. Videographer: Obtain a few shots of talent clicking the mouse and typing on the keyboard to use as b-roll throughout the video

    - SCREEN: 3-1-2.mp4. 0:01-0:03. Video Editor: Emphasize/zoom in on the A3 well selection

    - SCREEN: 3-1-2.mp4. 0:08-0:12.

    - SCREEN: 3-1-2.mp4. 0:12-0:14. Video Editor: Emphasize/zoom in on the Reflection box being ticked

    - SCREEN: 3-1-2.mp4. 0:14-0:22. Video Editor: Emphasize/zoom in on the wavelength (white bar) being adjusted

  - Choose the line-scanning mode and histogram view [1], decrease detector gain to half the maximum [2], and adjust the laser intensity to detectable background noise [3].

    - SCREEN: 3-2-1.mp4. 0:01-0:06.

    - SCREEN: 3-2-1.mp4. 0:06-0:12. Video Editor: Emphasize/zoom in on the gain being decreased to half

    - SCREEN: 3-2-1.mp4. 0:12-0:28. Video Editor: Emphasize/zoom in on the laser intensity being adjusted between 0:20-0:24

  - Next, move the objective to the lowest position [1] before moving it back up [2] until the reflection of the coverslip is visible [3]. Then, increase the detector gain in 50-to-100-volt steps [4] and record the corresponding signal [5-TXT].

    - Use 2.6.1. Talent moving the objective to the lowest position.

    - Use 2.6.2. Talent moving the objective up.

    - SCREEN: reflection.mp4. 0:00-0:03.

    - SCREEN: 3-3-4.mp4. 0:10-0:25. Video Editor: Emphasize/zoom in on the laser gain being changed from 600 to 700 in the channels window

    - SCREEN: 3-3-4.mp4. 0:25-0:47. TEXT: Repeat these steps for the second detector Video Editor: Emphasize/zoom in on the file being saved between 0:26-0:30, then speed up as necessary

  - For data evaluation [1], plot the intensity against the detector gain for each detector [2], then choose the individual detector gains to obtain similar sensitivity [3].

    - SCREEN: 3-4-1.mp4. 0:01-0:08.

    - SCREEN: 3-4-1 datasheet.mp4. 0:00-0:40. Video Editor: speed up, as necessary

    - SCREEN: 3-4-1 datasheet.mp4. 0:51-1:04. Video Editor: speed up, as necessary

- Förster Resonance Energy Transfer (FRET) Image Acquisition

  - For image acquisition [1], choose the appropriate filters or dichroic mirrors and use the same dichroic mirror for all channels to enable line-by-line scanning [2-TXT]. Then select a water immersion objective for the imaging of live cells and choose 12- or 16-bit scanning with moderate scanning speed [3].

    - WIDE: Talent at the computer, opening software, monitor visible in frame.

    - SCREEN: 4-1-2.mp4. 0:00-0:04. TEXT: Double dichroic mirror MBS 458/514 for the FRET-pair ECFP/EYFP

    - SCREEN: 4-1-3.mp4. 0:00-0:08.

  - Next, define the detection range, preferably 470 to 510 nanometers for donor detection [1] and 530 to 600 nanometers for acceptor detection in the case of the FRET (fret) pair of enhanced cyan fluorescent protein, or ECFP (E-C-F-P), and enhanced yellow fluorescent protein, or EYFP (E-Y-F-P) [2].

    - SCREEN: 4-2-1.mp4. 0:00-0:10. Video Editor: Emphasize/zoom in on the wavelengths being defined

    - SCREEN: 4-2-1.mp4. 0:10-0:30. Video Editor: Emphasize/zoom in on the wavelengths being defined

  - After applying the detector and laser settings as demonstrated previously, revise the laser intensity based on the obtained laser power table, if required. Ensure that the signal-to-noise ratio covers the entire dynamic range of the detectors [1].

    - SCREEN: 4-3-1.mp4. 0:00-0:20.

  - After fine-tuning with the pinhole diameter while keeping the laser intensities and detector gains constant, perform the FRET measurements, taking images of at least 20 cells [1].

    - SCREEN: 4-4-1.mp4. 0:00-0:20.

- Determination of Crosstalk Corrections, Calibration of the Measurements, and Data Evaluation

  - To determine the Crosstalk Corrections, perform FRET measurements with cells expressing the donor fluorophore only [1] and those expressing the acceptor fluorophore only [2].

    - SCREEN: 5-1-1 donor.mp4. 0:00-0:10; 0:20-0:40; 0:42-0:51. Video Editor: speed up as necessary

    - SCREEN: 5-1-1 acceptor 2.mp4. 0:00-0:15; 0:23-0:30; 0:32-0:43. Video Editor: speed up as necessary

  - For calibration of the measurements, perform FRET measurements with cells expressing the donor-acceptor fusion [1].

    - SCREEN: 5-1-1 acceptor.mp4. 0:00-0:26. Video Editor: speed up as necessary

  - For data evaluation, obtain line profiles of the cells, ensuring that each profile contains no more than one cell. Save the profiles as text files [1]. Then, using the text file import option in the Data section, import the text files into a spreadsheet [2].

    - SCREEN: 5-3-1.mp4. 0:00-0:17.

    - SCREEN: 5-3-1 data import.mp4. 0:01-0:22. Video Editor: speed up as necessary

  - Next, read out the maximum values by applying the Max function [1], then list the obtained values in a table having a column each for donor emission ID (I-D), FRET emission IF (I-F), acceptor emission IA (I-A), and at least four data sets: donor only, acceptor only, donor-acceptor fusion, and measurement [2].

    - SCREEN: 5-4-1.mp4. 0:10-0:25. Video Editor: speed up the video as necessary

    - SCREEN: 5-4-1.mp4. 0:27-0:37. Video Editor: Emphasize the column headings ID, IF and IA when mentioned in the VO

# Results

- Results: FRET Measurements in Living Plant Cells

  - The laser adjustment revealed a linear increase in emission with increasing laser intensity [1]. As shown by a steeper slope, the emission of the 514-nanometer line was much higher [2] than the emission of the 458-nanometer line [3].

    - LAB MEDIA: Figure 2 Video Editor: Please emphasize the dotted line connecting the dots (indicating a linear relationship) in Figure 2A and B

    - LAB MEDIA: Figure 2 Video Editor: Please emphasize the slope (177.96) in Figure 2B

    - LAB MEDIA: Figure 2 Video Editor: Please emphasize the slope (105.16) in Figure 2A

  - Varying the detector gains at constant laser power [1] revealed an exponential behavior for both analyzed detectors [2].

    - LAB MEDIA Figure 3

    - LAB MEDIA Figure 3 Video Editor: Please emphasize the exponential curves in Figure 3A and B

  - The discrepancy in the spectral bleed-through of the donor and the acceptor [1] analyzed with recombinant purified proteins [2] and that analyzed with cells expressing those proteins [3] demonstrates that it is impossible to omit the determination of spectral bleed-through in living cells, likely caused by cellular pigments [4].

    - LAB MEDIA: Figure 4C

    - LAB MEDIA: Figure 4C Video Editor: Please emphasize the ‘recombinant’ bars in both graphs

    - LAB MEDIA: Figure 4C Video Editor: Please emphasize the LSM2 and LSM1 bars in both graphs

    - LAB MEDIA: Figure 4C

  - The FRET efficiency between the labeled vacuolar ATPase (A-T-pace) subunits [1], VHA-A-ECFP (V-H-A-A-E-C-F-P) and VHA-a-EYFP (V-H-A-a-E-Y-F-P), decreased with increasing signal intensity [2]. In contrast, the interaction between VHA-E1-ECFP (VHA-E-One-E-C-F-P) and VHA-C-EYFP (V-H-A-C-E-Y-F-P) was independent of the signal intensity [3].

    - LAB MEDIA: Figure 5A, 5B.

    - LAB MEDIA: Figure 5A, 5B. Video Editor: Please emphasize the dotted red line in Figure 5B

    - LAB MEDIA: Figure 5A, 5B. Video Editor: Please emphasize the dotted red line in Figure 5A

# Conclusion

- Conclusion Interview Statements

  - Sonja Schmidtpott: The choice of appropriate optical components is crucial for the detection of the donor and acceptor [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: 4.1.2

  - Thorsten Seidel: This protocol can also be applied for ratiometric sensors in living cells, increasing the reproducibility of these experiments [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera