# Submission ID #:  62762

# Scriptwriter Name: Swati Madhu

# Project Page Link: https://www.jove.com/account/file-uploader?src=19142458

# Title: Studies of Chaperone-Cochaperone Interactions using Homogenous Bead-Based Assay

# Authors and Affiliations:

Lisha Wang1, Liza Bergkvist1, Rajnish Kumar1,2, Bengt Winblad1,3, Pavel F. Pavlov1

1Department of Neuroscience Care and Society, Div. of Neurogeriatrics, Karolinska Institutet

2Department of Pharmaceutical Engineering & Technology, Indian Institute of Technology (BHU)

# 3Theme Inflammation and Aging, Karolinska University Hospital

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Pavel F. Pavlov 	pavel.pavlov@ki.se

# Email Addresses for All Authors:

Lisha.wang@ki.se

Liza.bergkvist@ki.se

Rajnish.kumar@ki.se

Bengt.winblad@ki.se

# pavel.pavlov@ki.se

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit. If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  15

Number of Shots:  38

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Coupling of Hsp90 C-terminal Peptide to the Acceptor Beads

  - Begin by diluting the Hsp90 (H-S-P-ninety) peptide in PBS at 1 milligram per milliliter concentration [1]. After diluting the unconjugated acceptor beads in PBS at 1 milligram per milliliter concentration [2], transfer the beads into a 1.5-milliliter tube [3].

    - WIDE: Talent adding peptide in the PBS.

    - Talent adding beads in the PBS.

    - Talent transferring diluted beads into a 1.5 mL tube.

  - Centrifuge the diluted beads for washing [1-TXT] and then carefully remove the supernatant [2].

    - Talent placing the tube in the incubator. TEXT: Centrifugation: 16,000 x g, 15 min, RT

    - Talent removing the supernatant.

  - For conjugating the peptides to the acceptor beads at a ratio of 10 to 1, to the pelleted beads, add PBS, diluted peptide Tween-20, and sodium cyanoborohydride solution as described in the text manuscript [1] and incubate with end-over-end agitation on a rotary shaker [2].

    - Talent adding reagents to the tube containing pelleted beads.

    - Talent placing the tube in the rotary shaker TEXT: Incubation: 37 ˚C, 10-20 rpm, 24 h

  - To block the unreacted sites, add 20 microliters of 1 molar Tris-hydrochloride solution of pH 8.0 to the beads [1] and quench the reaction by incubating for 1 hour at 37 degrees Celsius [2].

    - Talent adding tris-HCl to the beads.

    - Talent placing the tune in the incubator.

  - At the end of the incubation, wash the beads by centrifugation and [1-TXT] and resuspend the bead pellet in 1 milliliter of 100 millimolar tris HCl solution of pH 8.0 [2]. Repeat the washing two more times [3].

    - Talent placing the tube in the centrifuge. TEXT: Centrifugation: 16,000 x g, 15 min, RT

    - Talent resuspending the pellet in tris-HCL solution.

    - Talent discarding the supernatant.

  - After the last washing, resuspend the beads at 1 milligram per milliliter concentration in storage buffer [1-TXT] and store the conjugated acceptor bead solution at 4 degrees Celsius protected from light [2].

    - Talent resuspending the pellet in storage buffer. TEXT: Storage buffer: 1 mL 0.5 × PBS with 0.01% sodium azide

    - Talent placing the tube in 4 ˚C freezer.

- Assay for Interaction Between GST-FKBP51 or GST-FKBP52 and Hsp90 C-terminal Peptide and Inhibition with Small Molecular Mass Compounds

  - Add glutathione donor beads at 10 micrograms per milliliter concentration in PBS [1-TXT]. Add GST-FKBP51 or GST-FKBP52 to a final concentration of 10 micrograms per milliliter [2] and incubate the reaction for 10 minutes at 25 degrees Celsius in the dark [3]. Authors: How would you like JoVE’s voiceover talent to pronounce GST-FKBP51 and GST-FKBP52?

    - Talent adding beads in PBS. TEXT: PBS: 0.5x, pH-7.4

    - Talent adding GST-tagged protein in a tube containing beads.

    - Talent placing the tube in the dark.

  - Make serial dilutions of the test compound in DMSO [1]. Add 0.25 microliters of test compound dilutions in triplicate in the corner of each well of a 384-well plate [2]. For negative control, add 0.25 microliters of DMSO [3], and for positive control, add 0.25 microliters of Hsp90 C-terminal peptide in the wells [4].

    - Talent diluting test compound.

    - Talent adding test compound in wells.

    - Talent adding DMSO in the wells.

    - Talent adding peptide in the wells.

  - Add 22.5 microliters of the solution containing glutathione donor beads with GST-tagged proteins to each well [1]. Shake the plate gently with hands [2] and incubate in the dark at 25 degrees Celsius for 15 minutes [3].

    - Talent adding the mixture in the wells.

    - Talent shaking the plates with hand.

    - Talent placing the plate in the dark.

  - Dilute the acceptor beads with attached Hsp90 C-terminal peptide at 100 micrograms per milliliter concentration in 0.5 times PBS [1]. Add 2.25 microliters of diluted acceptor beads to each well [2]. Shake and incubate the plate in the dark as demonstrated [3].

    - Talent diluting acceptor beads.

    - Talent adding diluted beads in the wells.

    - Talent placing the plate in the dark.

  - To measure the absorbance, turn on the plate reader instrument [1]. Open the software and select the relevant protocol [2]. Click Edit plate map and select the well being used in the plate for measurement, click Next and then Run [3].

    - Talent turning on the instrument.

    - SCREEN: Software being opened and protocol being selected.

Authors: Please create screen capture videos of the shots labeled SCREEN and upload them to your project page: https://www.jove.com/account/file-uploader?src=19142458.

    - SCREEN: Edit plate map being clicked, wells being selected, next and run being clicked.

  - After the run is finished, click Show Results to view the results [1]. Export the data [2] and calculate the Z’ factor and signal to background ratio using the equation described in the text manuscript [3]. Authors: How would you like JoVE’s voiceover talent to pronounce Z’ factor?

    - SCREEN: Show results being clicked.

    - SCREEN: Data being exported.

    - SCREEN: Z-factor and S/B ratio being calculated.

- Dose-Response Curve Generation and IC50 Calculation

  - Create an XY data table in the Welcome dialog, select X Numbers, Y, and enter 3 replicate values in side-by-side columns [1]. Normalize the signal data of samples to the negative control group and import the concentration values to the X column and the signal values to the Y column [2].

    - SCREEN: Table being created and values being entered.

    - SCREEN: Data being normalized and values being imported to X and Y columns.

  - Click Analyze, select Transform concentration (X) and then, select Transform to Logarithms [1]. Click Analyze and choose Nonlinear regression under XY analyses, open the Dose-Response-Inhibition and choose Log (inhibitor) vs. response -- Variable slope [2]. Authors: How would you like JoVE’s voiceover talent to pronounce Log (inhibitor) vs. response -- Variable slope? Do you want JoVE’s voiceover talent to pronounce (X) next to Transform concentration? If yes, then how?

    - SCREEN: Analyze being clicked, transform concentration (X) and transform to Logarithms being selected.

    - SCREEN: Analyze being clicked, nonlinear regression being selected, dose-response-inhibition being opened, and Log (inhibitor) vs. response -- Variable slope being selected.

  - Click OK to view the Results containing IC50 (I-C-Fifty) value and Graphs [1].

    - SCREEN: OK being clicked, results and graphs appear on the screen.

## Protocol Script Questions

# Authors: Please use the step and shot numbers from the script above (not step numbers from the manuscript) when answering the questions below. Do not include steps that will be screen-captured and do not list entire sections.

- Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps (steps are indicated with the 2-digit numbers, like 2.1, 2.2, etc.).

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

- If a dissection or stereo microscope is required for your protocol, please list all shots that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 101. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Inhibitory Effect of Small Molecular Weight Test Compound D10

  - This assay was used for screening small molecules inhibiting interactions between Hsp90 and FKBP51 and FKBP52 [1]. The Z’ score of more than 0.8 and signal to background ratio of 13.35 demonstrate the robustness and reliability for high-throughput screening [2].

    - LAB MEDIA: Figure 3A

    - LAB MEDIA: Figure 3A Video editor: Please emphasize Z’=0.82 and S/B=13.35 in the graph.

  - The effect of small molecular weight test compound D10 (D-ten) on inhibition of chaperone-cochaperone interactions was assessed, and IC50 values were calculated where D10 showed dose-dependent inhibition [1].

    - LAB MEDIA: Figure 3B

  - The IC50 value for Hsp90-GST-FKBP51 interactions was 65 nanomolar [1], whereas, for Hsp90-GST-FKBP52 interactions, complete inhibition was not achieved with the highest compound concentration indicates that selective inhibition of protein-protein interaction with small molecules can be achieved [2].

    - LAB MEDIA: Figure 3B Video editor: Please emphasize the first line in the graph with (●) data points.

    - LAB MEDIA: Figure 3B Video editor: Please emphasize the second line in the graph with (○) data points.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.