# Submission ID #:  62767

# Scriptwriter Name: Nilesh Kolhe

# Supervisor Name: Shehnaz Lokhandwala

# Project Page Link: https://www.jove.com/account/file-uploader?src=19143983

Title: A Simple and Effective Transplantation Device for Zebrafish Embryos

Authors and Affiliations: Gary H. Soh1, Anna C. Kögler1, Patrick Müller1,2

1Systems Biology of Development Group, Friedrich Miescher Laboratory of the Max Planck Society

2Department of Biology, University of Konstanz

# Corresponding Authors:

# Patrick Müller		patrick.mueller@tuebingen.mpg.de

# Email Addresses for All Authors:

patrick.mueller@tuebingen.mpg.de

gary.hm.soh@outlook.com

anna.koegler@tuebingen.mpg.de

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Yes

If Yes, can you record movies/images using your own microscope camera?

No

Please list the make and model of your microscope.

ZEISS Stemi 2000 or Stemi 508

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations?

The experimental procedures will all be filmed in one location at the University of Konstanz. However, the introductory interview statements need to be filmed in two different locations. Anna Kögler needs to be filmed in Konstanz, whereas Gary Soh needs to be filmed in Singapore.

Current Protocol Length

Number of Steps:  17

Number of Shots:  39

# Introduction

- Introductory Interview Statements

  - Gary Soh: This method provides an easy way to transplant cells in zebrafish embryos and will be useful for generating ectopic sources and germline mutants [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: 3.3

  - Gary Soh: The main advantage of this device is the low cost in assembling the device and the ease in learning how to use it [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: 2.1

  - Anna Kögler: The protocol can be applied to blastula-stage zebrafish and medaka embryos and probably other embryonic stages and teleost species as well [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Protocol

- Assembling and Using the Transplantation Device

  - To assemble the transplantation device, connect a Luer tip 25-microliter gas-tight syringe to a micropipette holder using the Luer lock fitting [1], then mount the device directly onto a manual micromanipulator [2].

    - WIDE: Talent connecting the syringe and micropipette holder with the Luer lock fitting.

    - Talent placing the device onto a manual micromanipulator.

  - To use the transplantation device, place the micromanipulator with the assembled device next to a stereomicroscope [1]. Then, remove the plunger [2] and lower the needle into a dish filled with Ringer’s solution at a 45-degree angle [3-TXT] until the tip of the needle is immersed [4].

    - Talent placing the micromanipulator with the transplantation device next to the stereomicroscope.

    - Talent removing the plunger.

    - Talent lowering the needle into a dish. TEXT: Refer to the manuscript for Ringer’s solution details

    - Shot of the tip of the needle immersed into the solution.

  - Insert the plunger approximately halfway to flush out the Ringer’s solutions [1], leaving only a small volume of water in the thin, tapered part of the needle [2].

    - Talent inserting the plunger.

    - SCOPE: Shot of needle with small volume of water.

  - When using a transplantation needle for the first time, coat the inside of the needle by drawing up yolk from a sacrificed embryo and expelling the yolk material completely [1].

    - SCOPE: Talent pulling and pushing the plunger to draw up and expel the yolk.

  - Next, using a transplantation needle, gently position the donor embryo [1], then position the needle opening orthogonal to the embryo’s surface [2] and carefully pull up the plunger [3] to draw the cells into the needle [4-TXT]. Videographer: This step is important!

    - SCOPE: Talent appropriately positioning the embryo.

    - SCOPE: Needle opening being positioned orthogonal to the embryo’s surface.

    - Talent pulling the plunger up.

    - SCOPE: Cells being drawn up into the needle. TEXT: Collect the cells slowly, avoid taking up yolk into the needle

  - Once the desired number of cells is drawn in, stop the suction by gently pushing the plunger down [1] and remove the needle from the embryo by jerking the needle to the side in a short and swift motion [2]. Leave some Ringer’s solution on either side of the cell column by restricting the cells to the tapered end of the needle [3]. Videographer: This step is important!

    - Talent pushing the plunger down.

    - SCOPE: Needle being removed from the embryo.

    - SCOPE: Shot of tapered end of the needle with Ringer’s solution on both sides of the cell column.

  - Clear any remaining yolk or cell debris by slowly moving the plunger up and down and washing the cells with Ringer’s solution [1].

    - SCOPE: Plunger moving up and down, cells being washed. Videographer: This step is important!

  - Next, move the transplantation dish with the non-dominant hand [1] to position the needle orthogonal to the surface of the host embryo [2]. Videographer: This step is important!

    - Talent moving the dish.

    - SCOPE: Needle being positioned orthogonal to the surface of the host embryo.

  - Apply slight pressure onto the embryo by carefully squeezing it against the walls [1], then with a swift, sharp movement, pierce the enveloping layer of the host embryo, taking care not to scratch the yolk with the needle [2]. Videographer: This step is important!

    - SCOPE: Slight pressure being applied, embryo squeezed against the walls.

    - SCOPE: Enveloping layer of the host embryo being pierced with a swift, sharp movement.

  - Once the needle is inside [1], gently push the plunger [2] to extrude the column of cells into the embryo and slowly retract the needle simultaneously [3]. Videographer: This step is important!

    - SCOPE: Shot of needle inside the embryo

    - Talent pushing the plunger of the syringe.

    - SCOPE: Column of cells being extruded into the embryo with needle being retracted simultaneously

- Transplantation of Germ Cells and Screening for Successful Germline Transplants

  - For transplantation of germ cells, fill a transplantation dish with Ringer’s solution [1].

    - WIDE: Talent adding Ringer’s solution to the dish

  - Then, transfer the dechorionated sphere- to dome-stage embryos into the transplantation dish [1] and position the host and donor embryos in alternating columns to transplant the cells from one donor embryo to six different host embryos [2].

    - Talent transferring the embryos to a transplantation dish.

    - Talent positioning the donor and host embryos in alternating columns

  - To carry out the transplantation, orient the embryos with the margin toward the transplantation needle [1]. For germline transplantation, take the source cells from the margin [2] and deposit them into the same location in the host embryo [3]. Videographer: This step is important!

    - SCOPE: Talent appropriately positioning the embryos

    - SCOPE: Source cells being taken from the margin of the donor embryo.

    - SCOPE: Cells being deposited into the host embryo. TEXT: Transplanting a large column increases the chances of a successful germline transplant

  - Once the transplantation is completed, allow the embryo to recover in Ringer’s solution for 30 minutes to 1 hour [1]. Then, using a fluorescence stereomicroscope [2], examine the transplanted cells [3].

    - SCOPE: Embryo recovering in Ringer’s solution

    - Talent examining cells under a fluorescence microscope.

    - LAB MEDIA: Figure 4A.

  - Next, transfer the embryos into a 24-well agarose-coated plate, grouping all the host embryos that received cells from the same donor into the same well [1]. Then, incubate the embryos at 28 degrees Celsius until the next day [2].

    - SCOPE: Talent transferring the embryos into 24-well plate.

    - Talent incubating the embryos.

  - If required, transfer the donor embryos into labeled PCR strips for genotyping [1].

    - Talent transferring the donor embryos into labeled PCR strips.

  - 30 hours post fertilization, screen the host embryos for successful germline transplants under a fluorescence stereomicroscope [1]. The germ cells should be present at the groove above the yolk extension [2]. Grow the successfully transplanted larvae to adulthood according to standard husbandry conditions [3].

    - Talent observing the embryos under the microscope.

    - LAB MEDIA: Figure 4C Video Editor: Please emphasize the green, fluorescent spheres on the top

    - LAB MEDIA: Figure 4D Video Editor: Please emphasize the green, fluorescent spheres on the top

# Results

- Results: Transplantation of Zebrafish Embryos Using the Transplantation Device

  - In successful transplantations, the embryo looks normal and similar in shape and yolk clarity to untransplanted embryos, without large tears in the blastoderm [1]. In contrast, if an embryo is visibly damaged during transplantation, it will not develop normally [2].

    - LAB MEDIA: Figure 4A, 4B Video Editor: Please emphasize Figure 4A

    - LAB MEDIA: Figure 4A, 4B Video Editor: Please emphasize Figure 4B, also emphasize the diffused green fluorescence and tears in Figure 4B

  - Although the transplantation device has mainly been used on zebrafish embryos at blastula stages [1], the transplantation and cell extirpation can be also carried out in dechorionated blastula-stage embryos of the Japanese rice fish medaka [2].

    - LAB MEDIA: Figure 2A, 2B. Video Editor: Please emphasize Figure 2A

    - LAB MEDIA: Figure 2A, 2B Video Editor: Please emphasize Figure 2B

  - In the specific case of germ-line transplantation, a good transplantation results in an embryo with a long horizontal column of cells directly above the yolk margin [1]. However, success of the procedure can only be assessed after 24 to 30 hours of fertilization when the germ cells are distinct in their fluorescence from somatic cells [2].

    - LAB MEDIA: Figure 4A Video Editor: Please emphasize the green, fluorescent cells in the image

    - LAB MEDIA: Figure 4C, 4D

  - The primordial germ cells will appear as small fluorescent spheres in the groove directly above the yolk extension [1]. The presence of these germ cells at the correct location indicates successful germline transplantation [2].

    - LAB MEDIA: Figure 4C, 4D Video Editor: Please emphasize the green, fluorescent spheres in Figure 4C

    - LAB MEDIA: Figure 4C, 4D Video Editor: Please emphasize the green, fluorescent spheres in Figure 4D

  - Examples of unsuccessful transplantations are shown here [1]. In the first example, although the germ cells have reached the gonadal mesoderm [2], as the host embryo is severely deformed, it will not develop normally [3].

    - LAB MEDIA: Figure 4E, 4F

    - LAB MEDIA: Figure 4E Video Editor: Please emphasize the two green, fluorescent spheres in Figure 4E

    - LAB MEDIA: Figure 4E Video Editor: Please emphasize the shrunken head and deformed tail in Figure 4E

  - In the second example, fluorescent cells are only detected outside the groove. These cells are either somatic cells or germ cells that failed to migrate correctly and both cell types will not contribute to the embryo’s germline [1].

    - LAB MEDIA: Figure 4F. Video Editor: Please emphasize the green, fluorescence surrounding the head of the embryo

# Conclusion

- Conclusion Interview Statements

  - Anna Kögler: It is critical to avoid damage to the transplanted cells and the host embryo. Cells should be drawn up slowly, be cleared from any remaining yolk, and be inserted carefully [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: 2.9.1, 2.9.2 (avoiding damage to transplanted cells/host embryo), 2.5.4 (cells being drawn up) and 2.7.1 (cells being washed to remove yolk)

  - Anna Kögler: The technique enables studying the function and range of signaling molecules during embryogenesis by transplanting ectopic signaling sources. It also facilitates the efficient generation of germline mutants [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.