# Submission ID #:  62772

# Scriptwriter Name: Gaurav Vaidya

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19145508

# Title:   Preparation of High-Temperature Sample Grids for Cryo-EM

# Authors and Affiliations:

Yuan-Chih Chang1,2, Chin-Yu Chen3,4, Ming-Daw Tsai1,5

1Institute of Biological Chemistry, Academia Sinica, Taipei, Taiwan.

2Academia Sinica Cryo-EM Facility, Academia Sinica, Taipei, Taiwan.

3Department of Life Sciences, National Central University, Taoyuan, Taiwan.

4Current address: Hubei University, Wuhan, China.

5Institute of Biochemical Sciences, National Taiwan University, Taipei, Taiwan.

☐   All author names and affiliations are correct.

# Corresponding Authors:

Ming-Daw Tsai 	(mdtsai@gate.sinica.edu.tw)

# Email Addresses for All Authors:

kondo@gate.sinica.edu.tw

chinyuchen33@gmail.com

mdtsai@gate.sinica.edu.tw

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  10

Number of Shots:  23

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Preparation of the Vitrification Apparatus

  - Begin by making a 1-centimeter hole in a 50-millimeter centrifuge tube on its closed-end [1]. Place the tube in the vitrification apparatus chamber at the ultrasonic water outlet [2].

    - WIDE: Talent making a hole in the centrifuge tube.

    - Talent placing the tube in the vitrification apparatus chamber.

  - Set up the vitrification apparatus temperature to the specified temperature [3] and allow the vitrification apparatus chamber to reach 55 degrees Celsius and 100 percent relative humidity. Let it stand for at least half an hour to stabilize the conditions before starting the experiment [2].

    - Talent setting up the vitrification apparatus temperature.

    - A shot of the vitrification apparatus chamber with the temperature and humidity readings in focus.

- Warming Up the Sample and the Tools

  - Place the water bath on a hotplate [1] and set the hotplate to the desired temperature [2]. Check with a thermometer to ensure that the water reaches 55 degrees Celsius [3].

    - Talent placing the water bath on a hotplate.

    - Talent setting the hotplate temperature.

    - Talent checking the temperature with a thermometer.

  - Incubate the sample in the water bath [1] and preheat the pipette tip on the edge of the hotplate for 2 minutes or longer before the blotting experiment [2].

    - Talent placing the sample in the water bath.

    - Talent preheating the pipette tip on the edge of the hotplate.

- Blotting Experiment

  - Glow discharge a holey carbon-supported grid at 25 milliamperes for 30 seconds [1]. Incubate the tweezers with the grid in the vitrification apparatus for 2 minutes or longer [2]. Fill the ethane container with ethane according to standard procedures, ensuring that the ethane does not overflow [3].

    - Talent discharging the holey carbon-supported grid.

    - Talent placing the tweezers in the vitrification apparatus.

    - Talent filling the ethane container with ethane.

  - Place the vitrification filter paper into the vitrification apparatus chamber no sooner than 5 minutes before the blotting experiment [1]. Use a pipette tip to apply 7-9 microliters of the sample to the grid [2]. Then wait for 1 to 2 seconds, blot for 1 to 1.5 seconds [3], and quickly plunge the sample into liquid ethane [4].

    - Talent placing the vitrification filter paper into the vitrification apparatus chamber.

    - Talent applying the sample to the grid.

    - Talent blotting the sample.

    - Talent plunging the sample into liquid ethane.

  - Transfer the grid from liquid ethane to the cryo-box, which is stored in liquid nitrogen [1].

    - Talent transferring the grid from liquid ethane to the cryo-box.

- Quality Check for the Grids and Data Collection

  - Clip the grids [1] and upload them to a cryo-electron microscope or cryo-EM instrument [2]. Use the display screen of the cryo-EM instrument and the low dose function of the software to screen the ice condition on the grid and the distribution of the sample on the grid [3].  AUTHORS: Would you be willing to submit screen recordings for the cryo-EM instrument, or should the videographer film the monitor on the day of the shoot?

    - Talent clipping the grids.

    - SCREEN: Uploading the grids to the cryo-electron microscope instrument.

    - SCREEN: Screening the ice condition on the grid and the distribution of the sample on the grid.

  - If the quality of the resulting grid is not good, repeat the process of grid preparation with varied conditions such as waiting time, blotting time, etc. If the quality of the resulting grid is good, repeat the same steps to make grids at a different temperature [1]. Transfer the good quality grids to a high-resolution cryo-EM instrument [2].

    - Talent making grid another grid at a different temperature.

    - Talent transferring the good quality grids to the high-resolution cryo-EM instrument.

  - Perform data collection and data analyses according to established procedures [1].

    - SCREEN: Collecting the data and performing analyses.

## Protocol Script Questions

# Authors: Please use the step and shot numbers from the script above (not step numbers from the manuscript) when answering the questions below. Do not include steps that will be screen-captured and do not list entire sections.

- Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps (steps are indicated with the 2-digit numbers, like 2.1, 2.2, etc.).

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

- If a dissection or stereo microscope is required for your protocol, please list all shots that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 126. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: High-Temperature Sample Grids for Cryo-EM

  - In case of the successful grid, an ice gradient formed with thicker ice at the top left of the grid and thinner ice at the bottom right [1]. Blue and green boxes suitable for data collection were observed in the successful grid [2]. A bright contrast was observed in the other grid, indicating a thin layer of ice or an absence of ice [3].

    - LAB MEDIA: Figure 5A.

    - LAB MEDIA: Figure 5A. Video editor emphasize the blue and green boxes.

    - LAB MEDIA: Figure 5B.

  - Only two squares were found to be suitable for data collection in the 2nd grid [1]. One of the grids consisted of ice mostly in the crystalline form, which was unsuitable for data collection [2]. On the other hand,  the other grid showed that the ice layer was mostly in an amorphous state, suitable for data collection [3].

    - LAB MEDIA: Figure 5B. Video editor emphasize the two red arrows.

    - LAB MEDIA: Figure 5C.

    - LAB MEDIA: Figure 5D.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.