# Submission ID #:  62780

# Scriptwriter Name: Gaurav Vaidya

# Supervisor Name: Anastasia Gomez

# Project Page Link: http://www.jove.com/files_upload.php?src=19147948

# Title: Labeling of Extracellular Vesicles for Monitoring Migration and Uptake in Cartilage Explants

# Authors and Affiliations:

Maria Antònia Forteza-Genestra1,2, Miquel Antich-Rosselló1,2, Francisco Gabriel Ortega1,2, Guillem Ramis-Munar3, Javier Calvo1,2,4, Antoni Gayà1,2,4, Marta Monjo1,2, Joana Maria Ramis1,2

1Cell Therapy and Tissue Engineering Group, Research Institute on Health Sciences (IUNICS), University of the Balearic Islands, Crta. Valldemossa km 7.5, 07122 Palma, Spain

2Health Research Institute of the Balearic Islands (IdISBa), 07120, Palma, Spain

3Cellomics Unit, Institut Universitari d'Investigació en Ciències de la Salut (IUNICS), Universitat de les Illes Balears, Palma, Illes Balears, Spain

4Fundació Banc de Sang i Teixits de les Illes Balears (FBSTIB), 07004, Palma, Spain

☐   All author names and affiliations are correct.

# Corresponding Authors:

Marta Monjo		    (marta.monjo@uib.es)

Joana Maria Ramis	    (joana.ramis@uib.es)

# Email Addresses for All Authors:

maria.forteza@ssib.es

miquel.antich1@estudiant.uib.es

f.ortega@uib.cat

guillem.ramis@uib.es

jcalvo@fbstib.org

agaya@fbstib.org

marta.monjo@uib.es

joana.ramis@uib.es

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  15

Number of Shots:  43

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- EV Labeling

  - Begin by concentrating the extracellular vesicle or EV sample and the control. Place the samples in a 15 milliliter or 500 microliters concentrating tube, depending on the starting volume of the EV sample starting [1]. Centrifuge the tubes according to the manufacturer’s instructions until an almost dry sample is obtained [2].

    - WIDE: Establishing shot of the talent placing the sample in the concentrating tube.

    - Talent centrifuging the samples till they are dry.

  - Resuspend the concentrated EV samples with 200 microliters [1] and the control group with 100 microliters of diluent C [2] and transfer them to new 1.5-milliliter centrifuge tubes [3]. Separate the EV sample into two aliquots of 100 microliters each [4].

    - Talent resuspending the EV samples.

    - Talent resuspending the control group.

    - Talent transferring the EV samples and control groups to new centrifuge tubes.

    - Talent separating the EV samples into two aliquots.

  - Mark one of the aliquots with dye and use it as treatment [1-TXT]. Leave the other unmarked but process it like the EV sample and use it to quantify the EV concentration by nanoparticle tracking analysis [2-TXT]

    - Talent marking one of the aliquots with dye. TEXT: PKH-PL-EV

    - Talent processing the sample. TEXT: NTA-PL-EV

  - Prepare 2x dye solution, such that the resulting concentration of PKH26 solution in diluent C is 8 micromolar [1]. Mix 1 microliter of 1 millimolar PKH26 linker per 125 microliters of diluent C in the sample [2]. Prepare the volume required to add to the samples in a 1 to 1 ratio [3].

    - Talent preparing the 2x dye solution.

    - Talent mixing the PKH26 linker and the sample.

    - Talent preparing the volumes required to add to the samples.

  - Add 2x dye solution to PKH-PL-EV and control samples in a 1 to 1 ratio to achieve 1x dye concentration and 4 micromolar PKH26 concentration [1]. Add the same volume of PBS to the NTA-PL-EV sample [2]. Incubate for 5 minutes at room temperature [3]. AUTHORS: How do you pronounce PKH-PL-EV, NTA-PL-EV, and PKH26?

    - Talent adding the 2x dye solution to PKH-PL-EV and control samples.

    - Talent adding PBS to the NTA-PL-EV sample.

    - Talent placing the samples for incubation.

  - Add 5 percent bovine serum albumin-PBS solution to the samples in a 1 to 1 ratio and ensure that the final volume is approximately 400 microliters [1]. Proceed to separate the labeled EVs from the unbound dye and nonspecific dye interactions with the column [2].

    - Talent adding 5% bovine serum albumin-PBS solution to the samples.

    - A shot of the column used for the separation of the samples.

- Labeled-EV Isolation

  - Remove the cap from the column [1], add 400 microliters of PKH-PL-EV, NTA-PL-EV, or control [2] and discard all eluted liquid [3].

    - Talent removing the cap from the column.

    - Talent adding the sample to the column.

    - Talent discarding the eluted liquid.

  - Wait for the sample to enter the column completely before proceeding to the next step. Add 600 microliters of PBS [1] and discard all eluted liquid [2]. Wait for the PBS to enter the column completely before proceeding to the next step. Add 600 microliters of PBS [3] and collect a fraction of 600 microliters in a 1.5. milliliter centrifuge tube [4].

    - Talent adding PBS to the column.

    - Talent discarding the eluted liquid.

    - Talent adding PBS to the column.

    - Talent collecting a fraction of the 600-microliter eluted liquid.

  - For a  new column, repeat the steps involving the concentration of the samples mentioned at the beginning of the protocol. Add 600 microliters of previously eluted EVs to the column and discard the eluted volume [1]. Then, add 400 microliters of PBS and discard all eluted volumes [2].

    - Talent adding the previously eluted EVs to the column.

    - Talent adding PBS to the column.

  - Add 600 microliters of PBS to the column [1] and collect a fraction of 600 microliters in a 1.5-milliliter centrifuge tube [2].

    - Talent adding PBS to the column.

    - Talent collecting the fraction of 600 microliters in the centrifuge tube.

- EVs Used as a Treatment for Inflammation-Driven OA

  - Wash the cartilage two times with PBS [1] and excise it using a 3-millimeter diameter biopsy punch under sterile conditions [2]. Place the explants in 96-well culture plates with DMEM-F12 medium supplemented with 1 percent penicillin-streptomycin [3] at 37 degrees Celsius, 5 percent CO2, and 80 percent humidity [4].

    - Talent washing the cartilage with PBS.

    - Talent excising the cartilage using the biopsy punch.

    - Talent placing the explants in the 96-well culture plates.

    - Talent placing the culture plates in the incubator.

  - To establish an inflammation-driven OA model, supplement the cell culture medium with 10 nanograms per milliliter of oncostatin M [1] and 2 nanograms per milliliter of tumor necrosis factor-alpha [2].

    - Talent supplementing the culture medium with oncostatin M.

    - Talent supplementing the culture medium with tumor necrosis factor-alpha.

  - Treat the explants with 1 × 109 particles per well of PKH-PL-EVs or control in cell culture medium supplemented with oncostatin M and TNFα [1]. Remove the medium from the 96-well cell culture plates containing cartilage explants [2]. Add 200 microliters of the cell culture medium to each well as described in the manuscript [3].

    - Talent treating the explants with PKH-PL-EVs or controls in the cell culture.

    - Talent removing the medium from the culture plates.

    - Talent adding cell culture medium to the wells.

  - Stop the in vitro assay every hour from 0 to 5 hours [1]. Wash the cell culture wells containing the cartilage explants two times with 200 microliters of PBS [2]. Add 100 microliters of 4 percent paraformaldehyde to the tissue [3] to fix it for 3 hours at 4 degrees Celsius [4].

    - Talent stopping the assay.

    - Talent washing the cell culture wells with PBS.

    - Talent adding paraformaldehyde to the tissue.

    - Talent placing the tissues for incubation.

  - Remove the PFA [1], add 100 microliters of PBS [2], store the fixed tissue at 4 degrees Celsius, and process the samples within 48 hours [3].

    - Talent removing the PFA.

    - Talent adding PBS to the fixed tissues.

    - Talent storing the fixed tissues.

## Protocol Script Questions

# Authors: Please use the step and shot numbers from the script above (not step numbers from the manuscript) when answering the questions below. Do not include steps that will be screen-captured and do not list entire sections.

- Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps (steps are indicated with the 2-digit numbers, like 2.1, 2.2, etc.).

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

- If a dissection or stereo microscope is required for your protocol, please list all shots that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 41. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Monitoring Migration and Uptake in Cartilage Explants

  - Images taken at different time points show how EVs enter the tissue until they reach the chondrocytes [1] and enter the chondrocytes over time [2].

    - LAB MEDIA: Figure 2. Video editor: Only include the images in the columns labeled ‘0 h’, ‘1 h’ and ‘2 h’.

    - LAB MEDIA: Figure 2. Video editor: Only include the images in the columns labeled ‘3 h’, ‘4 h’ and ‘5 h’.

  - The labeled EVs were already localized around chondrocytes after 1 hour of incubation [1].

    - LAB MEDIA: Figure 2. Video editor: Only include the images in the columns labeled ‘1 h’.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.