# Submission ID #:  62789

# Scriptwriter Name: Nilesh Kolhe

# Supervisor Name: Shehnaz Lokhandwala

# Project Page Link: https://www.jove.com/account/file-uploader?src=19150693

### Title: Nuclei Isolation and Super-Resolution Structured Illumination Microscopy for Examining Nucleoporin Alterations in Human Neurodegeneration

Authors and Affiliations: Alyssa N. Coyne1,2, Jeffrey D. Rothstein1,2

1Brain Science Institute, Johns Hopkins University School of Medicine

2Department of Neurology, Johns Hopkins University School of Medicine

☐   All author names and affiliations are correct.

# Corresponding Authors:

Alyssa N. Coyne	acoyne3@jhmi.edu

# Jeffrey D. Rothstein	jrothstein@jhmi.edu

# Email Addresses for All Authors:

acoyne3@jhmi.edu

# jrothstein@jhmi.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 21

Number of Shots: 54

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - All blood sample and autopsied tissue collections are approved by the Institutional Review Board (IRB) at Johns Hopkins University School of Medicine. All patient information is HIPPA compliant, and the experimental protocol adheres to all Johns Hopkins biosafety procedures.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Preparation of Slides, Lysis Buffer, and Sucrose Gradients

  - To begin, place a positively charged glass microscope slide in an empty cytofunnel [1]. Then, using a hydrophobic barrier pen, draw a circle to outline an area for nuclei deposition [2].

    - WIDE: Establishing shot of talent placing a slide into cytofunnel.

    - Talent drawing a circle.

  - Add 50 microliters of 1 milligram per milliliter collagen solution to the center of the drawn circle [1] and incubate at room temperature for 5 minutes [2].

    - Talent adding collagen solution to the center of the drawn circle.

    - Talent incubating the slides.

  - After incubation, aspirate the collagen solution [1] and leave the slides for air drying at room temperature for about 1 hour [2].

    - Talent aspirating the collagen solution.

    - Shot of slides placed on a workbench for drying.

  - Next, gently mix the prepared lysis buffer and sucrose cushion solutions by inverting the 50-milliliter conical tubes [1-TXT] and store them on ice [2].

    - Talent mixing the lysis buffer and sucrose solution tubes. TEXT: Refer to the manuscript for lysis buffer and sucrose gradients preparation details

    - Talent placing the tubes on ice.

- Lysis of Induced Pluripotent Stem Cell Derived Neurons (iPSNs) and Postmortem Human Central Nervous System (CNS) Tissue

  - To lyse the induced pluripotent stem cell derived neurons, or iPSNs (eye-P-S-ens), remove the iPSNs from the incubator [1] and aspirate the medium [2]. Then, rinse the cells with PBS [3] and add lysis buffer directly to the well or plate [4]. Authors: Will you be demonstrating this step in 6 or 12 well plate/tissue culture dish/T25 flask?

    - WIDE: Talent removing the cells from the incubator.

    - Talent aspirating the medium.

    - Talent rinsing the cells with PBS.

    - Talent adding lysis buffer to the well or plate.

  - Next, using a cell scraper, scrape the iPSNs [1] and transfer them to the remaining lysis buffer in the 50-milliliter tube [2]. After capping the tube, vortex the sample for 20 seconds [3].

    - Talent scraping the cells from well or plate.

    - Talent transferring the suspension to the 50 mL lysis buffer tube.

    - Talent vortexing the sample.

  - After vortexing, place the sample on ice for 1 to 2 minutes before proceeding to nuclei isolation [1].

    - Talent placing the sample on ice.

  - To lyse the postmortem human central nervous system, or CNS (C-N-S) tissues, prepare a Dounce homogenizer by cleaning and thoroughly rinsing with distilled water [1] before chilling it on ice [2].

    - Talent cleaning and rinsing the homogenizer with water.

    - Talent placing the homogenizer on ice.

  - Then, add 100 milligrams of tissue to the Dounce homogenizer containing 2 milliliters of lysis buffer [1] and homogenize the tissue using the standard procedure on ice [2-TXT].

    - Talent adding tissue to the homogenizer.

    - Talent homogenizing the tissue. TEXT: 10–20 strokes per pestle

  - After homogenization, transfer 2 milliliters of the postmortem human brain homogenate to the remaining 9 milliliters of lysis buffer in the conical tube [1]. Then, vortex the homogenate vigorously for 30 seconds [2] before placing it on ice for 5 minutes to facilitate lysis [3].

    - Talent transferring the homogenate to the lysis buffer tube.

    - Talent vortexing the tube.

    - Talent placing the tube on ice.

- Isolation of Nuclei from the iPSNs and Postmortem Human CNS Tissue

  - For nuclei isolation, add 10 milliliters of 1.85 Molar sucrose cushion solution at the bottom of an ultracentrifuge tube [1].

    - WIDE: Talent adding sucrose solution to the ultracentrifuge tube.

  - Next, add 18 milliliters of 1.85 Molar sucrose cushion solution to each lysate [1] and gently mix the lysate and sucrose cushion solution by inverting the 50-milliliter conical tubes [2]. Then, slowly add 28 milliliters of this lysate-sucrose cushion solution mix on top of the sucrose cushion solution in the ultracentrifuge tube [3].

    - Talent adding sucrose cushion solution to each lysate.

    - Talent mixing the content by inverting the tubes.

    - ECU: Talent adding the lysate-sucrose cushion solution mix on top of the sucrose solution in the ultracentrifuge tube.

  - Place the ultracentrifuge tubes in the holders [1] and add more 1.85 Molar sucrose cushion solution as needed to balance the samples [2]. Then place the sample holders in the chilled ultracentrifuge rotor [3] and spin the samples [4-TXT].

    - Talent placing the tubes into the holders.

    - Talent adding sucrose solution to balance the samples.

    - Talent placing the sample holders into the rotor.

    - Talent closing the centrifuge lid. TEXT: 45 min, 30,000 x g, 4 °C

  - After centrifugation, remove the tubes from the sample holders [1] and discard the supernatants [2]. The nuclei will be visible as pellets at the bottom of the ultracentrifuge tubes [3].

    - Talent removing tubes from the sample holders.

    - Talent discarding the supernatant.

    - ECU: Shot of pellets at the bottom of the tubes.

  - Resuspend the nuclei pellets in 1 milliliter of the nuclei storage buffer [1] by vortexing [2], then transfer them to a microcentrifuge tube [3].

    - Talent adding nuclei storage buffer to the pellet.

    - Talent vortexing the tube.

    - Talent transferring the suspension to a microcentrifuge tube.

  - Centrifuge the tubes [1-TXT], then remove the supernatant [2] and resuspend the nuclei by vortexing in fresh 1-milliliter nuclei storage buffer [3].

    - Talent placing the tubes into a centrifuge. TEXT: 5 min, 2,500 x g, 4 °C

    - Talent removing the supernatant from the tube.

    - Talent resuspending the nuclei by vortexing.

- Immunostaining of the Isolated Nuclei

  - For immunostaining, take a 10-microliter aliquot of the isolated nuclei suspension [1] and count the nuclei using a hemacytometer or an automated cell counter [2]. Authors: Will you be using the hemacytometer or the automated counter on the day of filming?

    - WIDE: Talent removing 10 L of the nuclei suspension from the tube.

    - Talent placing the suspension in hemacytometer or automated cell counter.

  - Next, assemble the prepared slides into the cytofunnels [1] and layer 200 microliters of fresh nuclei storage buffer [2] and approximately 100,000 nuclei on each slide [3].

    - Talent assembling the slides into cytofunnels.

    - Talent adding buffer on the slide.

    - Talent adding nuclei to the slide.

  - To spin the nuclei onto the slides, place the cytofunnels into a cytospin [1] and centrifuge for 3 minutes at 100 x g [2]. After centrifugation, unclip the cytofunnels [3] and immediately add 100 microliters of 4% paraformaldehyde to the slides [4]. Let the slides incubate at room temperature for 15 minutes [5].

    - Talent placing the cytofunnels into a cytospin.

    - Talent starting the spin.

    - Talent removing the clips form cytofunnels.

    - Talent adding paraformaldehyde to the slides.

    - Shot of the incubating slides

  - After permeabilization and staining with primary and secondary antibodies, wash the nuclei with PBS three times for 5 minutes [1-TXT]. After the last wash, completely remove the PBS by holding a lint-free wipe at the edge of the circle containing the nuclei [2].

    - Talent washing the nuclei with PBS. TEXT: See text for permeabilization and immunostaining protocols

    - Talent holding a wipe at the edge of the circle on the slide.

  - Then, add 10 microliters of a hard-mount antifade mounting medium to each slide [1] before gently placing high-tolerance 18 by 18-square millimeter coverslips [2].

    - Talent adding mounting medium onto the slide.

    - Talent placing coverslips onto the slide.

## Protocol Script Questions

# Authors: Please use the step and shot numbers from the script above (not step numbers from the manuscript) when answering the questions below. Do not include steps that will be screen-captured and do not list entire sections.

- Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps (steps are indicated with the 2-digit numbers, like 2.1, 2.2, etc.).

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

- If a dissection or stereo microscope is required for your protocol, please list all shots that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 42. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Expression and Quantification of POM121 in iPSN and Human Motor Cortex

  - In 3-dimensional maximum intensity projections, individual POM121 spots were resolved in both iPSN [1] and postmortem neuronal nuclei [2]. Authors: How would you like our voiceover talent to pronounce POM121? Is it P-O-M-one-two-one or pom-one-twenty-one?

    - LAB MEDIA: Figure 2A Video Editor: Please emphasize the green fluorescent dots in the C9orf72 image

    - LAB MEDIA: Figure 2C Video Editor: Please emphasize the green fluorescent dots in the C9orf72 image

  - Further quantification of these spots [1] demonstrated a substantial decrease in POM121 spots in C9orf72 iPSN [2] and postmortem motor cortex nuclei [3] compared to controls [4]. Authors: How would you like our voiceover talent to pronounce C9orf72? Is it see-nine-O-R-F-seventy-two or see-nine-O-R-F-seven-two?

    - LAB MEDIA: Figure 2B, 2D

    - LAB MEDIA: Figure 2B, 2D Video Editor: Please emphasize the C9orf72 grey outlined shape in Figure 2B

    - LAB MEDIA: Figure 2B, 2D Video Editor: Please emphasize the C9orf72 grey outlined shape in Figure 2D

    - LAB MEDIA: Figure 2B and D Video Editor: Please emphasize the control black outlined shapes in Figures 2B and 2D

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.