## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
2,3-Butanedione monoxime | Acros Organics | 150375000
20× microscope lens | Nikon | CFI Super Fluor 20× | NA 0.75
2D Galvanometer | Thorlabs | GVSM002/M
50-50 beam splitter | Thorlabs | FC850-40-50-APC
90-10 beam-splitter | Thorlabs | TW850R2A2
Analogue input module | National Instruments | NI-9205 | Records the PMT signal at 200 kHz
Brightfield imaging light source | CoolLED | PE-2 | 660 nm LAM
Broadband light source | Superlum | Broadlighter-840
CaCl2 | Sigma-Aldrich | C4901
Cameralink card | National Instruments | NI-1429 | Brightfield imaging frame grabber
Carbogen 5 | BOC | Gas code: 181
Condensor lens | Nikon | LWD 0.52
D(+)-Glucose | Merck | 108337
DAQ | National Instruments | NI-6259 | Triggers the galvanometer movement
Dichroic mirror 1 | Semrock | FF409-Di03
Dichroic mirror 2 | Semrock | FF552-Di02
Diffraction grating | Wasatch Photonics | 1200 lines/mm @840 nm
Dimethyl sulfoxide | Sigma-Aldrich | 276855
Direct-Q 3 UV System | Merck Millipore | ZRQSVR3WW | Distilled water machine
Dry bath | Corning | 6875-SB | LSE digital dry bath
FIJI | ImageJ |  | Open-source image processing software
Fura-2AM pentapotassium salt | Thermofisher | F14186
Hardware FPGA card | National Instruments | NI-7813R | Also controls the triggering of the brightfield capture
Heparin | Pfizer | 61024
HEPES | PanReac AppliChem | A1069
Inverted microscope | Nikon | TI-DH illumination pillar
Isofluorane | MedSource | VAPDRUGISO250
KCl | Sigma-Aldrich | P9541
KH2PO4 | Sigma-Aldrich | P5655
Line-scan camera | Basler | spL2048-70km | Spectrometer camera
Magnetic stirrer | IKA | 3810000 | RCT basic
Matlab | Mathworks |  | Data processing code
MgCl2 | Sigma-Aldrich | M8266
MgSO4.7H2O | Sigma-Aldrich | M1880
NaCl | Sigma-Aldrich | 71376
NaH2PO4.2H2O | Sigma-Aldrich | 71505
NaHCO3 | Sigma-Aldrich | S6014
OCT FPGA card | National Instruments | NI-1483R
Oxygen tank | BOC | Gas code: 100D
pH meter | Mettler Toledo | MP220
Photomultiplier tube | Hamamatsu | H7422-20
Powerload | Thermofisher | P10020
Superluminescent diode | Broadlighter | D-840
Transimpedance amplifier | Custom
Tris(hydroxymethyl)amino-methane | Sigma-Aldrich | 252859
Wistar rat | Vernon Jansen Unit |  | 8 – 10 weeks
Xenon arc lamp | Sutter Instrument | DG-4 | Lambda DG-4

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=