3.7.1 (Kinetic checkbox is checked and run time and reading interval is entered. Ok is clicked) 0:00:01 – 0:00:21

3.8.1 (Shake checkbox is checked and linear is selected, duration is changed to 30 seconds. Linear frequency value is set to 731 cycles per minute and then ok is clicked) 0:00:23 – 0:00:41